## Sheet1
Table 9.3: Total Electricity Generation and Supply by Hydro Power Plant, 2018 - 2022
Details | 2018 | 2019 | 2020 | 2021 | 2022
Electricity Generation (MU) | 6959.8053 | 8645.9422 | 11370.839 | 10822.7769 | 10771.6438
Chhukha hydro power Plant | 1703.952 | 1687.711 | 1837.186 | 1966.308 | 1915.918
Kurichu hydro power Plant | 380.0287 | 395.4585 | 391.5896 | 386.2854 | 407.9238
Basochu hydro power Plant | 305.5655 | 306.4733 | 348.5587 | 339.1719 | 354.5869
Tala hydro power Plant | 4185.0003 | 4535.7121 | 5031.8909 | 4619.7669 | 4539.0125
Dagachhu hydro power Plant | 366.035 | 400.2713 | 518.2714 | 501.849 | 449.8344
Mangdechhu hydro power Plant | … | 1320.316 | 3218.394 | 2987.889 | 3084.959
Other hydro power Plants | 18.054 | 0 | 23.8342 | 21.0221 | 18.8874
All diesel generators | 0.035197 | 0 | 0.0042 | 0.00095 | 0.00095
Wind Energy | 1.1346 | 0 | 1.11 | 0.3886 | 0.42777
Solar | … | … | … | 0.095 | 0.0932
Total Exports (MU) | 4580.86 | 6146.5981 | 9259.6487 | 8075.4996 | 7482.692
Total Imports (MU) | 133.98 | 96.3704 | 81.83 | 98.039 | 203.9243
Import by Gencos | 133.66 | 96.3181 | 81.83 | 98.039 | 203.9243
Import from WBSEB - BPC | 0.26 | 0.0026935 | 0 | 0 | 0
Import from ASEB - BPC | 0.06 | 0.049538 | 0 | 0 | 0
Total Energy Supply (MU) | 2490 | 2423.5119 | 2101.0172 | 2574.21 | 3662.9639
Total Energy Sales (MU) | 2328.4436 | 2279.739 | 1960.6595 | 2474.4901 | 3465.1761
Energy Losses (MU) | 161.5564 | 143.7729 | 140.3577 | 99.7199 | 197.7878
Percentage Losses | 6.4882 | 5.9324 | 6.6805 | 3.8738 | 5.3997
Annual Peak Load (MW) | 399.35 | 387.66 | 369.45 | 435.35 | 629.61
Length of HT Lines (33/11 KV) (km)
Overhead lines ACSR | 6554.4 | 6400.122 | 6439.3628 | 6586.7658 | 6620.4817
Underground lines | 119.4 | 126.9377 | 148.6391 | 149.7671 | 148.9396
Overhead ABC Conductor | 142.23 | 180.0934 | 183.3204 | 184.4524 | 178.7403
Length of LT Lines (km)
Overhead lines ACSR | 1576.69 | 1578.562 | 1544.6404 | 1544.6364 | 865.0686
Underground lines | 320 | 404.1087 | 382.9563 | 382.9563 | 385.6607
Overhead ABC Conductor | 9037.85 | 9069.7871 | 7931.3638 | 8108.5926 | 8317.1588
Note: Basochhu I and Basochhu II is clubbed together since both of them are under the same plant management and
are counted as one plant.
Source: Annual Power System Information Report 2022, DoE, MoENR.

## Sheet2
Tala hydro power Plant | 4535.71
Chhukha hydro power Plant | 1687.71
Mangdechhu hydro power Plant | 1532.28
Dagachhu hydro power Plant | 399.29
Kurichu hydro power Plant | 395.46
Basochu - II hydro power Plant | 198.84
Basochu - I hydro power Plant | 107.63 | Electricity Generation by Large Hydro Power Plants, 2019