## Sheet1
Table 9.5: Major Transmission Lines, 2022
Line Name | No. of Towers | 400kV line length (KM) | 220kV Line length (KM) |  | 132kV line length (KM) |  | 66kV line length (KM) |  |  |  | Conductor type | Year of Commission-ing
|  | D/C | S/C | D/C | S/C | D/C | S/C | D/C | Q/C | UG
400kV Tala-Siliguri line-1 & 2 | 104 | 24.615 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2006
400kV Tala-Malbase-Siliguri line 4 | 48 | 49.528 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2006
400kV Puna-1-Alipurduar line-1 & 2 | 229 | 93.379 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-1-Puna-2 line-1 & 2 | 34 | 13.018 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-2-Alipurduar line-1 & 2 | 212 | 80.865 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-2-Jigmeling line-1 & 2 | 147 | 64.98 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Mangdechhu-Jigmeling line-1 & 2 | 185 | 85.06 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Mangdechhu-Jigmeling line-3 & 4 | 185 | 84.65 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Jigmeling-Alipurduar line-1 & 2 | 12 | 4.75 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
220kV Chukha-Birpara line-1 & 2 | 97 | NA | NA | 35.78 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1986
220kV Chukha-Malbase line | 95 | NA | 29.841 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Malbase-Singhigaon line | 12 | NA | 2.607 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2006
220kV Chhukha-Semtokha line | 144 | NA | 54.01 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Rurichhu-Semtokha line | 110 | NA | 44.9 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2004
220kV Rurichhu-Tsirang line | 114 | NA | 46.6 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2008
220kV Malbase-Birpara line | 6 | NA | 4.075 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Malbase - Singhigaon-Fdr-II | 12 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2006
220kV Malbase-Samtse line | 106 | NA | NA | 41.642 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2014
220kV Tsirang-Jigmeling line | 69 | NA | NA | 30.565 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Dagachhu-Tsirang line | 56 | NA | NA | 20.202 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Rurichhu-PHPA-1 LILO | 3 | NA | NA | 0.5 | NA | NA | NA | NA | NA | NA | Zebra ACSR
220kV Jigmeling-Pelrithang (Lodrai) | 28 | NA | NA | 10.42 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Tshendagang-Dagapela LILO | 20 | NA | NA | 4.396 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
132kV Kurichhu-Kilikhar line | 28 | NA | NA | NA | 10.06 | NA | NA | NA | NA | NA | Panther ACSR | 2001
132kV Kilikhar-Kanglung line | 81 | NA | NA | NA | 29.705 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Kilikhar-Tangmachhu line | 114 | NA | NA | NA | 42.8 | NA | NA | NA | NA | NA | Panther ACSR | 2005
132kV Kurichhu-Nangkhor line | 95 | NA | NA | NA | 31.0776 | NA | NA | NA | NA | NA | Panther ACSR | 2001
132kV Nangkhor-Deothang line | 60 | NA | NA | NA | 23.3 | NA | NA | NA | NA | NA | Panther ACSR | 2001
(Continued)
(Table 9.5 Continued)
Line Name | No. of Towers | 400kV line length (KM) | 220kV Line length (KM) |  | 132kV line length (KM) |  | 66kV line length (KM) |  |  |  | Conductor type | Year of Commission-ing
|  | D/C | S/C | D/C | S/C | D/C | S/C | D/C | Q/C | UG
132kV Nangkhor-Nganglam line | 102 | NA | NA | NA | 33.793 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Nganglam-Tintibi line | 246 | NA | NA | NA | 83.296 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Gelephu-Pelrithang (Lodrai) | 20 | NA | NA | NA | 10.78 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Pelrithang - Tintibi | 122 | NA | NA | NA | 34.96 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Gelephu-Salakati line | 1 | NA | NA | NA | 0.1 | NA | NA | NA | NA | NA | Panther ACSR | 1988
132kV Deothang-Motanga line | 38 | NA | NA | NA | 10.4508 | NA | NA | NA | NA | NA | Panther ACSR | 2007
132kV Motanga-Rangia line |  | NA | NA | NA | 0 | NA | NA | NA | NA | NA | Panther ACSR | 2008
132kV Tintibi-Yurmoo line | 83 | NA | NA | NA | 32.628 | NA | NA | NA | NA | NA | Panther ACSR | 2008
132kV Motanga-Phuntshothang | 61 | NA | NA | NA | NA | 21.626 | NA | NA | NA | NA | Panther ACSR | 2017
132kV Motanga-DML line | 4 | NA | NA | NA | 0.487 | NA | NA | NA | NA | NA | Panther ACSR | 2019
132kV Merung-Corlung LILO | 50 | NA | NA | NA | NA | 18.68 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Kanglung-Phuntshothang line | 111 | NA | NA | NA | NA | 51.44 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Nganglam-Motanga line | 94 | NA | NA | NA | NA | 34.92 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Mangdechhu-Yurmoo line | 7 | NA | NA | NA | NA | 1.86 | NA | NA | NA | NA | Panther ACSR | 2019
66kV Chhukha-Chumdo line | 200 | NA | NA | NA | NA | NA | 36.98 | NA | NA | NA | Dog ACSR | 1983
66kV Chumdo-Khasadraphu |  | NA | NA | NA | NA | NA | 4.78 | NA | NA | NA | Dog ACSR | 2005
66kV Khasadrapchu-Olakha |  | NA | NA | NA | NA | NA | 11.74 | NA | NA | NA | Dog ACSR | 2005
66kV Khasadrapchu-Jemina | 23 | NA | NA | NA | NA | NA | NA | 5.96 | NA | NA | Dog ACSR | 2005
66kV Chumdo-Paro line | 84 | NA | NA | NA | NA | NA | 24.01 | NA | NA | NA | Dog ACSR | 1987
66kV Chumdo-Haa line | 123 | NA | NA | NA | NA | NA | 33.4 | NA | NA | NA | Dog ACSR | 1987
66kV Watsa tie line | 4 | NA | NA | NA | NA | NA | 0.5 | NA | NA | NA | Dog ACSR | 1987
66kV Olakha-Semtokha line | 7 | NA | NA | NA | NA | NA | 1.65 | NA | NA | NA | HTLS | 1995
66kV Semtokha-Lobeysa line | 81 | NA | NA | NA | NA | NA | 24.46 | NA | NA | NA | Dog ACSR + HTLS | 1986
66kV Rurichhu-Lobeysa line | 76 | NA | NA | NA | NA | NA | 20.3 | NA | NA | NA | Dog ACSR | 1995
66kV Hebesa-Rurichhu line | 14 | NA | NA | NA | NA | NA | 3.08 | NA | NA | NA | Dog ACSR | 1995
66kV Semtokha-Dechenchholing line | 44 | NA | NA | NA | NA | NA | 11.88 | NA | NA | NA | HTLS | 2005
66kV Chukha-Gedu line | 74 | NA | NA | NA | NA | NA | 20.4 | NA | NA | NA | Dog ACSR | 1989
(continued)
(Table 9.5 Continued)
Line Name | No. of Towers | 400kV line length (KM) | 220kV Line length (KM) |  | 132kV line length (KM) |  | 66kV line length (KM) |  |  |  | Conductor type | Year of Commission-ing
|  | D/C | S/C | D/C | S/C | D/C | S/C | D/C | Q/C | UG
66kV Gedu-Phuentsholing line | 67 | NA | NA | NA | NA | NA | 16.7 | NA | NA | NA | Dog ACSR | 1983
66kV Phuentsholing-Gomtu line | 95 | NA | NA | NA | NA | NA | 26.9 | NA | NA | NA | Dog ACSR | 1986
66kV Malbase-Phuentsholing line | 23 | NA | NA | NA | NA | NA | 8.69 | NA | NA | NA | Dog ACSR | 2008
66kV Malbase-Pasakha multicircuit line | 17 | NA | NA | NA | NA | NA | NA | NA | 3.405 | NA | Dog ACSR | 2008
66kV Samtse-Sibsoo line | 95 | NA | NA | NA | NA | NA | NA | 26.958 | NA | NA | Wolf ACSR | 2013
66kV Samtse-Gomtu line | 51 | NA | NA | NA | NA | NA | NA | 14.851 | NA | NA | Wolf ACSR | 2013
66kV Yurmoo-Trongsa line | 73 | NA | NA | NA | NA | NA | 20.94 | NA | NA | NA | Wolf ACSR | 2008
66kV Yurmoo-Bumthang line | 134 | NA | NA | NA | NA | NA | 34.856 | NA | NA | NA | Wolf ACSR | 2008
66kV Khasadrapchu - Olakha | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1 | UG | 2013
66kV Pasakha Industrial Area | NA | NA | NA | NA | NA | NA | NA | NA | NA | 5.018 | UG | 2009
66kV Jizikha-Pangbesa LILO | 9 | NA | NA | NA | NA | NA | NA | 1.951 | NA | NA | Wolf ACSR | 2018
66kV Jemina-Changedaphu LILO | 35 | NA | NA | NA | NA | NA | NA | 10.2 | NA | NA | Wolf ACSR | 2019
66kV Dechenchholing-Gasa (Damji) line | 201 | NA | NA | NA | NA | NA | 43.98 | NA | NA | NA | Wolf ACSR | 2019
66kV UG cable from SW31 to Dochula Substation | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0.701 | UG | 2021
TOTAL |  | 500.845 | 182.033 | 143.505 | 343.4374 | 128.526 | 345.246 | 59.92 | 3.405 | 6.719
Note: D/C means Double circuit, S/C means Single circuit, Q/C means Quad circuit, ACSR means Aluminium-conductor steel-reinforced and LILO means Line-in-Line-out.
Source: Annual Power System Information Report 2022, DoE, MoENR.

## Sheet1 (2)
Table 9.5: Major Transmission Lines, 2022
Line Name | No. of Towers | 400kV line length (KM) | 220kV Line length (KM) |  | 132kV line length (KM) |  | 66kV line length (KM) |  |  |  | Conductor type | Year of Commission-ing
|  | D/C | S/C | D/C | S/C | D/C | S/C | D/C | Q/C | UG
400kV Tala-Siliguri line-1 & 2 | 104 | 24.615 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2006
400kV Tala-Malbase-Siliguri line 4 | 48 | 49.528 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2006
400kV Puna-1-Alipurduar line-1 & 2 | 229 | 93.379 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-1-Puna-2 line-1 & 2 | 34 | 13.018 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-2-Alipurduar line-1 & 2 | 212 | 80.865 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Puna-2-Jigmeling line-1 & 2 | 147 | 64.98 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Mangdechhu-Jigmeling line-1 & 2 | 185 | 85.06 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Mangdechhu-Jigmeling line-3 & 4 | 185 | 84.65 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
400kV Jigmeling-Alipurduar line-1 & 2 | 12 | 4.75 | NA | NA | NA | NA | NA | NA | NA | NA | Twin Moose ACSR | 2019
220kV Chukha-Birpara line-1 & 2 | 97 | NA | NA | 35.78 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1986
220kV Chukha-Malbase line | 95 | NA | 29.841 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Malbase-Singhigaon line | 12 | NA | 2.607 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2006
220kV Chhukha-Semtokha line | 144 | NA | 54.01 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Rurichhu-Semtokha line | 110 | NA | 44.9 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2004
220kV Rurichhu-Tsirang line | 114 | NA | 46.6 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2008
220kV Malbase-Birpara line | 6 | NA | 4.075 | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 1989
220kV Malbase - Singhigaon-Fdr-II | 12 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2006
220kV Malbase-Samtse line | 106 | NA | NA | 41.642 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2014
220kV Tsirang-Jigmeling line | 69 | NA | NA | 30.565 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Dagachhu-Tsirang line | 56 | NA | NA | 20.202 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Rurichhu-PHPA-1 LILO | 3 | NA | NA | 0.5 | NA | NA | NA | NA | NA | NA | Zebra ACSR | …
220kV Jigmeling-Pelrithang (Lodrai) | 28 | NA | NA | 10.42 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
220kV Tshendagang-Dagapela LILO | 20 | NA | NA | 4.396 | NA | NA | NA | NA | NA | NA | Zebra ACSR | 2013
132kV Kurichhu-Kilikhar line | 28 | NA | NA | NA | 10.06 | NA | NA | NA | NA | NA | Panther ACSR | 2001
132kV Kilikhar-Kanglung line | 81 | NA | NA | NA | 29.705 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Kilikhar-Tangmachhu line | 114 | NA | NA | NA | 42.8 | NA | NA | NA | NA | NA | Panther ACSR | 2005
132kV Kurichhu-Nangkhor line | 95 | NA | NA | NA | 31.0776 | NA | NA | NA | NA | NA | Panther ACSR | 2001
132kV Nangkhor-Deothang line | 60 | NA | NA | NA | 23.3 | NA | NA | NA | NA | NA | Panther ACSR | 2001
132kV Nangkhor-Nganglam line | 102 | NA | NA | NA | 33.793 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Nganglam-Tintibi line | 246 | NA | NA | NA | 83.296 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Gelephu-Pelrithang (Lodrai) | 20 | NA | NA | NA | 10.78 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Pelrithang - Tintibi | 122 | NA | NA | NA | 34.96 | NA | NA | NA | NA | NA | Panther ACSR | 2002
132kV Gelephu-Salakati line | 1 | NA | NA | NA | 0.1 | NA | NA | NA | NA | NA | Panther ACSR | 1988
132kV Deothang-Motanga line | 38 | NA | NA | NA | 10.4508 | NA | NA | NA | NA | NA | Panther ACSR | 2007
132kV Motanga-Rangia line |  | NA | NA | NA | 0 | NA | NA | NA | NA | NA | Panther ACSR | 2008
132kV Tintibi-Yurmoo line | 83 | NA | NA | NA | 32.628 | NA | NA | NA | NA | NA | Panther ACSR | 2008
132kV Motanga-Phuntshothang | 61 | NA | NA | NA | NA | 21.626 | NA | NA | NA | NA | Panther ACSR | 2017
132kV Motanga-DML line | 4 | NA | NA | NA | 0.487 | NA | NA | NA | NA | NA | Panther ACSR | 2019
132kV Merung-Corlung LILO | 50 | NA | NA | NA | NA | 18.68 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Kanglung-Phuntshothang line | 111 | NA | NA | NA | NA | 51.44 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Nganglam-Motanga line | 94 | NA | NA | NA | NA | 34.92 | NA | NA | NA | NA | Panther ACSR | 2019
132kV Mangdechhu-Yurmoo line | 7 | NA | NA | NA | NA | 1.86 | NA | NA | NA | NA | Panther ACSR | 2019
66kV Chhukha-Chumdo line | 200 | NA | NA | NA | NA | NA | 36.98 | NA | NA | NA | Dog ACSR | 1983
66kV Chumdo-Khasadraphu |  | NA | NA | NA | NA | NA | 4.78 | NA | NA | NA | Dog ACSR | 2005
66kV Khasadrapchu-Olakha |  | NA | NA | NA | NA | NA | 11.74 | NA | NA | NA | Dog ACSR | 2005
66kV Khasadrapchu-Jemina | 23 | NA | NA | NA | NA | NA | NA | 5.96 | NA | NA | Dog ACSR | 2005
66kV Chumdo-Paro line | 84 | NA | NA | NA | NA | NA | 24.01 | NA | NA | NA | Dog ACSR | 1987
66kV Chumdo-Haa line | 123 | NA | NA | NA | NA | NA | 33.4 | NA | NA | NA | Dog ACSR | 1987
66kV Watsa tie line | 4 | NA | NA | NA | NA | NA | 0.5 | NA | NA | NA | Dog ACSR | 1987
66kV Olakha-Semtokha line | 7 | NA | NA | NA | NA | NA | 1.65 | NA | NA | NA | HTLS | 1995
66kV Semtokha-Lobeysa line | 81 | NA | NA | NA | NA | NA | 24.46 | NA | NA | NA | Dog ACSR + HTLS | 1986
66kV Rurichhu-Lobeysa line | 76 | NA | NA | NA | NA | NA | 20.3 | NA | NA | NA | Dog ACSR | 1995
66kV Hebesa-Rurichhu line | 14 | NA | NA | NA | NA | NA | 3.08 | NA | NA | NA | Dog ACSR | 1995
66kV Semtokha-Dechenchholing line | 44 | NA | NA | NA | NA | NA | 11.88 | NA | NA | NA | HTLS | 2005
66kV Chukha-Gedu line | 74 | NA | NA | NA | NA | NA | 20.4 | NA | NA | NA | Dog ACSR | 1989
66kV Gedu-Phuentsholing line | 67 | NA | NA | NA | NA | NA | 16.7 | NA | NA | NA | Dog ACSR | 1983
66kV Phuentsholing-Gomtu line | 95 | NA | NA | NA | NA | NA | 26.9 | NA | NA | NA | Dog ACSR | 1986
66kV Malbase-Phuentsholing line | 23 | NA | NA | NA | NA | NA | 8.69 | NA | NA | NA | Dog ACSR | 2008
66kV Malbase-Pasakha multicircuit line | 17 | NA | NA | NA | NA | NA | NA | NA | 3.405 | NA | Dog ACSR | 2008
66kV Samtse-Sibsoo line | 95 | NA | NA | NA | NA | NA | NA | 26.958 | NA | NA | Wolf ACSR | 2013
66kV Samtse-Gomtu line | 51 | NA | NA | NA | NA | NA | NA | 14.851 | NA | NA | Wolf ACSR | 2013
66kV Yurmoo-Trongsa line | 73 | NA | NA | NA | NA | NA | 20.94 | NA | NA | NA | Wolf ACSR | 2008
66kV Yurmoo-Bumthang line | 134 | NA | NA | NA | NA | NA | 34.856 | NA | NA | NA | Wolf ACSR | 2008
66kV Khasadrapchu - Olakha | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1 | UG | 2013
66kV Pasakha Industrial Area | NA | NA | NA | NA | NA | NA | NA | NA | NA | 5.018 | UG | 2009
66kV Jizikha-Pangbesa LILO | 9 | NA | NA | NA | NA | NA | NA | 1.951 | NA | NA | Wolf ACSR | 2018
66kV Jemina-Changedaphu LILO | 35 | NA | NA | NA | NA | NA | NA | 10.2 | NA | NA | Wolf ACSR | 2019
66kV Dechenchholing-Gasa (Damji) line | 201 | NA | NA | NA | NA | NA | 43.98 | NA | NA | NA | Wolf ACSR | 2019
66kV UG cable from SW31 to Dochula Substation | NA | NA | NA | NA | NA | NA | NA | NA | NA | 0.701 | UG | 2021
TOTAL |  | 500.845 | 182.033 | 143.505 | 343.4374 | 128.526 | 345.246 | 59.92 | 3.405 | 6.719
Note: D/C means Double circuit, S/C means Single circuit, Q/C means Quad circuit, ACSR means Aluminium-conductor steel-reinforced and LILO means Line-in-Line-out.
Source: Annual Power System Information Report 2022, DoE, MoENR.