## Tab8.1
TABLE 8.1:ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES,FY 1999/2000 & 2000/01
|  |  | 1997/98 |  |  |  | 1998/1999 |  |  |  | 1999/2000 |  |  |  | 2000/01
Generating stations | capacity | Generating | Peak | Energy | capacity | Generating | Peak | Energy | capacity | Generating | Peak | Energy | capacity | Generating | Peak | Energy
(Dzongkhag) | (No. X MW) | capacity | generation | generated | (No. X MW) | capacity | generation | generated | (No.X MW) | capacity | genera- | genera- | (No.X MW) | capacity | genera- | genera-
| Installed | ( MW ) | (MW) | (MU) | Installed | ( MW ) | (MW) | (MU) | Installed | ( MW ) | tion(MW) | ted(MU) | Installed | ( MW ) | tion(MW) | ted(MU)
Hydro stations (a)
Chhukha | 4 x 84.00 | 336 | 367 | 1789.983 | 4 x 84.00 | 336 | 363 | 1732926 | 4x 84.000 | 336.000 | 361.000 | 2117.208 | 4x 84.000 | 336 | 358 | 1791.647
Chumey (Bumthang) | 3 x 00.50 | 1 | 0.455 | 2.692 | 3 x 00.50 | 1 | 0.465 | 2.638 | 3 x 0.500 | 1.000 | 0.75 | 2.449 | 3 x 0.500 | 0.85 | 0.75 | 2.682
Gidakom (Thimphu) | 5 x 00.25 | 0 | 0 | 0 | 5 x 00.25 | 0 | 0 | 0 | 5 x 0.250 | 0.000 | 0.000 | 0.000 | 5 x 0.250 | 0 | 0 | 0
Jushina (Thimphu) | 4 x 00.09 | 0 | 0 | 0 | 4 x 00.09 | 0.36 | 0.24 | 0.351 | 4 x 0.090 | 0.36 | 0.322 | 1.063 | 4 x 0.090 | 0.36 | 0.3 | 1.192
Kurichu (Mongar) | [8 empty] | .. | .. | .. | .. | 1x 15.000 | 15 | .. | ..
Rangjung (Trashigang) | 2 x 01.10 | 2.2 | 0.79 | 3.832 | 2 x 01.10 | 2.2 | 1.194 | 4.062 | 2 x 1.100 | 2.200 | 1.45 | 5.164 | 2 x 1.100 | 2.2 | 1.727 | 5.372
Chenari (Trashigang) | 3 x 00.25 | 0.25 | 0 | 0 | 3 x 00.25 | 0 | 0 | 0 | 3 x 0.250 | 0.000 | 0.000 | 0.000 | 3 x 0.250 | 0 | 0 | 0
Khaling (Trashigang) | 3 x 00.20 | 0.4 | 0.215 | 0.523 | 3 x 00.20 | 0.4 | 0.358 | 0.567 | 3 x 0.200 | 0.400 | 0.346 | 0.603 | 3 x 0.200 | 0.4 | 0.312 | 0.612
Khalangzi (Mongar) | 3 x 00.13 | 0.26 | 0.256 | 1.04 | 3 x 00.13 | 0.26 | 0.256 | 1.011 | 3 x 0.130 | 0.26 | 0.254 | 1.38 | 3 x 0.130 | 0.26 | 0.316 | 1.302
Wangduephodrang | 3 x 00.10 | 0.2 | 0.115 | 0.263 | 3 x 00.10 | 0.2 | 0.105 | 0.173 | 3 x 0.100 | 0 | 0 | 0 | 3 x 0.100 | 0 | 0 | 0
Micro hydels
Lhuntse (Lhuntse) | 1 x 0.020 | .. | .. | .. | 1 x 0.020 | .. | .. | .. | 2 x 0.060 | 0.12 | 0.064 | 0.057 | 2 x 0.060 | 0.12 | 0.091 | 0.37
Thinleygang (Thimphu) | 1 x 0.030 | .. | .. | .. | 1 x 0.030 | .. | .. | .. | 1 x 0.030 | .. | .. | .. | 1 x 0.030 | .. | .. | ..
Rukubji (W/phodrang) | 1 x 0.040 | 0.04 | .. | .. | 1 x 0.040 | 0.04 | .. | 0.005 | 1 x 0.040 | 0.04 | .. | 0.005 | 1 x 0.040 | 0.04 | .. | 0.043
Tangsibi (Trongsa) | 1 x 0.030 | .. | .. | 0.04 | 1 x 0.030 | .. | .. | .. | 1 x 0.030 | 0.03 | .. | 0.217 | 1 x 0.030 | 0.03 | .. | 0.024
Trongsa (Trongsa) | 1 x 0.050 | 0.05 | .. | 0.48 | 1 x 0.050 | 0.05 | .. | .. | 1 x 0.050 | 0.05 | .. | 0.168 | 1 x 0.050 | 0.05 | .. | 0.216
Bubja (Trongsa) | 1 x 0.030 | .. | .. | 7.9e-05 | 1 x 0.030 | .. | .. | .. | 1 x 0.030 | 0.03 | .. | 0.217 | 1 x 0.030 | 0.03 | .. | 0.036
Tamshing (Bjakar) | 1 x 0.030 | .. | .. | 0.039674 | 1 x 0.050 | .. | .. | .. | 1 x 0.030 | 0.03 | .. | .. | 1 x 0.030 | 0.03 | .. | ..
Ura (Bjakar) | 1 x 0.050 | .. | .. | 0.015727 | 1 x 0.030 | .. | .. | .. | 1 x 0.050 | 0.05 | .. | .. | 1 x 0.050 | 0.05 | .. | ..
Yadi (Mongar) | 1 x 0.030 | .. | .. | .. | 1 x 0.020 | .. | .. | .. | 1 x 0.030 | 0.03 | .. | 0.041 | 1 x 0.030 | 0.03 | .. | ..
Kekhar (Zhemgang) | 1 x 0.020 | 0.02 | .. | .. | 1 x 0.020 | .. | .. | .. | 1 x 0.020 | 0.02 | .. | .. | 1 x 0.020 | 0.02 | .. | ..
Surey (Sarpang) | 1 x 0.070 | 0.07 | .. | .. | 2 x 0.070 | .. | .. | .. | 1 x 0.070 | 0.070 | .. | .. | 1 x 0.070 | 0.07 | .. | ..
Damphu (Tsirang) | 2 x 0.100 | .. | .. | 0.876 | 2 x 0.100 | 0.2 | .. | 0.876 | 2 x 0.100 | 0.200 | 0.150 | 0.701 | 2 x 0.100 | 0.2 | 0.105 | 0.438
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.15 | 1.0907 | 2 x 0.100 | 0.2 | 0.14 | 1.046 | 2 x 0.100 | 0.200 | 0.130 | 1.126 | 2 x 0.100 | 0.2 | 0.14 | 0.952
Dagana (Dagana) | 2 x 0.100 | 0.17 | 0.14 | 0.18978 | 2 x 0.100 | 0.2 | 0.145 | 1.8 | 2 x 0.100 | 0.200 | 0.145 | 0.316 | 2 x 0.100 | 0.2 | 0.15 | 0.379
Lingzhi (Thimphu) | [8 empty] | .. | .. | .. | .. | 1 x 0.008 | 0.008 | .. | ..
[8 empty] | continues... | [6 empty] | cont..
TABLE 8.1:(cont)ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES,FY 1999/2000 & 2000/01
|  |  | 1997/98 |  |  |  | 1998/1999 |  |  |  | 1999/2000 |  |  |  | 2000/01
Generating stations | Number of | Generating | Peak | Energy | Number of | Generating | Peak | Energy | Number of | Generating | Peak | Energy | Number of | Generating | Peak | Energy
(Dzongkhag) | machines | capacity | generation | generated | machines | capacity | generation | generated | machines | capacity | genera- | genera- | machines | capacity | genera- | genera-
|  | (MW) | (MW) | (MU) |  | (MW) | (MW) | (MU) |  | (MW) | tion(MW) | ted(MU) |  | (MW) | tion(MW) | ted(MU)
Diesel generation stations
Thimphu | 9 | .. | .. | 0 | 6 | .. | .. | .. | 7 | .. | .. | 0.000 | 7 | .. | .. | 0.001
Paro | 1 | 0 | .. | 0 | 1 | .. | .. | 0 | 1 | .. | .. | 0.000 | 1 | .. | .. | 0
Phuentsholing | 4 | 0 | .. | 0 | 4 | .. | .. | 0 | 3 | 0.000 | .. | 0.000 | 3 | 0 | .. | 0
Damphu | 2 | .. | .. | .. | 2 | .. | .. | .. | 3 | .. | .. | .. | 3 | .. | .. | 0.018
Trongsa | 1 | .. | .. | .. | 1 | .. | .. | 0 | 2 | .. | .. | .. | 2 | .. | .. | 0.011
Gelephu | 2 | 0.692 | .. | 0.012 | 2 | 0.692 | .. | 0.034 | 2 | 0.692 | .. | 0.048 | 2 | 0.692 | .. | 0.011
Sarpang | 1 | 0.255 | .. | 0.015 | 1 | 0.255 | .. | 0.001 | 2 | 0.505 | .. | 0.011 | 2 | 0.505 | .. | 0
Kalikhola | 1 | 0.052 | .. | 0.037 | 2 | 0.152 | .. | 0.037 | 2 | 0.152 | .. | 0.101 | 2 | 0.152 | .. | 0.082
Zhemgang | 1 | .. | .. | .. | 1 | .. | .. | .. | 3 | .. | .. | .. | 3 | .. | .. | 0.003
Dagana | 1 | .. | .. | .. | 1 | .. | .. | .. | 2 | .. | .. | .. | 2 | .. | .. | ..
Trashigang | 1 | .. | .. | .. | 2 | .. | .. | .. | 5 | .. | .. | .. | 5 | .. | .. | 0.069
Bjakar | 1 | .. | .. | .. | 1 | .. | .. | .. | 3 | .. | .. | .. | 3 | .. | .. | 0.069
Mongar |  |  |  |  | .. | .. | .. | .. | 1 | .. | .. | .. | 1 | .. | .. | ..
Samdrup Jongkhar |  |  |  |  | .. | .. | .. | .. | 2 | .. | .. | .. | 2 | .. | .. | ..
Trashi Yangtse |  |  |  |  | .. | .. | .. | .. | 1 | .. | .. | .. | 1 | .. | .. | ..
Pema Gatshel |  |  |  |  | .. | .. | .. | .. | 1 | .. | .. | .. | 1 | .. | .. | ..
Samtse | [8 empty] | .. | .. | .. | .. | 1 | .. | .. | ..
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | .. | 0.028 | 4 | .. | .. | 0.1 | 4 | 4 | .. | 0.038 | 4 | 3.6 | .. | 0.038
Bhutan Board Products Ltd. | 2 | 0.458 | .. | .. | 2 | .. | .. | .. | 2 | 0.458 | .. | .. | 2 | 0.458 | .. | ..
Chhukha Hydro Power Corp. | 5 | 1.949 | .. | 0.013 | 5 | .. | .. | 0.015 | 5 | 1.949 | .. | 0.007 | 5 | 1.949 | .. | 0.004
Bhutan Chemical & Carbide Ltd. | 2 | 0.225 | .. | 0.031 | 2 | .. | .. | 0.002 | 2 | 0.225 | .. | 0.005 | 2 | 0.225 | .. | 0.015
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | .. | 0.017 | 1 | .. | .. | 0 | 1 | 0.288 | .. | 0.169 | 1 | 0.288 | .. | 0.169
Kurichu Project Authority | [8 empty] | .. | .. | .. | .. | 2 | 0.563 | .. | ..
Basochu Project Authority | [8 empty] | .. | .. | .. | .. | 1 | 0.09 | .. | ..
Note:The given energy generation are annual energy generation during 1999/2000 & 2000/01
Source:Division of Power,Thimphu

## Tab8.2
TABLE 8.2:TOTAL ELECTRICITY GENERATION AND SUPPLY,1996/97 TO 2000/01
Details | 1991/92 | 1992/93 | 1993/94 | 1994/95 | 1995/96 | 1996/97 | 1997/98 | 1998/99 | 1999/2000 | 2000/01
Installed capacity (MW) | 347.56 | 347.57 | 347.94 | 347.94 | 350.14 | 350.14 | 350.166 | 350.15 | 353.6 | 353.65
Chhukha hydro power | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336 | 336
Other hydro power | 6.06 | 6.06 | 6.15 | 6.15 | 8.35 | 8.35 | 8.35 | 8.35 | 8.5 | 8.46
All diesel generators | 5.5 | 5.51 | 5.79 | 5.79 | 5.79 | 5.79 | 5.816 | 5.8 | 9.2 | 9.19
Electricity generation (MU) | 1563.876 | 1683.893 | 1685.812 | 1629.98 | 1972.183 | 1838.38 | 1801.017 | 1746.11 | 2131 | 1805.29
Chhukha hydro power | 1554.37 | 1677.812 | 1679.239 | 1623.91 | 1964.627 | 1828.062 | 1789.983 | 1732.93 | 2117.2 | 1791.65
Other hydro power | 8.196 | 5.046 | 5.488 | 5.89 | 7.5 | 10.245 | 10.97 | 13.12 | 13.5 | 13.38
All diesel generators | 1.31 | 1.035 | 1.085 | 0.18 | 0.056 | 0.073 | 0.064 | 0.07 | 0.3 | 0.27
Exports (MU) | 1336.865 | 1464.958 | 1456.342 | 1311.84 | 1564.035 | 1430.294 | 1357.202 | 1302.22 | 1626 | 1380.15
Imports (MU) | 4.984 | 5.097 | 4.623 | 5.34 | 7.238 | 7.032 | 7.544 | 8.15 | 9.2 | 9.93
Total energy requirement (MU) | 186.699 | 195.255 | 198.497 | 298.16 | 390.433 | 378.02 | 389.899 | 418.33 | 480.8 | 440.95
Total energy sales (MU) | 159.713 | 173.824 | 176.509 | 275.95 | 342.792 | 361.04 | 375.242 | 390.79 | 445.6 | 401.81
Energy losses (MU) | 26.986 | 21.431 | 21.988 | 22.21 | 47.64 | 16.98 | 14.657 | 27.53 | 35.3 | 39.14
Percentage losses (%) | 14.454 | 10.976 | 11.077 | 7.45 | 12.202 | 4.49 | 3.759 | 6.58 | 7.3 | 8.88
Peak system demand (MW) | 19.216 | 23 | 33 | 70.42 | 70.416 | 72 | 77 | 80 | 89 | 92
Length of HT lines (33/11 KV)
Overhead lines (km) | 765.139 | 764.781 | 820.14 | 841.22 | 872.257 | 923.823 | 954.407 | 1113.44 | 985.7 | 983.26
Underground lines (km) | 8.6 | 8.6 | 8.6 | 9.014 | 9.014 | 9.014 | 12.27 | 14.9 | 14.9 | 20.43
Length of LT lines
Overhead lines (km) | 732.439 | 733.872 | 736.886 | 736.89 | 809.697 | 863.105 | 885.742 | 951.78 | 1020.9 | 1267.84
Underground lines (km) | 28 | 28 | 28 | 29.05 | 29.046 | 29.046 | 37.627 | 40.9 | 45 | 45.34
Note:Diesel generators excludes those owned by private organisations.
HT=High tension,LT=Low tension
Source:Division of Power,Thimphu

## Tab8.3
TABLE 8.3:MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER FROM CHHUKHA POWER PLANT,
2000 & 2001
| 1993 |  | 1996 |  | 1997 |  |  | 1998 |  |  | 1999 |  |  | 2000 |  |  | 2001
Stations | 220 KV | 66 KV | 220 KV | 66 KV | 220 KV | 66 KV | 220 KV | 132 KV | 66 KV | 220 KV | 132 KV | 66 KV | 220 KV | 132 KV | 66 KV | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line(Km) | line(Km) | line(Km) | line(Km) | line(Km) | line (Km) | line(Km) | line(Km) | line(Km) | line (Km) | line(Km) | line(Km) | line (Km) | line(Km) | line(Km) | line (Km)
Chhukha - Birpara | 71.000 (d/c) | .. | 71.000(d/c) | .. | 71.000(d/c) | .. | 71.000(d/c) | .. | .. | 71 | .. | .. | 1.000(D/C) | .. | .. | 1.000(D/C) | .. | ..
Chhukha - Singhigoan | 31.900(s/c) | .. | 31.9 | .. | 31.9 | .. | 33.32 | .. | .. | 33.32 | .. | .. | 33.3 | .. | .. | 33.3 | .. | ..
Chhukha - Simtokha | 54.900(s/c) | .. | 54.9 | .. | 54.9 | .. | 54.367 | .. | .. | 54.367 | .. | .. | 54.4 | .. | .. | 54.4 | .. | ..
Indian border- Gelephu |  |  | .. | .. | .. | .. | .. | 0.3 | .. | .. | 0.3 | .. | .. | 0.3 | .. | .. | 0.3 | ..
Chhukha - Gedu | .. | 21 | .. | 20.1 | .. | 20.1 |  |  | 20.1 |  |  | 20.1 | .. | .. | 20.1 | .. | .. | 20.1
Gedu - Phuntsholing | .. | 24 | .. | 17.7 | .. | 17.7 | .. | .. | 17.7 | .. | .. | 17.7 | .. | .. | 17.7 | .. | .. | 17.7
Chhukha - Confluence | .. | 44 | .. | 36.7 | .. | 36.7 | .. | .. | 36.7 | .. | .. | 36.7 | .. | .. | 36.7 | .. | .. | 36.7
Confluence - Simtokha | .. | 15 | .. | 18.3 | .. | 18.3 | .. | .. | 18.3 | .. | .. | 18.3 | .. | .. | 18.3 | .. | .. | 18.3
Confluence - Haa | .. | 33.522 | .. | 33.522 | .. | 33.522 | .. | .. | 33.522 | .. | .. | 33.522 | .. | .. | 33.5 | .. | .. | 33.522
Confluence - Paro | .. | 24.022 | .. | 24.022 | .. | 24.022 | .. | .. | 24.022 | .. | .. | 24.022 | .. | .. | 24 | .. | .. | 24.022
Simtokha - Wangduephodrang | .. | 26.023 | .. | 26.023 | .. | 26.023 | .. | .. | 26.023 | .. | .. | 26.023 | .. | .. | 26 | .. | .. | 26.023
Phuntsholing - Gomtu | .. | 27.002 | .. | 27.002 | .. | 27.002 | .. | .. | 27.002 | .. | .. | 27.002 | .. | .. | 27 | .. | .. | 27.002
Phuntsholing - Singhigoan | .. | 8.38 | .. | 8.38 | .. | 8.38 | .. | .. | 8.38 | .. | .. | 8.38 | .. | .. | 8.4 | .. | .. | 8.38
Phuntsholing - Birpara |  | 30 | .. | .. | .. | .. | .. | .. | Redumdant |  |  | Redumdant | .. | .. | Redundent | .. | .. | Redundent
Lobeysa - Basochhu |  |  | .. | .. | .. | .. | .. |  | .. | .. | .. | 23.023 | .. | .. | 23 | .. | .. | 23.023
Total | 76(d/c)::109(s/c) | 252.949 | 71(d/c)::86.8(s/c) | 241.749 | 71(d/c)::86.8(s/c) | 211.749 | 71(d/c)::86.8(s/c) |  | 211.749 | /c)::87.867(s/c) | 0.3 | 234.772 | 71(D/C)::87.687(S/C) | 0.3 | 234.772 | 71(D/C)::87.687(S/C) | 0.3 | 234.772
Note:d/c stands for double circuit and s/c for single circuit
Source:Division of Power,Thimphu

## Tab8.4
TABLE 8.4:DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION,1997/98
TO 2000/2001
Details | 1988/89 | 1989/90 | 1990/91 | 1991/92 | 1992/93 | 1993/94 | 1994/95 | 1995/96 | 1996/97 | 1997/98 | 1998/99 | 1999/2000 | 2000/01
Towns electrified (numbers) | 20 | 28 | 30 | 36 | 37 | 37 | 38 | 39 | 39 | 39 | 40 | 40 | 40
Villages electrified (numbers) | 171 | 221 | 254 | 270 | 277 | 282 | 297 | 331 | 363 | 370 | 443 | 552 | 646
Consumers ('000) | 14.092 | 15.229 | 18.172 | 19.626 | 19.924 | 19.901 | 21.797 | 21.99 | 23 | 31.639 | 33.7 | 35.7 | 35.9
Sales of energy (million Nu.) | 34.5 | 37.3 | 36.875 | 41.78 | 50.201 | 69.6 | 108 | 184.3 | 179 | 229.454 | 236.4 | 280.7 | 268.7
Per capita energy consumption (Units) | 90 | 212.6667 | 235.9004 | 256.1171 | 271.8046 | 323.3287 | 466.292 | 604.374 | 599.367 | 609.76 | 656.6 | 720 | 631.7
Note: The Per capita Energy consumption has dropped in 2000/01
because of the drop in energy sales to industrial areas in pasakha,due
to flood in August,2000
Source:Division of Power,Thimphu

## Tab8.5
TABLE 8.5:MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,1999 TO 2001
|  | 1990 |  |  | 1991 |  |  | 1993 |  |  | 1994 |  |  | 1995 |  |  | 1996 |  |  | 1997 |  |  | 1998 |  |  | 1999 |  |  | 2000 |  |  | 2001
Month | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 15.67 | 1.31 | 16.98 | 16.4 | 1.48 | 17.88 | 12.49 | 1.51 | 14 | 18.32 | 1.83 | 20.15 | 12.09 | 7.61 | 19.7 | 26.74 | 10.34 | 37.08 | 15.75 | 10.05 | 25.8 | 25.8273 | 9.89 | 35.72 | 25.61 | 11.34 | 36.95 | 62 | 13 | 75 | 24.73 | 13.23 | 37.96
February | 11.89 | 1.22 | 13.11 | 12.07 | 1.33 | 13.4 | 10.49 | 1.85 | 12.34 | 14.75 | 1.66 | 16.41 | 8.92 | 7.85 | 16.77 | 18.27 | 9.74 | 28.01 | 9.95 | 9.68 | 19.63 | 17.52 | 8.68 | 26.21 | 14.9 | 9.96 | 24.86 | 34.8 | 12.5 | 47.3 | 12.75 | 12.06 | 24.81
March | 13.93 | 1.15 | 15.08 | 16.93 | 1.41 | 18.34 | 10 | 1.71 | 11.71 | 22.09 | 1.75 | 23.84 | 18.34 | 8.64 | 26.98 | 28.1 | 10.14 | 38.24 | 15.17 | 10.66 | 25.83 | 21.03 | 10.57 | 31.6 | 15.63 | 10.84 | 26.47 | 40.8 | 13 | 53.3 | 8.9 | 12.78 | 21.67
April | 20.92 | 0.71 | 21.63 | 19.45 | 1.45 | 20.9 | 21.3 | 1.62 | 22.92 | 30.13 | 3.44 | 33.57 | 31.96 | 8.55 | 40.51 | 42.91 | 9.43 | 52.34 | 53.39 | 9.94 | 63.33 | 81.93 | 9.46 | 91.39 | 43.59 | 10.46 | 54.05 | 124.2 | 11.1 | 135.2 | 75.76 | 12.02 | 87.78
May | 27.73 | 1.19 | 28.92 | 30 | 1.44 | 31.44 | 55.98 | 1.57 | 57.55 | 44.02 | 1.61 | 45.63 | 57.56 | 8.74 | 66.3 | 61.31 | 9.44 | 70.75 | 116.06 | 9.57 | 125.63 | 118.68 | 33.33 | 128.7 | 93.04 | 11.01 | 104.05 | 209.9 | 11.5 | 221.4 | 161.98 | 12.39 | 174.37
June | 28.05 | 1.19 | 29.24 | 47.74 | 1.35 | 49.09 | 67.18 | 1.45 | 68.63 | 69.67 | 1.51 | 71.18 | 72.88 | 8.77 | 81.65 | 73.99 | 9.08 | 83.07 | 164.05 | 9.06 | 173.11 | 172.5 | 6.71 | 179.21 | 184.57 | 6.02 | 190.59 | 298.3 | 10.7 | 309 | 287.02 | 11.39 | 298.42
July | 30.61 | 1.19 | 31.8 | 54.16 | 1.4 | 55.56 | 59.69 | 1.41 | 61.1 | 71.37 | 4.46 | 75.83 | 105.08 | 8.03 | 113.11 | 114.55 | 4.45 | 119 | 225.2 | 9.39 | 234.59 | 203.64 | 29.81 | 212.61 | 329.33 | 9.75 | 339.08 | 317.4 | 10.9 | 328.3 | 326.12 | 10.46 | 336.58
August | 80.98 | 0.93 | 81.91 | 55.33 | 1.49 | 56.82 | 77.7 | 1.32 | 79.02 | 76.02 | 4.56 | 80.58 | 107.8 | 9.17 | 116.97 | 111.18 | 7.511 | 118.691 | 221.86 | 9.45 | 231.31 | 215.29 | 8.52 | 224.85 | 328.28 | 9.75 | 338.03 | 351.2 | 3.7 | 354.9 | 326.93 | 9.85 | 336.78
September | 42.79 | 1.05 | 43.84 | 50.95 | 1.42 | 52.37 | 82.49 | 1.48 | 83.97 | 76.55 | 4.46 | 81.01 | 104.24 | 8.91 | 113.15 | 101.56 | 9.34 | 110.9 | 193.92 | 9.07 | 202.99 | 187.2 | 1.15 | 195.44 | 310.56 | 9.63 | 320.19 | 327.5 | 3.9 | 331.3 | 300.38 | 11.91 | 312.29
October | 50.46 | 1.1 | 51.56 | 49.54 | 1.82 | 51.36 | 75.49 | 1.49 | 76.98 | 56.12 | 5.98 | 62.1 | 97.19 | 9.47 | 106.66 | 95.19 | 9.84 | 105.03 | 154.15 | 9.86 | 164.01 | 177.34 | 9.8 | 187.11 | 323.92 | 10.69 | 334.61 | 261 | 4.5 | 265.5 | 291.6 | 12.46 | 304.06
November | 31.7 | 0.93 | 32.63 | 26.69 | 1.59 | 28.28 | 41.63 | 1.64 | 43.27 | 25.57 | 7.98 | 33.55 | 65.18 | 9.44 | 74.62 | 47.79 | 10.27 | 58.06 | 70.61 | 9.75 | 80.36 | 77.38 | 10.53 | 87.92 | 237.48 | 11.08 | 248.56 | 114.7 | 9.2 | 123.9 | 146.78 | 12.77 | 159.55
December | 19.62 | 1.47 | 21.09 | 17.99 | 1.71 | 19.7 | 22.86 | 1.79 | 24.65 | 14.41 | 9.54 | 23.95 | 39.84 | 1.7 | 41.54 | 25.97 | 10.42 | 36.39 | 47.83 | 10.19 | 58.02 | 40.39 | 11.74 | 52.13 | 11.2 | 12.01 | 23.21 | 48.3 | 13.8 | 62.1 | 71.92 | 13.39 | 85.3
Total | 374.35 | 13.44 | 387.79 | 397.25 | 17.89 | 415.14 | 537.3 | 18.84 | 556.14 | 519.02 | 48.78 | 567.81 | 721.08 | 96.88 | 817.96 | 747.56 | 110.001 | 857.561 | 1287.94 | 116.67 | 1404.61 | 1338.74 | 114.15 | 1452.89 | 1918.11 | 122.54 | 2040.65 | 2189.5 | 117.7 | 2307.3 | 2034.87 | 144.69 | 2179.56
Source:Selected economic indicators,DoP,Thimphu

## Tab8.6
TABLE 8.6:CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER,1995/96 TO 1999/2000
Type of consumer | 1990/91 | 1991/92 | 1992/93 | 1993/94 | 1994/95 | 1995/96 | 1996/97 | 1997/98 | 1998/99 | 1999/2000 | 2000/01
Total consumption (MU) | 144.665 | 159.713 | 173.823 | 176.509 | 275.951 | 342.791 | 366.363 | 357.241 | 390.792 | 434.4 | 383.897
Domestic | 18.327 | 18.293 | 21.5 | 17.037 | 16.79 | 25.723 | 40.715 | 31 | 34.992 | 46.7 | 52.489
Commercial & Government Offices | 10.713 | 9.871 | 12.896 | 17.912 | 23.6 | 18.19 | 20.05 | 21.407 | 25.383 | 42.03 | 57.548
Industries | 110.628 | 123.928 | 31.675 | 136.281 | 228.2 | 291.887 | 299.799 | 317.016 | 323.963 | 338.53 | 267.107
Bulk supply | 4.914 | 7.397 | 107.309 | 4.861 | 7.021 | 6.517 | 4.473 | 5.492 | 6.159 | 6.81 | 6.382
Public lighting | 0.083 | 0.224 | 0.443 | 0.418 | 0.34 | 0.474 | 1.328 | 0.326 | 0.295 | 0.34 | 0.371
Consumption as percentage |  |  |  |  | 100 | 100 | 100 | 100 | 100 | 100 | 100
Domestic | 12.6686 | 11.4537 | 12.3689 | 9.6522 | 6.08 | 7.5 | 11.11 | 8.261 | 8.954 | 10.75 | 13.673
Commercial & Government Offices | 7.4054 | 6.1805 | 7.419 | 10.1479 | 8.552 | 5.306 | 5.47 | 5.705 | 6.495 | 9.68 | 14.99
Industries | 76.4718 | 77.5942 | 18.2226 | 77.2091 | 82.696 | 85.15 | 81.83 | 84.483 | 82.899 | 77.93 | 69.578
Bulk supply | 3.3968 | 4.6314 | 61.7346 | 2.754 | 2.544 | 1.901 | 1.2 | 1.464 | 1.576 | 1.57 | 1.662
Public lighting | 0.057374 | 0.14025 | 0.25486 | 0.23682 | 0.123 | 0.138 | 0.36 | 0.087 | 0.075 | 0.08 | 0.097
Source:Department of Power,Thimphu