## 9.3
Table 9.3 Major Transmission Lines, 2018
Line Name | No. of Towers | 400 kV | 220 kV |  | 132 kV | 66kV |  |  |  |  | Conductor Type | Remarks
|  | D/C | S/C | D/C | S/C | D/C | S/C | D/C | Q/C | UG Cable
Tala - Khogla | 104 | 24.615 | [8 empty] | Twin Moose ACSR
Tala - Malbase - Pugli | 48 | 49.528 | [8 empty] | Twin Moose ACSR
Chukha-Gedu-India Border | 97 |  |  | 35.78 | [6 empty] | Zebra ACSR
Chukha-Gedu-Malbase | 95 |  | 29.841 | [7 empty] | Zebra ACSR
Chukha-Semtokha | 144 |  | 54.01 | [7 empty] | Zebra ACSR
Semtokha-Rurichhu | 106 |  | 44.9 | [7 empty] | Zebra ACSR | Charged at 66kV
Rurichhu - Tsirang | 114 |  | 46.6 | [7 empty] | Zebra ACSR
Malbase-India Border (Birpara) | 6 |  | 4.075 | [7 empty] | Zebra ACSR
Malbase Singhigaon (Fdr-I) | 6 |  | 2.607 | [7 empty] | Zebra ACSR
Malbase Singhigaon (Fdr-II) | 12 | [9 empty] | Zebra ACSR
Kurichhu-Kilikhar | 28 |  |  |  | 10.06 | [5 empty] | Panther ACSR
Kilikhar-Kanglung | 81 |  |  |  | 29.705 | [5 empty] | Panther ACSR | Realigned at Kililkar(2012)
Kilikhar-Tangmachhu (Lhuntse) | 114 |  |  |  | 42.8 | [5 empty] | Panther ACSR | 22-Feb-02, Charged at 33kV
Kurichhu- Nangkor | 98 |  |  |  | 31.078 | [5 empty] | Panther ACSR | Relocated KP20 KP21(2013)
Nangkor-Deothang | 60 |  |  |  | 23.3 | [5 empty] | Panther ACSR
Nangkor-Nganglam | 102 |  |  |  | 33.793 | [5 empty] | Panther ACSR | Realigned at Denchi(2012)
Nganglam-Tingtibi | 246 |  |  |  | 83.296 | [5 empty] | Panther ACSR
Gelephu-Pelrithang (Lodrai) | 122 |  |  |  | 10.784 | [5 empty] | Panther ACSR
Pelrithang (Lodrai) - Tingtibi | 20 |  |  |  | 34.956 | [5 empty] | Panther ACSR
Gelephu-India Border | 1 |  |  |  | 0.1 | [5 empty] | Panther ACSR
Deothang-Motanga | 38 |  |  |  | 10.451 | [5 empty] | Panther ACSR
Motanga - India border |  |  |  |  | … | [5 empty] | Panther ACSR | reroute in 2016
Tingtibi - Yurmoo | 83 |  |  |  | 32.628 | [5 empty] | Panther ACSR
Chhukha-Chumdo | 200 | [5 empty] | 36.98 |  |  |  | Dog ACSR
Chumdo-Khasadrapchu | [6 empty] | 4.78 |  |  |  | Dog ACSR
Khasadrapchu-Olakha | [6 empty] | 11.74 |  |  |  | Dog ACSR | 1 km 66kV UG Cabling at IT Park
Khasadrapchu - Jemina | 23 | [6 empty] | 5.96 |  |  | Dog ACSR
Chumdo-Paro | 84 | [5 empty] | 24.01 |  |  |  | Dog ACSR
Chumdo-Haa | 123 | [5 empty] | 33.4 |  |  |  | Dog ACSR
Watsa Tie Line | 4 | [5 empty] | 0.5 |  |  |  | Dog ACSR
Semtokha-Olakha | 7 | [5 empty] | 1.7 |  |  |  | Dog ACSR
Semtokha - Lobeysa | 81 | [5 empty] | 24.43 |  |  |  | Dog ACSR | Realigned at Dochula
Lobeysa-Rurichhu | 76 | [5 empty] | 20.3 |  |  |  | Dog ACSR
Rurichhu-Hebisa | 14 | [5 empty] | 3.08 |  |  |  | Dog ACSR
Semtokha-Dechencholing | 46 | [5 empty] | 11.45 |  |  |  | Dog ACSR
Chhukha-Gedu | 73 | [5 empty] | 20.4 |  |  |  | Dog ACSR
Gedu-Phuentsholing | 67 | [5 empty] | 16.7 |  |  |  | Dog ACSR
Phuentsholing-Gomtu | 95 | [5 empty] | 26.9 |  |  |  | Dog ACSR
Malbase-Phuentsholing | 24 | [5 empty] | 8.69 |  |  |  | Dog ACSR | reroute in 2016
Malbase-Pasakha (multi circuit) | 17 | [7 empty] | 3.405 |  | Dog ACSR
Malbase Samtse-Singhigaon | 107 |  |  | 41.642 | [6 empty] | Zebra ACSR | Capitalized in 2014
Samtse-Sibsoo | 96 | [6 empty] | 26.958 |  |  | Wolf ACSR | Capitalized in 2014
Samtse-Gomtu | 53 | [6 empty] | 14.851 |  |  | Wolf ACSR | Capitalized in 2014
Yurmoo-Trongsa | 73 | [5 empty] | 20.94 |  |  |  | Wolf ACSR | Charged at 33kV
Yurmoo-Bumthang | 134 | [5 empty] | 34.856 |  |  |  | Wolf ACSR | Charged at 33kV
Tsirang- Jigmeling | 69 |  |  | 30.565 | [6 empty] | Zebra ACSR | 2013
Tsirang-Dagachu Port head yard | 56 |  |  | 20.202 | [6 empty] | Zebra ACSR | 2013
Jigmeling-Pelrithang(Lodrai) | 28 |  |  | 10.42 | [6 empty] | Zebra ACSR | Charged at 132kV(2013)
Tshendengang-Dagapela (LILO) | 20 |  |  | 4.396 | [6 empty] | Zebra ACSR | 2013
Khasadrapchu-Olakha | [9 empty] | 1 | UG | IT Park 2013
Pasakha Industrial Area | [9 empty] | 5.018 | UG | Pasakha Industrial Area
Motanga-Phuntshothang | 61 |  |  |  |  | 21.59 |  |  |  |  | Panther ACSR | 21.59 is Dead end to dead end.Actual line length is 21.626 km.
Total | 3356 | 74.143 | 182.033 | 143.005 | 342.951 | 21.59 | 300.856 | 47.769 | 3.405 | 6.018 |  | 1121.769
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.