## 9.1
Table 9.1: Hydro Generating Stations and Their Capacities, Bhutan, (2015-2017)
Generating Stations | 2005/06 |  |  |  | 2009/10 |  |  |  |  | 2011 |  |  |  |  | 2012 |  |  |  |  | 2013 |  |  |  |  | 2014 |  |  |  |  | 2015 |  |  |  |  | 2016 |  |  |  |  | 2017
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh)
Large Hydroelectric plants
Chhukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.00 | 360 | 360 | 1839.909 | 1986-88 | 4 x 84.00 | 360 | 360 | 1774.125 | 1986-88 | 4 x 84.00 | 360 | 360 | 1742.101 | 1986-88 | 4 x 84.00 | 336 | 360 | 1907.444 | 1986-88 | 4 x 84.00 | 336 | 368 | 1797.828 | 1986-88 | 4X84.00 | 336 | 368 | 1867.36 | 1986-88 | 4X84.00 | 360 | 368 | 1929.682 | 1986-88 | 4X84.00 | 360 | 368 | 1883.183 | 1986-88
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.00 | 60 | 64 | 368.347 | 2001 | 4 x 15.00 | 60 | 64 | 361.804 | 2001 | 4 x 15.00 | 60 | 64 | 360.926 | 2001 | 4 x 15.00 | 60 | 64.24 | 378.603 | 2001 | 4 x 15.00 | 60 | 66.4 | 368.028 | 2001 | 4X15.00 | 60 | 66.4 | 379.02 | 2001 | 4X15.00 | 60 | 64 | 390.748 | 2001 | 4X15.00 | 60 | 66 | 389.5618 | 2001
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.00 | 24 | 24 | 114.388 | 2002 | 2 x 12.00 | 24 | 24 | 114.167 | 2002 | 2 x 12.00 | 24 | 24 | 105.819 | 2002 | 2 x 12.00 | 24 | 24 | 117.737 | 2002 | 2 x 12.00 | 24 | 24 | 109.252 | 2002 | 2X12.00 | 24 | 24 | 113.209 | 2002 | 2X12.00 | 24 | 24 | 116.7069 | 2002 | 2X12.00 | 24 | 24.9 | 122.5493 | 2002
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.00 | 40 | 40 | 207.822 | 2004 | 2 x 20.00 | 40 | 40 | 208.122 | 2004 | 2 x 20.00 | 40 | 40 | 194.004 | 2004 | 2 x 20.00 | 40 | 40 | 212.648 | 2004 | 2 x 20.00 | 40 | 40 | 197.081 | 2004 | 2X20.00 | 40 | 40 | 199.547 | 2004 | 2X20.00 | 40 | 40 | 205.9686 | 2004 | 2X20.00 | 40 | 40.28 | 216.4302 | 2004
Tala (Chukha) | - | - | - | - | 6 x 170.00 | 1020 | 1122 | 4441.244 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4587.992 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4405.479 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4914.591 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4675.032 | 2006-07 | 6X170.00 | 1020 | 1122 | 4821.747 | 2006-07 | 6X170.00 | 1020 | 1122 | 4924.5049 | 2006-07 | 6X170.00 | 1020 | 1122 | 4645.0964 | 2006-07
Dagachu (Dagana) | [19 empty] | … | … | … | … | … | … | … | … | … | … | 2X63.00 | 108 | 100.79 | 350.257 | 2015-02-01 | 2X63.00 | 108 | 118 | 374.2324 | 42036 | 2X63 | 108 | 126.77 | 460.35 | 2015-02-01
Total |  |  |  |  | 1480 | 1504 |  | 6971.71 |  | 1480 | 1504 |  | 7046.211 |  | 1480 | 1504 |  | 6808.329 |  | 1480 | 1504 |  | 7531.023 |  | 1480 | 1480 |  | 7147.222 |  | 1606 | 1588 | 1721.19 | 7731.14 |  | 1606 | 1612 | 1736 | 7941.8428 |  | 1606 | 1612 | 1747.95 | 7256.8208
Mini and Micro Hydels |  |  |  |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x kW) | (kW) | (MW) |  |  | (No. x kW) | (kW) | (MW) |  |  | (No. x kW) | (kW) | (MW) | (GWh)
Jushina (Thimphu) |  |  |  |  | 4 x 90 | 270 | 0.26 | 1.296 | 1967 | 4 x 90 | 270 | 0.255 | 1.468 | 1967 | 4 x 90 | 270 | 0.255 | 1.333 | 1967 | 4 x 90 | 270 | 0.255 | 1.213 | 1967 | 4 x 90 | 270 | … | 0.929 | 1967 | 4x90 | … | 0.18 | 0.94432 | 1967 | 4x90 | … | 0.18 | 1.2728 | 1967 | 4x90 | … | 0.05 | 0.33013 | 1967
Hesothangkha (Wangdue) |  |  |  |  | 3 x 100 | 200 | 0.082 | 0.334 | 1972 | 3 x 100 | 200 | 0.085 | 0.477 | 1972 | 3 x 100 | 200 | 0.085 | 0.381 | 1972 | 3 x 100 | 200 | 0.085 | 0.42 | 1972 | 3 x 100 | 200 | … | 0.377 | 1972 | 3x100 | … | 0.07 | 0.37673 | 1972 | 3x100 | … | 0.68 | 0.093236 | 1972 | 3x100 | … | 0.08 | 0.24153 | 1972
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 250 | 300 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | … | 0 | 1972 | 3x250 | … | 0 | 0 | 1972 | 3x250 | … | 0 | 0 | 1972 | 3x250 | … | 0 | 0 | 1972
Gidakom (Thimphu) |  |  |  |  | 5 x 250 | 816 | 0.995 | 6.318 | 1973 | 5 x 250 | 816 | 0.965 | 6.222 | 1973 | 5 x 250 | 816 | 0.965 | 5.335 | 1973 | 5 x 250 | 816 | 0.965 | 4.529 | 1973 | 5 x 250 | 816 | … | 3.829 | 1973 | 5x250 | … | 0.63 | 4.9188 | 1973 | 5x250 | … | 0.675 | 4.7382 | 1973 | 5x250 | … | 0.675 | 4.0722 | 1973
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 130 | 260 | 0.202 | 0.498 | 1976 | 3 x 130 | 260 | 0.17 | 0.037 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | … | 0 | 1976 | 3x130 | … | 0 | 0 | 1976 | 3x130 | … | 0 | 0 | 1976 | 3x130 | … | 0 | 0.79786 | 1976
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 500 | 750 | 1.09 | 4.098 | 1988 | 3 x 500 | 1000 | 0.89 | 2.677 | 1988 | 3 x 500 | 1000 | 0.89 | 3.141 | 1988 | 3 x 500 | 1000 | 0.89 | 2.251 | 1988 | 3 x 500 | 1000 | … | 0.382 | 1988 | 3x500 | … | 0 | 0 | 1988 | 3x500 | … | 0 | 0 | 1988 | 3x500 | … | 0 | 0 | 1988
Gangzur (Lhuentse) |  |  |  |  | 2 x 60 | 120 | 0.066 | 0.119 | 2000 | 2 x 60 | 120 | 0.05 | 0.109 | 2000 | 2 x 60 | 120 | 0.05 | 0.054 | 2000 | 2 x 60 | 120 | 0.05 | 0.017 | 2000 | 2 x 60 | 120 | … | 0.021 | 2000 | 2x60 | … | 0.05 | 0.41947 | 2000 | 2x60 | … | 0.03 | 0.017949 | 2000 | 2x60 | … | 0.03 | 0.13621 | 2000
Rukubji (Wangdue) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 40 | 40 | 1 | 0.063 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.07301 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.076 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.081 | 1986-87 | 1 x 40 | 40 | … | 0.04 | 1986-87 | 1x40 | … | - | 0.5554 | 1986-87 | 1x40 | … | … | 0.01634 | 1986-87 | 1x40 | … | … | 0 | 1986-87
Tangsibji (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 30 | 30 | 0.02 | 0.047 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.046039 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.023 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.049 | 1986-87 | 1 x 30 | 30 | … | 0.019 | -do- | 1x30 | … | 0 | 0.29076 | -do- | 1x30 | … | 0 | 0.047422 | -do- | 1x30 | … | 0 | 0.011317 | -do-
Sherabling (Trongsa) |  |  |  |  | 1 x 50 | 50 | 0.035 | 0.044 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.050237 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.042 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0 | -do- | 1x50 | … | 0 | 0 | -do- | 1x50 | … | 0 | 6.2e-05 | -do- | 1x50 | … | 0 | 0.010991 | -do-
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 30 | 30 | 0.026 | 0.143 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.058026 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.009 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 30 | … | 0 | -do- | 1x30 | … | 0 | 0 | -do- | 1x30 | … | 0 | 0 | -do- | 1x30 | … | 0 | 0 | -do-
Tamzhing (Bumthang) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 30 | 30 | 0 | 0.103 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 0 | 0 |  | 1986-87 | 1 x 30 | 0 | … | 0 | 1986-87 | 1 x 30 | 0 | … | 0 | -do- | 1x30 | … | … | 0.014636 | -do- | 1x30 | … | … | 0.014636 | -do- | 1x30 | … | … | 0 | -do-
Ura (Bumthang) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 50 | 50 | 0 | 0.153 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0.07 | 1986-87 | 1 x 50 | 50 | … | 0.059 | -do- | 1x50 | … | … | 0.1588 | -do- | 1x50 | … | … | 0.2646 | -do- | 1x50 | … | … | 0.018224 | -do-
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | Discommissioned |  |  |  | 1986-87 | Dismantled | 0.000 | 0 | 0.000 | 1986-87 | Dismantled | 0.000 | 0 | 0.045 | 1986-87 | Dismantled | 0 | … | … | 1986-87 | Dismentled | 0.000 | … | … | -do- | Dismantled | … | 0 | 0 | -do- | Dismantled | … | 0 | 0 | -do- | 1x20 | … | 0 | 0 | -do-
Kekhar (Zhemgang) | [17 empty] | 0 |  | 1 x 20 | 20 | … | … | -do- | 1 x 20 | 20 | … | … | -do- | 1x20 | … | … | 0 | -do- | 1x20 | … | … | 0 | -do- | Dismantled | … | … | 0 | -do-
Changchey (Tsirang) |  |  |  |  | 2 x 100 | 200 | 0.114 | 1.049 | 1991 | 2 x 100 | 200 | 0.036 | 0.27387 | 1991 | 2 x 100 | 200 | 0.036 | 0.11 | 1991 | 2 x 100 | 200 | 0.036 | 0.095 | 1991 | 2 x 100 | 200 | … | 0.328 | 1991 | 2x100 | … | 0.06 | 0.050329 | 1991 | 2x100 | … | 0.66 | 0.2515 | 1991 | 2x100 | … | 0.083 | 0.21446 | 1991
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 100 | 200 | 0.105 | 0.459 | 1992 | 2 x 100 | 200 | 0.019 | 0.26217 | 1992 | 2 x 100 | 200 | 0.019 | 0.033 | 1992 | 2 x 100 | 200 | 0.019 | 0.149 | 1992 | 2 x 100 | 200 | … | 0.625 | 1992 | 2x100 | … | 0.1 | 0.01913 | 1992 | 2x100 | … | 0.087 | 0.1169 | 1992 | 2x100 | … | 0.143 | 0.34724 | 1992
Darachhu ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 100 | 200 | 0.125 | 0.053 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 200 | … | 0.041 | 1992 | 2 x 100 | 200 | … | 0.221 | 1992 | 2x100 | … | 0.125 | 0.30282 | 1992 | 2x100 | … | 0.285 | 0.38454 | 1992 | 2x100 | … | 0.323 | 0.48991 | 1992
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | … | … | 1999 | 1 x 8 | 8 | … | … | 1999 | 1x8 | … | … | … | 1999 | 1x8 | … | … | … | 1999 | 1x8 | … | … | … | 1999
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1100 | 2200 | 2.278 | 9.756 | 1996 | 2 x 1100 | 2200 | 1.743 | 7.763 | 1996 | 2 x 1100 | 2200 | 1.743 | 3.849 | 1996 | 2 x 1100 | 2200 | 1.743 | 9.108 | 1996 | 2 x 1100 | 2200 | … | 9.321 | 1996 | 2x1100 | … | 1.11 | 7.1223 | 1996 | 2x1100 | … | 0.746 | 2.8097 | 1996 | 2x1100 | … | 1.387 | 4.1664 | 1996
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 100 | 200 | 0.18 | 0.816 | 2001 | 2 x 100 | 200 | 0.15 | 0.42667 | 2001 | 2 x 100 | 200 | 0.15 | 0.531 | 2001 | 2 x 100 | 200 | 0.15 | 0.34 | 2001 | 2 x 100 | 200 | … | 0.537 | 2001 | 2x100 | … | 0.047 | 0.65749 | 2001 | 2x100 | … | 0.48 | 0.76508 | 2001 | 2x100 | … | 0.155 | 0.37209 | 2001
Chendebji (Trongsa) | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 70 | 70 | 0 | 0.089 | 2005 | 1 x 70 | 70 | 0 | 0.037581 | 2005 | 1 x 70 | 70 | 0 | 0.038 | 2005 | 1 x 70 | 70 | … | 0.114 | 2005 | 1 x 70 | 70 | … | 0.136 | 2005 | 1x70 | … | 4.619e-05 | 0.11875 | 2005 | 1x70 | … | 0.06321 | 0.18499 | 2005 | 1x70 | … | 0 | 0 | 2005
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 100 | 100 | 0.000 | 0.119 | 2007 | 1 x 100 | 100 | 0.000 | 0.027889 | 2007 | 1 x 100 | 100 | 0.000 | 0.028 | 2007 | 1 x 100 | 100 | … | … | 2007 | 1 x 100 | 100 | … | 0.107 | 2007 | 1x100 | … | … | 0.063759 | 2007 | 1x100 | … | 0.035 | 0.048674 | 2007 | 1x100 | … | 0.058 | 0.013271 | 2007
Total |  |  |  |  | 8098 | 6144 |  | 25.582 |  | 8098 | 5894 |  | 20.007 |  | 8098 | 5584 |  | 15.028 |  | 8098 | 5804 |  | 18.477 |  | 8098 | 5804 |  | 16.932 |  | 8098 | … | 2.372 | 16.0135 |  | 8098 | … | 3.9212 | 11.0267 |  | 8098 | … | 2.984 | 11.2218
The generating capacity of power plants are not available, so the generating capacity and peak generation from last year (2011) where applicable has been used.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.