## 9.3
Table 9.3 Major Transmission Lines, 2015
From Bus | To Bus | Number of Circuits | Line Length (Km) | Conductor Size
400kV Level |  |  | 74.143
Tala | Khogla | 2 | 24.615 | Twin moose
Tala | Malbase | 2 | 49.528 | Twin moose
220kV Level |  |  | 401.982
Basochhu | Tsirang | 1 | 46.6 | Single zebra
Tsirang | Jigmeling | 1 | 30.565 | Single zebra
Dagachu | Tsirang | 1 | 20.202 | Single zebra
Pelrithang(Lodra) | Jigmeling | 1 | 10.42 | Single zebra
Tsendengang | Dagapela (LILO) | 1 | 4.396 | Single Zebra
Basochhu | Semtokha | 1 | 44.9 | Single zebra
Semtokha | Chukha | 1 | 54.01 | Single zebra
Chukha-Gedu- | Indian Border | 2 | 71.56 | Double zebra
Chukha | Malbase | 1 | 29.841 | Single zebra
Malbase | Birpara | 1 | 4.075 | Single zebra
Malbase | Singhigaon | 1 | 1.706 | Single zebra
Malbase | Singhigoan | 1 | 2.607 | Single zebra
Malbase | Samtse | 2 | 81.1 | Double zebra
132kV Level |  |  | 301.650
Kurichhu | Kilikhar | 1 | 10.064 | Single panther
Kilikhar | Kanglung | 1 | 29.705 | Single panther
Kurichhu | Nangkor | 1 | 31.08 | Single panther
Nangkor | Deothang | 1 | 23.31 | Single panther
Deothang | Motanga | 1 | 10.5 | Single panther
Gelephug | Tintibi | 1 | 45.74 | Single panther
Gelephug | Indian Border | 1 | 0.1 | Single panther
Kilikhar | Tangmachhu | 1 | 42.8 | Single panther
Motanga | India border | 1 | 1.5 | Single panther
Nangkor | Nanglam | 1 | 33.793 | Single panther
Nanglam | Tintibi | 1 | 83.33 | Single panther
Tintibi | Yurmo | 1 | 32.628 | Single panther
66kV Level |  |  | 306.49
Basochhu_upper | Basochhu_Lower | 1 | 3.08 | Single dog
Basochhu_Lower | Gewathang | 1 | 1.5 | Single dog
Gewathang | Loybesa | 1 | 21.8 | Single dog
Lobeysa | Semtokha | 1 | 24.43 | Single dog
Semtokha | Dechencholing | 1 | 11.45 | Single dog
Semtokha | Olakha | 1 | 1.7 | Single dog
Olakha | Jemina | 1 | 17.66 | Single dog
Jemina | Chumdo | 1 | 11.78 | Single dog
Chumdo | Paro | 1 | 24.01 | Single dog
Chumdo | Haa | 1 | 33.4 | Single dog
Chumdo | TAP1_66 | 1 | 15.1 | Single dog
TAP1_66 | Watsa | 1 | 0.5 | Single dog
TAP1_66 | Chukha | 1 | 21.88 | Single dog
Chukha | Gedu | 1 | 20.4 | Single dog
Gedu | Pling | 1 | 16.7 | Single dog
Pling | Gomtu | 1 | 26.9 | Single dog
Malbase | Pling | 1 | 8.986 | Single dog (0.5Km from MAL Panther)
Malbase Multi-ckt. |  | 4 | 3.405
Samtse | Sibsoo | 2 | 26.958 | Double Dog
Samtse | Gomtu | 2 | 14.851 | Double Dog
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.