## 9.1
Table 9.1: Hydro Generating Stations and Their Capacities, Bhutan, (2013-2015)
Generating Stations | 2005/06 |  |  |  | 2009/10 |  |  |  |  | 2011 |  |  |  |  | 2012 |  |  |  |  | 2013 |  |  |  |  | 2014 |  |  |  |  | 2015
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh)
Large Hydroelectric plants
Chhukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.00 | 360 | 360 | 1839.909 | 1986-88 | 4 x 84.00 | 360 | 360 | 1774.125 | 1986-88 | 4 x 84.00 | 360 | 360 | 1742.101 | 1986-88 | 4 x 84.00 | 336 | 360 | 1907.444 | 1986-88 | 4 x 84.00 | 336 | 368 | 1797.828 | 1986-88 | 4X84.00 | 336 | 368 | 1867.36 | 1986-88
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.00 | 60 | 64 | 368.347 | 2001 | 4 x 15.00 | 60 | 64 | 361.804 | 2001 | 4 x 15.00 | 60 | 64 | 360.926 | 2001 | 4 x 15.00 | 60 | 64.24 | 378.603 | 2001 | 4 x 15.00 | 60 | 66.4 | 368.028 | 2001 | 4X15.00 | 60 | 66.4 | 379.02 | 2001
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.00 | 24 | 24 | 114.388 | 2002 | 2 x 12.00 | 24 | 24 | 114.167 | 2002 | 2 x 12.00 | 24 | 24 | 105.819 | 2002 | 2 x 12.00 | 24 | 24 | 117.737 | 2002 | 2 x 12.00 | 24 | 24 | 109.252 | 2002 | 2X12.00 | 24 | 24 | 113.209 | 2002
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.00 | 40 | 40 | 207.822 | 2004 | 2 x 20.00 | 40 | 40 | 208.122 | 2004 | 2 x 20.00 | 40 | 40 | 194.004 | 2004 | 2 x 20.00 | 40 | 40 | 212.648 | 2004 | 2 x 20.00 | 40 | 40 | 197.081 | 2004 | 2X20.00 | 40 | 40 | 199.547 | 2004
Tala (Chukha) | - | - | - | - | 6 x 170.00 | 1020 | 1122 | 4441.244 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4587.992 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4405.479 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4914.591 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4675.032 | 2006-07 | 6X170.00 | 1020 | 1122 | 4821.747 | 2006-07
Dagachu (Dagana) | [19 empty] | … | … | … | … | … | … | … | … | … | … | 2X63.00 | 108 | 100.79 | 350.257 | 2015-02-01
Total |  |  |  |  | 1480 | 1504 |  | 6971.71 |  | 1480 | 1504 |  | 7046.211 |  | 1480 | 1504 |  | 6808.329 |  | 1480 | 1504 |  | 7531.023 |  | 1480 | 1480 |  | 7147.222 |  | 1606 | 1588 | … | 7731.14
Mini and Micro Hydels |  |  |  |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x kW) | (kW) | (MW)
Jushina (Thimphu) |  |  |  |  | 4 x 90 | 270 | 0.26 | 1.296 | 1967 | 4 x 90 | 270 | 0.255 | 1.468 | 1967 | 4 x 90 | 270 | 0.255 | 1.333 | 1967 | 4 x 90 | 270 | 0.255 | 1.213 | 1967 | 4 x 90 | 270 | … | 0.929 | 1967 | 4x90 | … | 0.18 | 0.94432 | 1967
Hesothangkha (Wangdue) |  |  |  |  | 3 x 100 | 200 | 0.082 | 0.334 | 1972 | 3 x 100 | 200 | 0.085 | 0.477 | 1972 | 3 x 100 | 200 | 0.085 | 0.381 | 1972 | 3 x 100 | 200 | 0.085 | 0.42 | 1972 | 3 x 100 | 200 | … | 0.377 | 1972 | 3x100 | … | 0.07 | 0.37673 | 1972
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 250 | 300 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | … | 0 | 1972 | 3x250 | … | 0 | 0 | 1972
Gidakom (Thimphu) |  |  |  |  | 5 x 250 | 816 | 0.995 | 6.318 | 1973 | 5 x 250 | 816 | 0.965 | 6.222 | 1973 | 5 x 250 | 816 | 0.965 | 5.335 | 1973 | 5 x 250 | 816 | 0.965 | 4.529 | 1973 | 5 x 250 | 816 | … | 3.829 | 1973 | 5x250 | … | 0.63 | 4.9188 | 1973
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 130 | 260 | 0.202 | 0.498 | 1976 | 3 x 130 | 260 | 0.17 | 0.037 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | … | 0 | 1976 | 3x130 | … | 0 | 0 | 1976
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 500 | 750 | 1.09 | 4.098 | 1988 | 3 x 500 | 1000 | 0.89 | 2.677 | 1988 | 3 x 500 | 1000 | 0.89 | 3.141 | 1988 | 3 x 500 | 1000 | 0.89 | 2.251 | 1988 | 3 x 500 | 1000 | … | 0.382 | 1988 | 3x500 | … | 0 | 0 | 1988
Gangzur (Lhuentse) |  |  |  |  | 2 x 60 | 120 | 0.066 | 0.119 | 2000 | 2 x 60 | 120 | 0.05 | 0.109 | 2000 | 2 x 60 | 120 | 0.05 | 0.054 | 2000 | 2 x 60 | 120 | 0.05 | 0.017 | 2000 | 2 x 60 | 120 | … | 0.021 | 2000 | 2x60 | … | 0.05 | 0.41947 | 2000
Rukubji (Wangdue) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 40 | 40 | 1 | 0.063 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.07301 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.076 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.081 | 1986-87 | 1 x 40 | 40 | … | 0.04 | 1986-87 | 1x40 | … | - | 0.5554 | 1986-87
Tangsibji (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 30 | 30 | 0.02 | 0.047 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.046039 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.023 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.049 | 1986-87 | 1 x 30 | 30 | … | 0.019 | -do- | 1x30 | … | 0 | 0.29076 | -do-
Sherabling (Trongsa) |  |  |  |  | 1 x 50 | 50 | 0.035 | 0.044 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.050237 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.042 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0 | -do- | 1x50 | … | 0 | 0 | -do-
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 30 | 30 | 0.026 | 0.143 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.058026 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.009 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 30 | … | 0 | -do- | 1x30 | … | 0 | 0 | -do-
Tamzhing (Bumthang) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 30 | 30 | 0 | 0.103 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 0 | 0 |  | 1986-87 | 1 x 30 | 0 | … | 0 | 1986-87 | 1 x 30 | 0 | … | 0 | -do- | 1x30 | … | … | 0.014636 | -do-
Ura (Bumthang) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 50 | 50 | 0 | 0.153 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0.07 | 1986-87 | 1 x 50 | 50 | … | 0.059 | -do- | 1x50 | … | … | 0.1588 | -do-
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | Discommissioned |  |  |  | 1986-87 | Dismantled | 0.000 | 0 | 0.000 | 1986-87 | Dismantled | 0.000 | 0 | 0.045 | 1986-87 | Dismantled | 0 | … | … | 1986-87 | Dismentled | 0.000 | … | … | -do- | Dismantled | … | 0 | 0 | -do-
Kekhar (Zhemgang) | [17 empty] | 0 |  | 1 x 20 | 20 | … | … | -do- | 1 x 20 | 20 | … | … | -do- | 1x20 | … | … | 0 | -do-
Changchey (Tsirang) |  |  |  |  | 2 x 100 | 200 | 0.114 | 1.049 | 1991 | 2 x 100 | 200 | 0.036 | 0.27387 | 1991 | 2 x 100 | 200 | 0.036 | 0.11 | 1991 | 2 x 100 | 200 | 0.036 | 0.095 | 1991 | 2 x 100 | 200 | … | 0.328 | 1991 | 2x100 | … | 0.06 | 0.050329 | 1991
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 100 | 200 | 0.105 | 0.459 | 1992 | 2 x 100 | 200 | 0.019 | 0.26217 | 1992 | 2 x 100 | 200 | 0.019 | 0.033 | 1992 | 2 x 100 | 200 | 0.019 | 0.149 | 1992 | 2 x 100 | 200 | … | 0.625 | 1992 | 2x100 | … | 0.1 | 0.01913 | 1992
Darachhu ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 100 | 200 | 0.125 | 0.053 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 200 | … | 0.041 | 1992 | 2 x 100 | 200 | … | 0.221 | 1992 | 2x100 | … | 0.125 | 0.30282 | 1992
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | … | … | 1999 | 1 x 8 | 8 | … | … | 1999 | 1x8 | … | … | … | 1999
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1100 | 2200 | 2.278 | 9.756 | 1996 | 2 x 1100 | 2200 | 1.743 | 7.763 | 1996 | 2 x 1100 | 2200 | 1.743 | 3.849 | 1996 | 2 x 1100 | 2200 | 1.743 | 9.108 | 1996 | 2 x 1100 | 2200 | … | 9.321 | 1996 | 2x1100 | … | 1.11 | 7.1223 | 1996
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 100 | 200 | 0.18 | 0.816 | 2001 | 2 x 100 | 200 | 0.15 | 0.42667 | 2001 | 2 x 100 | 200 | 0.15 | 0.531 | 2001 | 2 x 100 | 200 | 0.15 | 0.34 | 2001 | 2 x 100 | 200 | … | 0.537 | 2001 | 2x100 | … | 0.047 | 0.65749 | 2001
Chendebji (Trongsa) | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 70 | 70 | 0 | 0.089 | 2005 | 1 x 70 | 70 | 0 | 0.037581 | 2005 | 1 x 70 | 70 | 0 | 0.038 | 2005 | 1 x 70 | 70 | … | 0.114 | 2005 | 1 x 70 | 70 | … | 0.136 | 2005 | 1x70 | … | 4.619e-05 | 0.11875 | 2005
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 100 | 100 | 0.000 | 0.119 | 2007 | 1 x 100 | 100 | 0.000 | 0.027889 | 2007 | 1 x 100 | 100 | 0.000 | 0.028 | 2007 | 1 x 100 | 100 | … | … | 2007 | 1 x 100 | 100 | … | 0.107 | 2007 | 1x100 | … | … | 0.063759 | 2007
Total |  |  |  |  | 8098 | 6144 |  | 25.582 |  | 8098 | 5894 |  | 20.007 |  | 8098 | 5584 |  | 15.028 |  | 8098 | 5804 |  | 18.477 |  | 8098 | 5804 |  | 16.932 |  | 8098 | … |  | 16.0135
The generating capacity of power plants and their peak generation are not available, so the generating capacity and peak generation from last year (2011) where applicable has been used.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.