## 9.1
Table 9.1: Hydro Generating Stations and Their Capacities, Bhutan (2012-2014)
Generating Stations | 2005/06 |  |  |  | 2009/10 |  |  |  |  | 2011 |  |  |  |  | 2012 |  |  |  |  | 2013 |  |  |  |  | 2014
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh)
Large Hydroelectric plants
Chhukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.00 | 360 | 360 | 1839.909 | 1986-88 | 4 x 84.00 | 360 | 360 | 1774.125 | 1986-88 | 4 x 84.00 | 360 | 360 | 1742.101 | 1986-88 | 4 x 84.00 | 360 | 360 | 1907.444 | 1986-88 | 4 x 84.00 | 366 | 368 | 1797.828 | 1986-88
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.00 | 60 | 64 | 368.347 | 2001 | 4 x 15.00 | 60 | 64 | 361.804 | 2001 | 4 x 15.00 | 60 | 64 | 360.926 | 2001 | 4 x 15.00 | 60 | 64.24 | 378.603 | 2001 | 4 x 15.00 | 60 | 66.4 | 368.028 | 2001
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.00 | 24 | 24 | 114.388 | 2002 | 2 x 12.00 | 24 | 24 | 114.167 | 2002 | 2 x 12.00 | 24 | 24 | 105.819 | 2002 | 2 x 12.00 | 24 | 24 | 117.737 | 2002 | 2 x 12.00 | 24 | 24 | 109.252 | 2002
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.00 | 40 | 40 | 207.822 | 2004 | 2 x 20.00 | 40 | 40 | 208.122 | 2004 | 2 x 20.00 | 40 | 40 | 194.004 | 2004 | 2 x 20.00 | 40 | 40 | 212.648 | 2004 | 2 x 20.00 | 40 | 40 | 197.081 | 2004
Tala (Chukha) | - | - | - | - | 6 x 170.00 | 1020 | 1122 | 4441.244 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4587.992 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4405.479 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4914.591 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4675.032 | 2006-07
Total |  |  |  |  | 1480 | 1504 |  | 6971.71 |  | 1480 | 1504 |  | 7046.211 |  | 1480 | 1504 |  | 6808.329 |  | 1480 | 1504 |  | 7531.023 |  | 1480 | 1510 |  | 7147.222
Mini and Micro Hydels |  |  |  |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh)
Jushina (Thimphu) |  |  |  |  | 4 x 90 | 270 | 0.26 | 1.296 | 1967 | 4 x 90 | 270 | 0.255 | 1.468 | 1967 | 4 x 90 | 270 | 0.255 | 1.333 | 1967 | 4 x 90 | 270 | 0.255 | 1.213 | 1967 | 4 x 90 | 270 | … | 0.929 | 1967
Hesothangkha (Wangdue) |  |  |  |  | 3 x 100 | 200 | 0.082 | 0.334 | 1972 | 3 x 100 | 200 | 0.085 | 0.477 | 1972 | 3 x 100 | 200 | 0.085 | 0.381 | 1972 | 3 x 100 | 200 | 0.085 | 0.42 | 1972 | 3 x 100 | 200 | … | 0.377 | 1972
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 250 | 300 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | … | 0 | 1972
Gidakom (Thimphu) |  |  |  |  | 5 x 250 | 816 | 0.995 | 6.318 | 1973 | 5 x 250 | 816 | 0.965 | 6.222 | 1973 | 5 x 250 | 816 | 0.965 | 5.335 | 1973 | 5 x 250 | 816 | 0.965 | 4.529 | 1973 | 5 x 250 | 816 | … | 3.829 | 1973
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 130 | 260 | 0.202 | 0.498 | 1976 | 3 x 130 | 260 | 0.17 | 0.037 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976 | 3 x 130 | 0 | … | 0 | 1976
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 500 | 750 | 1.09 | 4.098 | 1988 | 3 x 500 | 1000 | 0.89 | 2.677 | 1988 | 3 x 500 | 1000 | 0.89 | 3.141 | 1988 | 3 x 500 | 1000 | 0.89 | 2.251 | 1988 | 3 x 500 | 1000 | … | 0.382 | 1988
Gangzur (Lhuentse) |  |  |  |  | 2 x 60 | 120 | 0.066 | 0.119 | 2000 | 2 x 60 | 120 | 0.05 | 0.109 | 2000 | 2 x 60 | 120 | 0.05 | 0.054 | 2000 | 2 x 60 | 120 | 0.05 | 0.017 | 2000 | 2 x 60 | 120 | … | 0.021 | 2000
Rukubji (Wangdue) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 40 | 40 | 1 | 0.063 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.07301 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.076 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.081 | 1986-87 | 1 x 40 | 40 | … | 0.04 | 1986-87
Tangsibji (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 30 | 30 | 0.02 | 0.047 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.046039 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.023 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.049 | 1986-87 | 1 x 30 | 30 | … | 0.019 | -do-
Sherabling (Trongsa) |  |  |  |  | 1 x 50 | 50 | 0.035 | 0.044 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.050237 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.042 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0 | -do-
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 30 | 30 | 0.026 | 0.143 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.058026 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.009 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 30 | … | 0 | -do-
Tamzhing (Bumthang) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 30 | 30 | 0 | 0.103 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 0 | 0 |  | 1986-87 | 1 x 30 | 0 | … | 0 | 1986-87 | 1 x 30 | 0 | … | 0 | -do-
Ura (Bumthang) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 50 | 50 | 0 | 0.153 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | … | 0.07 | 1986-87 | 1 x 50 | 50 | … | 0.059 | -do-
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | Discommissioned |  |  |  | 1986-87 | Dismantled | 0.000 | 0 | 0.000 | 1986-87 | Dismantled | 0.000 | 0 | 0.045 | 1986-87 | Dismantled | 0 | … | … | 1986-87 | Dismentled | 0.000 | … | … | -do-
Kekhar (Zhemgang) | [17 empty] | 0 |  | 1 x 20 | 20 | … | … | -do- | 1 x 20 | 20 | … | … | -do-
Changchey (Tsirang) |  |  |  |  | 2 x 100 | 200 | 0.114 | 1.049 | 1991 | 2 x 100 | 200 | 0.036 | 0.27387 | 1991 | 2 x 100 | 200 | 0.036 | 0.11 | 1991 | 2 x 100 | 200 | 0.036 | 0.095 | 1991 | 2 x 100 | 200 | … | 0.328 | 1991
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 100 | 200 | 0.105 | 0.459 | 1992 | 2 x 100 | 200 | 0.019 | 0.26217 | 1992 | 2 x 100 | 200 | 0.019 | 0.033 | 1992 | 2 x 100 | 200 | 0.019 | 0.149 | 1992 | 2 x 100 | 200 | … | 0.625 | 1992
Darachhu ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 100 | 200 | 0.125 | 0.053 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 200 | … | 0.041 | 1992 | 2 x 100 | 200 | … | 0.221 | 1992
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | … | … | 1999 | 1 x 8 | 8 | … | … | 1999
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1100 | 2200 | 2.278 | 9.756 | 1996 | 2 x 1100 | 2200 | 1.743 | 7.763 | 1996 | 2 x 1100 | 2200 | 1.743 | 3.849 | 1996 | 2 x 1100 | 2200 | 1.743 | 9.108 | 1996 | 2 x 1100 | 2200 | … | 9.321 | 1996
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 100 | 200 | 0.18 | 0.816 | 2001 | 2 x 100 | 200 | 0.15 | 0.42667 | 2001 | 2 x 100 | 200 | 0.15 | 0.531 | 2001 | 2 x 100 | 200 | 0.15 | 0.34 | 2001 | 2 x 100 | 200 | … | 0.537 | 2001
Chendebji (Trongsa) | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 70 | 70 | 0 | 0.089 | 2005 | 1 x 70 | 70 | 0 | 0.037581 | 2005 | 1 x 70 | 70 | 0 | 0.038 | 2005 | 1 x 70 | 70 | … | 0.114 | 2005 | 1 x 70 | 70 | … | 0.136 | 2005
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 100 | 100 | 0.000 | 0.119 | 2007 | 1 x 100 | 100 | 0.000 | 0.027889 | 2007 | 1 x 100 | 100 | 0.000 | 0.028 | 2007 | 1 x 100 | 100 | … | … | 2007 | 1 x 100 | 100 | … | 0.107 | 2007
Total |  |  |  |  | 8098 | 6144 |  | 25.582 |  | 8098 | 5894 |  | 20.007 |  | 8098 | 5584 |  | 15.028 |  | 8098 | 5804 |  | 18.477 |  | 8098 | 5804 |  | 16.932
Note: The generating capacity of power plants and their peak generation are not available, so the generating capacity and peak generation from last year (2011) where applicable has been used.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.2
Table 9.2: Details of Diesel Generator Sets, Bhutan, 2014
Generating stations/ Locations | 2014
| No of Machines | No. & Capacity of Machines (No.X MW) | Total Capacity (MW) | Energy Generated (KWh) | Year of Commissioning
|  | (No.X MW) | ( MW ) | (MU)
Thimphu | 7 | 1X625 | 4204 | 0 | 1978
|  | 2X318 |  | 0 | 1980
|  | 1X1188 |  | 0 | 1982
|  | 1X1250 |  | 1000 | 1984/85
|  | 1X380 |  | 917.21 | …
|  | 1X125 |  | 0 | 1999-00
Paro | 1 | 1X110 | 110 | 0 | 1977
Chhukha | 2 | 1X380 | 505 | 5040 | 1966
|  | 1X125 |  | 0 | 1979
Tsirang | 3 | 1X380 | 600 | 0 | 1969
|  | 1X60 |  | 0 | 1991
|  | 1X160 |  | 0 | 1999-00
Trongsa | 1 | 1X380 | 380 | 0 | 1976
Sarpang | 4 | 1X350 | 1246 | 0 | 1991
|  | 1X318 |  | 0 | 1991
|  | 1X515 |  | 0 | 1991
Monggar | 1 | 1X380 | 380 | 560 | 1999-00
|  | 1X63 |  | 0 | 1983
Zhemgang | 2 | 1X380 | 430 | 352 | 1999-00
|  | 1X50 |  | 0 | 1983
Dagana | 1 | 1X380 | 380 | 0 | 1991
Trashigang | 2 | 1X100 | 127 | 0 | 1998/99
|  | 1X27 |  | 0 | 1999-00
Samdrup Jongkhar | 2 | 1X380 | 410 | 0 | 1999-00
|  | 1X30 |  | 0 | 1991
Bumthang | 3 | 1X380 | 1140 | 0 | 1998
|  | 1X380 |  | 0 | 1999-00
|  | 1X380 |  | 0 | 1999-00
Trashi Yangtse | 1 | 1X380 | 380 | 2512 | 1999-00
Pema Gatshel | 1 | 1X380 | 380 | 0 | 1999-00
Samtse | 1 | 1X60 | 60 | 0 | 2000-01
Total |  |  | 10732 | 10381.21
Other Diesel sets
Penden Cement Authority Ltd. | 2 | 2X1000 | 2000 | … | 1981/84
Bhutan Board Products Ltd. | 2 | 1X160 | 160 | … | …
|  | 1X349 | 349
Chukha Hydro Power Plant | 4 | 2X450 | 900 | … | …
|  | 2X280 | 560
Bhutan Ferro Alloys Ltd. | 2 | 2X380 | 760 | … | 1995
Bhutan Carbide & Chemical Ltd. | 3 | 3X125 | 375 | … | 1987
Basochu Hydro Power Plant | 1 | 1X130 | 130 | … | 2000
Kurichu Hydro Power Plant | 3 | 2X320 | 640 | … | 1998/00
|  | 1X500 | 500 |  | 2007
Tala Hydro Power Plant | 1 | 1X2500 | 2500 | … | 2006/07
S.D.Eastern Bhutan Ferro Silicon Pvt.Ltd. | 2 | 2X125 | 250 | … | 2007/08
Total |  |  | 9124 | …
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.3
Table 9.3: Major Transmission Lines, 2014
2014
Stations | 400 KV | 220 KV | 220 KV | 132 KV | 66 KV | 66 KV | 66 KV |  | Remarks
| Line D/C | Line S/C | Line D/C | Line S/C | Line S/C | Line D/C | Line Q/C | UG
Tala- Khogla | 24.615 | … | … | … | … | … | … | …
Tala- Malbasse - Pugli | 49.528 | … | … | ... | … | … | … | …
CHP- Gedu- Indian border | … | … | 35.78 | ... | … | … | … | …
CHP- Gedu- Malbasse | … | 29.841 | … | ... | … | … | … | …
Malbase- Indian border | … | 4.075 | … | ... | … | … | … | …
CHP- Semtokha (II) | … | 54.01 | … | ... | … | … | … | …
Simtokha- Rurichu | … | 44.9 | … | ... | … | … | … | … | Charged at 66 kV
Rurichu - Tsirang | … | 46.6 | … | ... | … | … | … | … | Charged at 66 kV
Malbase- Singhigaon Fdr-I | … | 1.706 | … | ... | … | … | … | …
Malbase- Singhigaon Fdr-II | … | 2.607 | … | ... | … | … | … | …
Malbase- Samtse | … | … | 40.55 | … | … | … | … | … | Capitalized in 2014
Gyelposhing - Kilikhar | … | … | … | 10.06 | … | … | … | …
Kilikhar - Kanglung | … | … | … | 29.705 | … | … | … | … | Realigned at Kilikhar
Kilikhar - Tangmachu | … | … | … | 42.8 | … | … | … | … | Charged at 33 kV
Gyleposhing - Nangkor | … | … | … | 31.08 | … | … | … | … | Relocated KP20 & KP21 in 2013
Nangkor - Deothang | … | … | … | 23.3 | … | … | … | …
Nangkhor - Nganglam | … | … | … | 33.793 | … | … | … | … | Realigned at Denchi in 2012
Nganglam - Tintibi | … | … | … | 83.33 | … | … | … | …
Tintibi - Gelephu | … | … | … | 45.74 | … | … | … | …
Gelephu - Indian border | … | … | … | 0.1 | … | … | … | …
Deothang - Motanga | … | … | … | 10.5 | … | … | … | …
Montanga - Indian border | … | … | … | 1.5 | … | … | … | …
Tintibi - Yurmoo | … | … | … | 32.628 | … | … | … | … | Charged at 33 kV
CHPC - Gedu | … | … | … | … | 20.4 | … | … | …
Gedu - Phuntsholing | … | … | … | … | 16.7 | … | … | …
Phuntsholing - Malbasse | … | … | … | … | 8.986 | … | … | …
Phuntsholing - Gomtu | … | … | … | … | 26.9 | … | … | …
CHPC - Chumdo | … | … | … | … | 36.98 | … | … | …
Chumdo - Khasadrapchu | … | … | … | … | 4.78 | … | … | …
Khasadrapchu - Olakha | … |  |  |  | 11.74 |  |  | 1 | UG Cable at IT Park 2013
Chumdo - Haa | … | … | … | … | 33.4 | … | … | …
Chumdo - Paro | … | … | … | … | 24.01 | … | … | …
Semtokha - Lobeysa | … | … | … | … | 24.43 | … | … | … | Realigned at Dochula
Semtokha - Olakha | … | … | … | … | 1.7 | … | … | …
Hebesa - Rurichu | … | … | … | … | 3.08 | … | … | …
Semtokha - Dechenchholing | … | … | … | … | 11.45 | … | … | …
Khasadrapchu - Jemina | … | … | … | … | … | 5.96 | … | …
Lobeysa - Rurichhu | … | … | … | … | 20.3 | … | … | …
Tie - Line - Watsa | … | … | … | … | 0.5 | … | … | …
Yurmoo - Trongsa | … | … | … | … | 20.94 | … | … | … | Charged at 33 kV
Yurmoo - Bumthang | … | … | … | … | 34.856 | … | … | … | Charged at 33 kV
Malbase Multi Circuit | … | … | … | … | … | … | 3.405 | …
Tsirang - Jigmeling | … | … | 30.565 | … | … | … | … | …
Tsirang - Dagachu Port head yard | … | … | 20.202 | … | … | … | … | …
Jigmeling - Pelrithang (Lodrai) | … | … | 10.42 | … | … | … | … | … | Charged at 132 kV
Tshendengang - Dagapela (LILO) | … | … | 4.457 | … | … | … | … | …
Pasakha Industrial Area | … |  | … | … | … | … | … | 5.018 | UG Cable at Pasakha IA
Samtse - Sibsoo | … | … | … | … | … | 26.958 | … | … | Capitalized in 2014
Samtse - Gomtu | … | … | … |  |  | 14.851 | … | … | Capitalized in 2014
Total | 74.143 | 183.739 | 141.974 | 344.536 | 301.152 | 47.769 | 3.405 | 6.018 | 1015.28
Note: D/C stands for double circuit and S/C for single circuit.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.4 & 9.5
Table 9.4: Monthly Revenue From Sale of Energy from Chhukha Power Plant (2011-2014) | [20 empty] | (Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 97.179 | 7.3794 | 104.56 | 112.47 | 7.17 | 119.64 | 103.53 | 9.34 | 112.87 | 90.692 | 4.662 | 95.354 | 91.951 | 5.293 | 97.244 | 33.912 | 5.723 | 39.635 | 81.712 | 81.712 | 163.424
February | 71.5042 | 6.7148 | 78.22 | 79.89 | 6.05 | 85.94 | 68 | 8.37 | 76.37 | 78.239 | 3.919 | 82.158 | 73.277 | 4.651 | 77.928 | 43.122 | 4.909 | 48.031 | 42.629 | 40.919 | 83.548
March | 87.5482 | 6.1383 | 93.69 | 83.01 | 7.02 | 90.04 | 94.87 | 8.4 | 103.27 | 76.896 | 4.094 | 80.991 | 89.823 | 4.795 | 94.618 | 75.686 | 4.503 | 80.189 | 69.12 | 38.529 | 107.649
April | 156.1002 | 5.0513 | 161.15 | 151.47 | 6.31 | 157.77 | 152.02 | 7.05 | 159.07 | 109.966 | 3.118 | 113.084 | 173.574 | 4.132 | 177.706 | 154.437 | 4.332 | 158.769 | 93.259 | 29.859 | 123.118
May | 201.7179 | 5.1983 | 206.92 | 224.78 | 5.8 | 230.58 | 227.78 | 7.07 | 234.85 | 223.818 | 3.411 | 227.229 | 188.643 | 3.611 | 192.255 | 294.399 | 4.349 | 298.748 | 231.782 | 16.876 | 248.658
June | 515.6795 | 5.2827 | 520.96 | 392.15 | 5.72 | 397.87 | 399.16 | 6.93 | 406.09 | 394.624 | 3.307 | 397.931 | 323.132 | 3.76 | 326.892 | 503.395 | 4.126 | 507.521 | 445.306 | 0.00 | 445.306
July | 580.6728 | 5.3201 | 585.99 | 575.94 | 6.31 | 582.25 | 584.95 | 7.74 | 592.7 | 585.171 | 3.664 | 588.835 | 553.328 | 4.037 | 557.365 | 522.354 | 4.173 | 526.527 | 630.457 | 0.00 | 630.457
August | 590.5711 | 4.3013 | 594.87 | 576.81 | 6.57 | 583.38 | 579.56 | 3.45 | 583.01 | 566.491 | 3.792 | 570.284 | 572.004 | 4.089 | 576.093 | 576.104 | 3.314 | 579.418 | 630.426 | 0.00 | 630.426
September | 554.5745 | 5.6607 | 560.24 | 546.64 | 6.82 | 553.45 | 556.59 | 3.43 | 560.02 | 480.723 | 3.684 | 484.407 | 551.904 | 4.141 | 556.044 | 533.68 | 3.21 | 536.89 | 612.745 | 0.00 | 612.745
October | 460.8165 | 6.2743 | 467.09 | 504.96 | 6.96 | 511.92 | 515.3 | 3.73 | 519.03 | 435.682 | 4.069 | 439.751 | 367.133 | 4.782 | 371.915 | 484.958 | 0.00 | 484.958 | 480.122 | 0.749 | 480.871
November | 248.2165 | 6.8886 | 255.11 | 261.07 | 8.06 | 269.13 | 261.79 | 3.99 | 265.78 | 231.978 | 4.719 | 236.697 | 152.01 | 5.273 | 157.283 | 241.967 | 23.208 | 265.175 | 229.075 | 22.17 | 251.245
December | 159.8865 | 7.1786 | 167.07 | 157.43 | 9.19 | 166.63 | 143.8 | 4.57 | 148.38 | 144.934 | 5.049 | 149.983 | 78.496 | 5.705 | 84.201 | 133.899 | 38.911 | 172.81 | 0.00 | 37.991 | 37.991
Total | 3724.4669 | 71.39 | 3795.86 | 3666.62 | 81.98 | 3748.6 | 3687.36 | 74.07 | 3761.42 | 3419.214 | 47.488 | 3466.704 | 3215.276 | 54.269 | 3269.545 | 3597.913 | 100.758 | 3698.671 | 3546.633 | 268.805 | 3815.438
Note: Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.
Table 9.5: Monthly Revenue From Sale of Energy From Tala Power Plant (2011-2014)
(Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 332.42 | 16.02 | 348.43 | 338.5 | 19.12 | 357.62 | 73.69 | 27.86 | 101.55 | 83.204 | 12.864 | 96.067 | 79.458 | 13.741 | 93.199 | 35.63 | 14.037 | 49.667 | 76.969 | 112.582 | 189.551
February | 197.46 | 16.92 | 214.38 | 340.69 | 38.86 | 379.54 | 22.07 | 26.89 | 48.96 | 44.573 | 11.874 | 56.447 | 41.133 | 12.931 | 54.064 | 22.063 | 12.81 | 34.873 | 26.266 | 107.63 | 133.896
March | 133.35 | 31.69 | 165.04 | 72.1 | 18.58 | 90.68 | 52.76 | 29.34 | 82.1 | 42.239 | 12.246 | 54.486 | 62.175 | 13.705 | 75.88 | 38.338 | 14.781 | 53.119 | 39.32 | 117.714 | 157.033
April | 226.77 | 14.69 | 241.45 | 67.16 | 23.93 | 91.1 | 146.28 | 27.5 | 173.79 | 89.291 | 11.164 | 100.455 | 236.855 | 11.867 | 248.722 | 209.439 | 13.45 | 222.889 | 42.43 | 126.991 | 169.422
May | 260.52 | 15.15 | 275.67 | 173.55 | 0.00 | 173.55 | 277.88 | 28.31 | 306.2 | 301.094 | 11.084 | 312.178 | 248.77 | 12.656 | 261.426 | 505.247 | 14.001 | 519.248 | 324.96 | 102.86 | 427.82
June | 0.00 | 16.44 | 16.44 | 0.00 | 24.39 | 24.39 | 672.27 | 27.57 | 699.83 | 720.647 | 10.717 | 731.364 | 603.942 | 11.82 | 615.762 | 1076.002 | 13.239 | 1089.241 | 771.776 | 52.97 | 824.746
July | 1236.35 | 15.25 | 1251.6 | 360.4 | 22.83 | 383.22 | 1292.99 | 28.03 | 1321.03 | 1297.117 | 11.061 | 1308.178 | 1368.527 | 12.077 | 1380.604 | 1420.894 | 13.593 | 1434.487 | 1401.885 | 0.00 | 1401.885
August | 0.00 | 16.87 | 16.87 | 1584.2 | 47.97 | 1632.17 | 1272.74 | 12.07 | 1284.81 | 1286.58 | 12.714 | 1299.294 | 1434.267 | 12.241 | 1446.508 | 1409.968 | 13.599 | 1423.567 | 1417.426 | 0.00 | 1417.426
September | 2598.84 | 18.58 | 2617.42 | 1282.61 | 49.7 | 1332.31 | 1238.96 | 11.81 | 1250.77 | 1140.231 | 12.363 | 1152.594 | 1241.372 | 12.825 | 1254.197 | 1015.066 | 13.38 | 1028.446 | 1373.629 | 0.00 | 1373.629
October | 1245.84 | 18.34 | 1264.18 | 1942.73 | 25.64 | 1968.37 | 820.22 | 11.18 | 831.39 | 687.037 | 12.666 | 699.703 | 590.782 | 14.219 | 605.001 | 879.146 | 22.109 | 901.255 | 710.272 | 55.937 | 766.209
November | 0.00 | 0.00 | 0.00 | 329.24 | 25.83 | 355.07 | 362.88 | 11.13 | 374.01 | 289.304 | 13.28 | 302.584 | 219.853 | 13.516 | 233.369 | 350.733 | 85.872 | 436.605 | 249.812 | 114.405 | 364.218
December | 707.44 | 21.31 | 728.75 | 156.77 | 28.22 | 184.99 | 163.97 | 12.99 | 176.96 | 154.604 | 13.158 | 167.763 | 97.814 | 14.27 | 112.084 | 149.583 | 116.471 | 266.054 | 102.212 | 142.095 | 244.307
Total | 6938.99 | 201.26 | 7140.23 | 6647.95 | 325.07 | 6973.01 | 6396.71 | 254.68 | 6651.4 | 6135.921 | 145.191 | 6281.113 | 6224.948 | 155.87 | 6380.817 | 7112.109 | 347.342 | 7459.451 | 6536.957 | 933.184 | 7470.142
Note: Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.6
Table 9.6: Monthly Revenue From Sale of Energy From Kurichu Power Plant (2011-2014)
(Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012 |  |  | 2013 |  |  | 2014
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 2.82 | 13.98 | 16.79 | 2.79 | 15.04 | 17.83 | 0.73 | 14.64 | 15.37 | -4.668 | 19.907 | 15.239 | 0.00 | 17.421 | 17.421 | 0.00 | 25.058 | 25.058 | 0.00 | 40.158 | 40.158
February | 2.97 | 11.18 | 14.15 | 4.92 | 10.37 | 15.29 | 4.18 | 8.95 | 13.13 | -2.636 | 15.108 | 12.472 | 0.00 | 15.436 | 15.436 | 0.00 | 17.987 | 17.987 | 0.00 | 38.481 | 38.481
March | 6.76 | 15.04 | 21.8 | 5.14 | 14.51 | 19.64 | 13.5 | 10.54 | 24.04 | -2.833 | 18.463 | 15.63 | 0.00 | 18.882 | 18.882 | 0.00 | 24.828 | 24.828 | 0.00 | 39.282 | 39.282
April | 24.13 | 12.61 | 36.73 | 23.63 | 14.53 | 38.16 | 14.14 | 15.64 | 29.78 | 8.349 | 15.747 | 24.096 | 15.462 | 16.714 | 32.175 | 3.885 | 20.113 | 23.998 | 0.00 | 31.342 | 31.342
May | 42.23 | 15.41 | 57.64 | 28.27 | 14.62 | 42.89 | 29.93 | 16.02 | 45.95 | 32.042 | 15.479 | 47.521 | 32.906 | 17.223 | 50.128 | 43.998 | 14.39 | 58.388 | 19.78 | 29.233 | 49.013
June | 46.02 | 14.67 | 60.69 | 41.68 | 14.22 | 55.89 | 41.86 | 16.89 | 58.75 | 47.511 | 14.124 | 61.634 | 49.823 | 16.068 | 65.89 | 51.207 | 15.16 | 66.367 | 33.545 | 26.528 | 60.073
July | 50.92 | 16.287 | 67.2 | 50.9 | 14.49 | 65.39 | 48.07 | 17.17 | 65.24 | 42.66 | 13.765 | 56.425 | 51.597 | 15.958 | 67.555 | 60.372 | 12.827 | 73.199 | 44.697 | 24.899 | 69.596
August | 51.51 | 15.9 | 67.41 | 52.61 | 14.65 | 67.26 | 51.15 | 13.86 | 65.02 | 47.03 | 15.327 | 62.358 | 51.557 | 16.8 | 68.357 | 56.485 | 15.455 | 71.94 | 41.859 | 27.398 | 69.257
September | 52.22 | 13.96 | 66.18 | 52.03 | 14.4 | 66.42 | 46.82 | 13.23 | 60.04 | 47.474 | 15.568 | 63.043 | 37.382 | 14.641 | 52.024 | 55.272 | 16.037 | 71.309 | 41.297 | 26.141 | 67.438
October | 43.22 | 14.58 | 57.8 | 41.19 | 15.04 | 56.23 | 49.32 | 14.4 | 63.73 | 37.435 | 15.79 | 53.225 | 39.891 | 16.344 | 56.235 | 44.964 | 19.491 | 64.455 | 20.372 | 30.934 | 51.306
November | 19.45 | 14.82 | 34.27 | 15.34 | 15.44 | 30.77 | 23.27 | 15.28 | 38.55 | 15.501 | 15.952 | 31.453 | 6.556 | 18.49 | 25.045 | 13.591 | 21.619 | 35.21 | 0.00 | 32.858 | 32.858
December | 6.74 | 16.05 | 22.79 | 7.72 | 14.55 | 22.27 | 4.44 | 17.29 | 21.73 | 0.109 | 19.412 | 19.522 | 0.00 | 22.871 | 22.871 | 0.00 | 27.939 | 27.939 | 0.00 | 43.595 | 43.595
Total | 348.99 | 174.487 | 523.45 | 326.22 | 171.86 | 498.04 | 327.41 | 173.91 | 501.33 | 267.974 | 194.642 | 462.618 | 285.173 | 206.847 | 492.021 | 329.774 | 230.904 | 560.678 | 201.55 | 390.849 | 592.399
Note: Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.7
Table 9.7: Details of Domestic Electrical Energy Consumption (2009/10-2014)
Details | 2007/08 | 2008/09 | 2009/10 | 2011 | 2012 | 2013 | 2014
Towns electrified (numbers) |  | 71 | 71 | 51 | 48 | 51 | 52
Villages electrified (numbers) |  | 1981 | 1998 | 3300 | 2601 | 3240 | 3675
Total Consumers (numbers) | 81200 | 89100 | 95500 | 116400 | 131700 | 146500 | 149.1
Sales of energy (Nu.in million) | 989.8 | 1202.7 | 1498 | 2830 | 3096.9 | 3346.6 | 3959.81
Per capita energy consumption (Units) | 1773 | 2038.8 | 2392.9 | 2419.9 | 2572.2 | 2625 | 2798.78
Per capita energy consumption for 2013 is based on population of
Source: BPC, Thimphu.