## 9.1
Table 9.1: Hydro Generating Stations and Their Capacities, Bhutan (2009/10-2012)
Generating Stations | 2005/06 |  |  |  | 2009/10 |  |  |  |  | 2011 |  |  |  |  | 2012
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Year of Commissi-oning
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh)
Large Hydroelectric plants
Chhukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.00 | 360 | 360 | 1839.909 | 1986-88 | 4 x 84.00 | 360 | 360 | 1774.125 | 1986-88 | 4 x 84.00 | 360 | 360 | 1742.101 | 1986-88
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.00 | 60 | 64 | 368.347 | 2001 | 4 x 15.00 | 60 | 64 | 361.804 | 2001 | 4 x 15.00 | 60 | 64 | 360.926 | 2001
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.00 | 24 | 24 | 114.388 | 2002 | 2 x 12.00 | 24 | 24 | 114.167 | 2002 | 2 x 12.00 | 24 | 24 | 105.819 | 2002
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.00 | 40 | 40 | 207.822 | 2004 | 2 x 20.00 | 40 | 40 | 208.122 | 2004 | 2 x 20.00 | 40 | 40 | 194.004 | 2004
Tala (Chukha) | - | - | - | - | 6 x 170.00 | 1020 | 1122 | 4441.244 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4587.992 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4405.479 | 2006-07
Total |  |  |  |  | 1480 | 1504 |  | 6971.71 |  | 1480 | 1504 |  | 7046.211 |  | 1480 | 1504 |  | 6808.329
Mini and Micro Hydels |  |  |  |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh)
Jushina (Thimphu) |  |  |  |  | 4 x 90 | 270 | 0.26 | 1.296 | 1967 | 4 x 90 | 270 | 0.255 | 1.468 | 1967 | 4 x 90 | 270 | 0.255 | 1.333 | 1967
Hesothangkha (Wangdue) |  |  |  |  | 3 x 100 | 200 | 0.082 | 0.334 | 1972 | 3 x 100 | 200 | 0.085 | 0.477 | 1972 | 3 x 100 | 200 | 0.085 | 0.381 | 1972
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 250 | 300 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972
Gidakom (Thimphu) |  |  |  |  | 5 x 250 | 816 | 0.995 | 6.318 | 1973 | 5 x 250 | 816 | 0.965 | 6.222 | 1973 | 5 x 250 | 816 | 0.965 | 5.335 | 1973
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 130 | 260 | 0.202 | 0.498 | 1976 | 3 x 130 | 260 | 0.17 | 0.037 | 1976 | 3 x 130 | 0 | 0 | 0 | 1976
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 500 | 750 | 1.09 | 4.098 | 1988 | 3 x 500 | 1000 | 0.89 | 2.677 | 1988 | 3 x 500 | 1000 | 0.89 | 3.141 | 1988
Gangzur (Lhuentse) |  |  |  |  | 2 x 60 | 120 | 0.066 | 0.119 | 2000 | 2 x 60 | 120 | 0.05 | 0.109 | 2000 | 2 x 60 | 120 | 0.05 | 0.054 | 2000
Rukubji (Wangdue) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 40 | 40 | 1 | 0.063 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.07301 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.076 | 1986-87
Tangsibji (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 30 | 30 | 0.02 | 0.047 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.046039 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.023 | 1986-87
Sherabling (Trongsa) |  |  |  |  | 1 x 50 | 50 | 0.035 | 0.044 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.050237 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.042 | 1986-87
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 30 | 30 | 0.026 | 0.143 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.058026 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.009 | 1986-87
Tamzhing (Bumthang) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 30 | 30 | 0 | 0.103 | 1986-87 | 1 x 30 | 30 | 0 | 0 | 1986-87 | 1 x 30 | 0 | 0 | 0 | 1986-87
Ura (Bumthang) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 50 | 50 | 0 | 0.153 | 1986-87 | 1 x 50 | 50 | 0 | 0 | 1986-87 | 1 x 50 | 50 | 0 | 0.045 | 1986-87
Kekhar (Zhemgang) | 1 x 0.020 | 0.02 | - |  | 1 x 20 | 20 | 0 | 0.026 | 1986-87 | 1 x 20 | 20 | 0 | 0 | 1986-87 | 1 x 20 | 20 | 0 | 0.035 | 1986-87
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | Discommissioned |  |  |  | 1986-87 | Dismantled | 0.000 | 0 | 0.000 | 1986-87 | Dismantled | 0.000 | 0 | 0.000 | 1986-87
Changchey (Tsirang) |  |  |  |  | 2 x 100 | 200 | 0.114 | 1.049 | 1991 | 2 x 100 | 200 | 0.036 | 0.27387 | 1991 | 2 x 100 | 200 | 0.036 | 0.11 | 1991
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 100 | 200 | 0.105 | 0.459 | 1992 | 2 x 100 | 200 | 0.019 | 0.26217 | 1992 | 2 x 100 | 200 | 0.019 | 0.033 | 1992
Darachhu ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 100 | 200 | 0.125 | 0.053 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999 | 1 x 8 | 8 | 0 | 0 | 1999
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1100 | 2200 | 2.278 | 9.756 | 1996 | 2 x 1100 | 2200 | 1.743 | 7.763 | 1996 | 2 x 1100 | 2200 | 1.743 | 3.849 | 1996
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 100 | 200 | 0.18 | 0.816 | 2001 | 2 x 100 | 200 | 0.15 | 0.42667 | 2001 | 2 x 100 | 200 | 0.15 | 0.531 | 2001
Chendebji (Trongsa) | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 70 | 70 | 0 | 0.089 | 2005 | 1 x 70 | 70 | 0 | 0.037581 | 2005 | 1 x 70 | 70 | 0 | 0.038 | 2005
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 100 | 100 | 0.000 | 0.119 | 2007 | 1 x 100 | 100 | 0.000 | 0.027889 | 2007 | 1 x 100 | 100 | 0.000 | 0.028 | 2007
Total |  |  |  |  | 8098 | 6144 |  | 25.582 |  | 8098 | 5894 |  | 20.007 |  | 8098 | 5604 |  | 15.063
Since the Bhutan Power Corporation(BPC) has started compiling the Power Data Book on Power Sector for every calender year from 2010 onwards, the Department of Hydropower & Power Systems has also stopped the compilation of the Power Databook for the fiscal years from 2010-11 onwards, therefore the power data here also reflects the calender year starting from the year 2011.The generating capacity of power plants and their peak generation are not available, so the generating capacity and peak generation from last year (2011) where applicable has been used.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.2
Table 9.2: Details of Diesel Generator Sets, Bhutan, 2012
Generating stations/ Locations | 2012
| No of Machines | No. & Capacity of Machines (No.X MW) | Total Capacity (MW) | Energy Generated (KWh) | Year of Commissioning
|  | (No.X MW) | ( MW ) | (MU)
Thimphu | 7 | 1X625 | 4204 | 0.0 | 1978
|  | 2X318 |  | 1844 | 1980
|  | 1X1188 |  | 2661 | 1982
|  | 1X1250 |  | 386 | 1984/85
|  | 1X380 |  | 0.0 | …
|  | 1X125 |  | 0.0 | 1999-00
Paro | 1 | 1X110 | 110 | 0.0 | 1977
Chhukha | 2 | 1X380 | 505 | 58863 | 1966
|  | 1X125 |  | 0.0 | 1979
Tsirang | 3 | 1X380 | 600 | 2144 | 1969
|  | 1X60 |  | 0.0 | 1991
|  | 1X160 |  | 0.0 | 1999-00
Trongsa | 1 | 1X380 | 380 | 0.0 | 1976
Sarpang | 4 | 1X350 | 1246 | 500 | 1991
|  | 1X318 |  | 0.0 | 1991
|  | 1X515 |  | 0.0 | 1991
|  | 1X63 |  | 0.0 | 1999-00
Zhemgang | 2 | 1X380 | 430 | 83389 | 1983
|  | 1X50 |  | 0.0 | 1999-00
Dagana | 1 | 1X380 | 380 | 0 | 1983
Trashigang | 2 | 1X100 | 127 | 0.0 | 1991
|  | 1X27 |  | 0.0 | 1998/99
Monggar | 1 | 1X380 | 380 | 4672 | 1999-00
Samdrup Jongkhar | 2 | 1X380 | 410 | 2533 | 1999-00
|  | 1X30 |  | 0.0 | 1991
Bumthang | 3 | 1X380 | 1140 | 0 | 1998
|  | 1X380 |  | 740 | 1999-00
|  | 1X380 |  | 10814 | 1999-00
Trashi Yangtse | 1 | 1X380 | 380 | 6977 | 1999-00
Pema Gatshel | 1 | 1X380 | 380 | 1488 | 1999-00
Samtse | 1 | 1X60 | 60 | 0.0 | 2000-01
Total |  |  | 10732 | 177011
Other Diesel sets
Penden Cement Authority Ltd. | 2 | 2X1000 | 2000 |  | 1981/84
Bhutan Board Products Ltd. | 2 | 1X160 | 160 |  | …
|  | 1X349 | 349
Chukha Hydro Power Plant | 4 | 2X450 | 900 |  | …
|  | 2X280 | 560
Bhutan Ferro Alloys Ltd. | 2 | 2X380 | 760 |  | 1995
Bhutan Carbide & Chemical Ltd. | 3 | 3X125 | 375 |  | 1987
Basochu Hydro Power Plant | 1 | 1X130 | 130 |  | 2000
Kurichu Hydro Power Plant | 3 | 2X320 | 640 |  | 1998/00
|  | 1X500 | 500 |  | 2007
Tala Hydro Power Plant | 1 | 1X2500 | 2500 |  | 2006/07
S.D.Eastern Bhutan Ferro Silicon Pvt.Ltd. | 2 | 2X125 | 250 |  | 2007/08
Total |  |  | 9124
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.3
Table 9.3: Major Transmission Lines, 2012
Stations | 220 KV | 132 KV | 400 KV | 220 KV | 220 KV | 132 KV | 66 KV | 66 KV | 66 KV | Remarks
| line(Km) | line(Km) | Line D/C | Line S/C | Line D/C | Line S/C | Line S/C | Line D/C | Line Q/C
Tala- Khogla | - | - | 24.615 | … | … | … | … | … | …
Tala- Malbasse - Pugli | - | - | 49.528 | … | … | ... | … | … | …
CHP- Gedu- Indian border | 71.28 | - | … | … | 35.78 | ... | … | … | …
CHP- Gedu- Malbasse | 33.32 | - | … | 29.841 | … | ... | … | … | …
Malbase- Indian border | 54.367 | - | … | 4.075 | … | ... | … | … | …
CHP- Semtokha (II) | 2.5 | - | … | 54.01 | … | ... | … | … | …
Simtokha- Rurichu | 36.43 | - | … | 44.9 | … | ... | … | … | … | Charged at 66 kV
Rurichu - Tsirang |  |  | … | 46.6 | … | ... | … | … | … | Charged at 66 kV
Malbase- Singhigaon Fdr-I | - | 0.3 | … | 1.706 | … | ... | … | … | …
Malbase- Singhigaon Fdr-II | - | 10.214 | … | 2.607 | … | ... | … | … | …
Gyelposhing - Kilikhar | - | 29.807 | … | … | … | 10.06 | … | … | …
Kilikhar - Kanglung | - | 43.1 | … | … | … | 29.705 | … | … | … | Realigned at Kilikhar
Kilikhar - Tangmachu | - | 23.668 | … | … | … | 42.8 | … | … | … | Charged at 33 kV
Gyleposhing - Nangkor | - | 33.7 | … | … | … | 31 | … | … | …
Nangkor - Deothang | - | 34.3 | … | … | … | 23.3 | … | … | …
Nangkhor - Nganglam | - | 83.2 | … | … | … | 33.793 | … | … | …
Nganglam - Tintibi | - | 46 | … | … | … | 83.33 | … | … | …
Tintibi - Gelephu |  |  | … | … | … | 45.74 | … | … | …
Gelephu - Indian border |  |  | … | … | … | 0.1 | … | … | …
Deothang - Motanga |  |  | … | … | … | 10.5 | … | … | …
Montanga - Indian border |  |  | … | … | … | 1.5 | … | … | …
Tintibi - Yurmoo | - | - | … | … | … | 32.628 | … | … | … | Charged at 33 kV
CHPC - Gedu | - | - | … | … | … | … | 20.4 | … | …
Gedu - Phuntsholing | - | - | … | … | … | … | 16.7 | … | …
Phuntsholing - Malbasse | - | - | … | … | … | … | 8.986 | … | …
Phuntsholing - Gomtu | - | - | … | … | … | … | 26.9 | … | …
CHPC - Chumdo |  |  | … | … | … | … | 36.98 | … | …
Chumdo - Olakha |  |  | … | … | … | … | 17.52 | … | …
Chumdo - Haa | - | - | … | … | … | … | 33.4 | … | …
Chumdo - Paro | - | - | … | … | … | … | 24.01 | … | …
Semtokha - Lobeysa | - | - | … | … | … | … | 24.33 | … | … | Realihned at Dochula
Semtokha - Olakha | - | - | … | … | … | … | 1.7 | … | …
Hebesa - Rurichu | - | - | … | … | … | … | 3.08 | … | …
Semtokha - Dechenchholing |  |  | … | … | … | … | 11.45 | … | …
Khasadrapchu - Jemina |  |  | … | … | … | … | … | 5.96 | …
Lobeysa - Rurichhu |  |  | … | … | … | … | 20.3 | … | …
Tie - Line - Watsa | - | - | … | … | … | … | 0.5 | … | …
Yurmoo - Trongsa |  |  | … | … | … | … | 20.94 | … | … | Charged at 33 kV
Yurmoo - Bumthang |  |  | … | … | … | … | 34.856 | … | … | Charged at 33 kV
Malbase Multi Circuit | - | - | … | … | … | … | … | … | 3.405
Tsirang - Jigmeling |  |  | … | … | 30.565
Tsirang - Dagachu Port head yard |  |  | … | … | 20.202
Jigmeling - Pelrithang (Lodrai) |  |  | … | … | 10.42 |  |  |  |  | Charged at 132 kV
Tshendengang - Dagapela (LILO) |  |  | … | … | 4.457
Total |  |  | 74.143 | 183.739 | 101.424 | 344.456 | 302.052 | 5.96 | 3.405 | 1015.28
D/C stands for double circuit and S/C for single circuit.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.4 & 9.5
Table 9.4: Monthly Revenue From Sale of Energy from Chhukha Hydropower (2008-2012) | [14 empty] | (Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 97.179 | 7.3794 | 104.56 | 112.47 | 7.17 | 119.64 | 103.53 | 9.34 | 112.87 | 90.692 | 4.662 | 95.354 | 91.951 | 5.293 | 97.244
February | 71.5042 | 6.7148 | 78.22 | 79.89 | 6.05 | 85.94 | 68 | 8.37 | 76.37 | 78.239 | 3.919 | 82.158 | 73.277 | 4.651 | 77.928
March | 87.5482 | 6.1383 | 93.69 | 83.01 | 7.02 | 90.04 | 94.87 | 8.4 | 103.27 | 76.896 | 4.094 | 80.991 | 89.823 | 4.795 | 94.618
April | 156.1002 | 5.0513 | 161.15 | 151.47 | 6.31 | 157.77 | 152.02 | 7.05 | 159.07 | 109.966 | 3.118 | 113.084 | 173.574 | 4.132 | 177.706
May | 201.7179 | 5.1983 | 206.92 | 224.78 | 5.8 | 230.58 | 227.78 | 7.07 | 234.85 | 223.818 | 3.411 | 227.229 | 188.643 | 3.611 | 192.255
June | 515.6795 | 5.2827 | 520.96 | 392.15 | 5.72 | 397.87 | 399.16 | 6.93 | 406.09 | 394.624 | 3.307 | 397.931 | 323.132 | 3.76 | 326.892
July | 580.6728 | 5.3201 | 585.99 | 575.94 | 6.31 | 582.25 | 584.95 | 7.74 | 592.7 | 585.171 | 3.664 | 588.835 | 553.328 | 4.037 | 557.365
August | 590.5711 | 4.3013 | 594.87 | 576.81 | 6.57 | 583.38 | 579.56 | 3.45 | 583.01 | 566.491 | 3.792 | 570.284 | 572.004 | 4.089 | 576.093
September | 554.5745 | 5.6607 | 560.24 | 546.64 | 6.82 | 553.45 | 556.59 | 3.43 | 560.02 | 480.723 | 3.684 | 484.407 | 551.904 | 4.141 | 556.044
October | 460.8165 | 6.2743 | 467.09 | 504.96 | 6.96 | 511.92 | 515.3 | 3.73 | 519.03 | 435.682 | 4.069 | 439.751 | 367.133 | 4.782 | 371.915
November | 248.2165 | 6.8886 | 255.11 | 261.07 | 8.06 | 269.13 | 261.79 | 3.99 | 265.78 | 231.978 | 4.719 | 236.697 | 152.01 | 5.273 | 157.283
December | 159.8865 | 7.1786 | 167.07 | 157.43 | 9.19 | 166.63 | 143.8 | 4.57 | 148.38 | 144.934 | 5.049 | 149.983 | 78.496 | 5.705 | 84.201
Total | 3724.4669 | 71.39 | 3795.86 | 3666.62 | 81.98 | 3748.6 | 3687.36 | 74.07 | 3761.42 | 3419.214 | 47.488 | 3466.704 | 3215.276 | 54.269 | 3269.545
Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.
Table 9.5: Monthly Revenue From Sale of Energy From Tala Hydropower (2008-2012)
(Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2011
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 332.42 | 16.02 | 348.43 | 338.5 | 19.12 | 357.62 | 73.69 | 27.86 | 101.55 | 83.204 | 12.864 | 96.067 | 79.458 | 13.741 | 93.199
February | 197.46 | 16.92 | 214.38 | 340.69 | 38.86 | 379.54 | 22.07 | 26.89 | 48.96 | 44.573 | 11.874 | 56.447 | 41.133 | 12.931 | 54.064
March | 133.35 | 31.69 | 165.04 | 72.1 | 18.58 | 90.68 | 52.76 | 29.34 | 82.1 | 42.239 | 12.246 | 54.486 | 62.175 | 13.705 | 75.88
April | 226.77 | 14.69 | 241.45 | 67.16 | 23.93 | 91.1 | 146.28 | 27.5 | 173.79 | 89.291 | 11.164 | 100.455 | 236.855 | 11.867 | 248.722
May | 260.52 | 15.15 | 275.67 | 173.55 | 0.00 | 173.55 | 277.88 | 28.31 | 306.2 | 301.094 | 11.084 | 312.178 | 248.77 | 12.656 | 261.426
June | 0.00 | 16.44 | 16.44 | 0.00 | 24.39 | 24.39 | 672.27 | 27.57 | 699.83 | 720.647 | 10.717 | 731.364 | 603.942 | 11.82 | 615.762
July | 1236.35 | 15.25 | 1251.6 | 360.4 | 22.83 | 383.22 | 1292.99 | 28.03 | 1321.03 | 1297.117 | 11.061 | 1308.178 | 1368.527 | 12.077 | 1380.604
August | 0.00 | 16.87 | 16.87 | 1584.2 | 47.97 | 1632.17 | 1272.74 | 12.07 | 1284.81 | 1286.58 | 12.714 | 1299.294 | 1434.267 | 12.241 | 1446.508
September | 2598.84 | 18.58 | 2617.42 | 1282.61 | 49.7 | 1332.31 | 1238.96 | 11.81 | 1250.77 | 1140.231 | 12.363 | 1152.594 | 1241.372 | 12.825 | 1254.197
October | 1245.84 | 18.34 | 1264.18 | 1942.73 | 25.64 | 1968.37 | 820.22 | 11.18 | 831.39 | 687.037 | 12.666 | 699.703 | 590.782 | 14.219 | 605.001
November | 0.00 | 0.00 | 0.00 | 329.24 | 25.83 | 355.07 | 362.88 | 11.13 | 374.01 | 289.304 | 13.28 | 302.584 | 219.853 | 13.516 | 233.369
December | 707.44 | 21.31 | 728.75 | 156.77 | 28.22 | 184.99 | 163.97 | 12.99 | 176.96 | 154.604 | 13.158 | 167.763 | 97.814 | 14.27 | 112.084
Total | 6938.99 | 201.26 | 7140.23 | 6647.95 | 325.07 | 6973.01 | 6396.71 | 254.68 | 6651.4 | 6135.921 | 145.191 | 6281.113 | 6224.948 | 155.87 | 6380.817
Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.6
Table 9.6: Monthly Revenue From Sale of Energy From Kurichu Hydropower (2008-2012)
(Nu. in Million)
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011 |  |  | 2012
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 2.82 | 13.98 | 16.79 | 2.79 | 15.04 | 17.83 | 0.73 | 14.64 | 15.37 | -4.668 | 19.907 | 15.239 | 0.00 | 17.421 | 17.421
February | 2.97 | 11.18 | 14.15 | 4.92 | 10.37 | 15.29 | 4.18 | 8.95 | 13.13 | -2.636 | 15.108 | 12.472 | 0.00 | 15.436 | 15.436
March | 6.76 | 15.04 | 21.8 | 5.14 | 14.51 | 19.64 | 13.5 | 10.54 | 24.04 | -2.833 | 18.463 | 15.63 | 0.00 | 18.882 | 18.882
April | 24.13 | 12.61 | 36.73 | 23.63 | 14.53 | 38.16 | 14.14 | 15.64 | 29.78 | 8.349 | 15.747 | 24.096 | 15.462 | 16.714 | 32.175
May | 42.23 | 15.41 | 57.64 | 28.27 | 14.62 | 42.89 | 29.93 | 16.02 | 45.95 | 32.042 | 15.479 | 47.521 | 32.906 | 17.223 | 50.128
June | 46.02 | 14.67 | 60.69 | 41.68 | 14.22 | 55.89 | 41.86 | 16.89 | 58.75 | 47.511 | 14.124 | 61.634 | 49.823 | 16.068 | 65.89
July | 50.92 | 16.287 | 67.2 | 50.9 | 14.49 | 65.39 | 48.07 | 17.17 | 65.24 | 42.66 | 13.765 | 56.425 | 51.597 | 15.958 | 67.555
August | 51.51 | 15.9 | 67.41 | 52.61 | 14.65 | 67.26 | 51.15 | 13.86 | 65.02 | 47.03 | 15.327 | 62.358 | 51.557 | 16.8 | 68.357
September | 52.22 | 13.96 | 66.18 | 52.03 | 14.4 | 66.42 | 46.82 | 13.23 | 60.04 | 47.474 | 15.568 | 63.043 | 37.382 | 14.641 | 52.024
October | 43.22 | 14.58 | 57.8 | 41.19 | 15.04 | 56.23 | 49.32 | 14.4 | 63.73 | 37.435 | 15.79 | 53.225 | 39.891 | 16.344 | 56.235
November | 19.45 | 14.82 | 34.27 | 15.34 | 15.44 | 30.77 | 23.27 | 15.28 | 38.55 | 15.501 | 15.952 | 31.453 | 6.556 | 18.49 | 25.045
December | 6.74 | 16.05 | 22.79 | 7.72 | 14.55 | 22.27 | 4.44 | 17.29 | 21.73 | 0.109 | 19.412 | 19.522 | 0.00 | 22.871 | 22.871
Total | 348.99 | 174.487 | 523.45 | 326.22 | 171.86 | 498.04 | 327.41 | 173.91 | 501.33 | 267.974 | 194.642 | 462.618 | 285.173 | 206.847 | 492.021
Interal refers to the sale of energy by BPC only.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 9.7
Table 9.7: Details of Domestic Electrical Energy Consumption (2007/08-2012)
Details | 2007/08 | 2008/09 | 2009/10 | 2011 | 2012
Total Consumers | 81200 | 89100 | 95500 | 116400 | 131700
Sales of energy (Nu.in million) | 989.8 | 1202.7 | 1498 | 2830 | 3096.9
Per capita energy consumption (Units) | 1773 | 2038.8 | 2392.9 | 2419.9 | 2572.2
Per capita energy consumption for 2012 is based on population of 7,20,679.
No. of towns have been modified by Bhutan Power Corporation.
Source: BPC, Thimphu.