## Tab8.1
TABLE 8.1
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2005/06 & 2006/07
Generating stations (Dzongkhag) | 2005/06 |  |  |  | 2006/07
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed capacity | Generating capacity | Peak generation | Energy generation
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (MU)
Hydro stations (a)
Chhukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.000 | 336 | 360 | 1830.419
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 0.500 | 1.08 | 1.35 | 3.723
Gidakom (Thimphu) | 5 x 0.250 | 0.816 | 0.85 | 5.521 | 5 x 0.250 | 0.816 | 1.225 | 5.862
Jushina (Thimphu) | 4 x 0.090 | 0.36 | 0.26 | 1.102 | 4 x 0.090 | 0.27 | 0.27 | 1.336
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.000 | 60 | 60 | 374.449
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.000 | 24 | 24 | 110.733
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.000 | 40 | 40 | 203.524
THPA (Chhukha) | - | - | - | - | 6 x 170.000 | 1122 | 1020 | 1979.617
Rangjung (Trashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1.100 | 2.2 | 1.11 | 2.709
Chenari (Trashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 0.250 | 0.5 | 0.22 | 0.644
Khaling (Trashigang) | 3 x 0.000 | 0 | 0 | 0 | 3 x 0.000 | Decommissioned due to flood
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 0.130 | 0.26 | 0.24 | 0.515
Wangduephodrang | 3 x 0.100 | 0.34 | 0.118 | 0.542 | 3 x 0.100 | 0.2 | - | 0.523
Micro hydels
Lhuntse (Lhuntse) | 2 x 0.060 | 0.12 | - | 0.14875 | 2 x 0.060 | 0.08 | - | 0.16
Rukubji (W/phodrang) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 0.040 | 0.04 | - | 0.068
Tangsibi (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 0.030 | 0.03 | - | 0.039
Trongsa (Trongsa) | 1 x 0.050 | 0.05 | - | 0.10754 | 1 x 0.050 | 0.05 | - | 0.281
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 0.030 | 0.03 | - | 0.112
Tamshing (Bjakar) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 0.030 | 0.03 | - | 0.067
Ura (Bjakar) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 0.050 | 0.05 | - | 0.168
Yadi (Mongar) | 1 x 0.030 | 0.03 | - | 0 | 1 x 0.000 | Decommissioned due to grid supply
Kekhar (Zhemgang) | 1 x 0.020 | 0.02 | - |  | 1 x 0.020 | 0.02 | - | 0.025
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | 1 x 0.070 | 0.07 | - | 0.01
Damphu (Tsirang) | 2 x 0.100 | 0.2 | 0.14 | 0.88869 | 2 x 0.100 | 0.2 | 0.15 | 0.918
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 0.100 | 0.2 |  | 0.1
Dagana ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 0.100 | 0.2 | 0.16 | 0.846
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 0.008 | 0.008 | - | -
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 0.100 | 0.2 | 0.21 | 1.031
Chendebji | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 0.070 | 0.07 | - | 0.583
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 0.100 | 0.1 | - | 0.11
contd...

## tab. 8.1 contd
TABLE 8.1(contd.)
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2005/06 & 2006/07
Generating stations (Dzongkhag) | 2005/06 |  |  |  | 2006/07
| No of Machines | Generating capacity | Peak generation | Energy generation | No of Machines | Generating capacity | Peak generation | Energy generation
|  | ( MW ) | (MW) | (MU) |  | ( MW ) | (MW) | (MU)
Diesel generation stations
Thimphu | 7 | - | - | 0.005 | 7 | - | - | 0.004
Paro | 1 | - | - | 0 | 1 | - | - | -
Phuentsholing | 3 | 0 | - | 0.346 | 3 | 0 | - | 0.371
Damphu | 3 | - | - | 0.075 | 3 | - | - | 0.082
Trongsa | 2 | - | - | 0.189 | 2 | - | - | 0.193
Gelephu | 2 | 0.692 | - | 0.003 | 2 | 0.692 | - | -
Sarpang | 2 | 0.505 | - | 0.003 | 2 | 0.505 | - | 0.002
Kalikhola | 2 | 0 | - | 0.346 | 2 | 0 | - | -
Zhemgang | 3 | - | - | 0.003 | 3 | - | - | 0.001
Dagana | 2 | - | - | 0.004 | 2 | - | - | 0.004
Trashigang | 4 | - | - | 0 | 4 | - | - | 0
Bjakar | 4 | 0.806 | - | 0.854 | 4 | 0.806 | - | 1.005
Mongar | 1 | - | - | 0.007 | 1 | - | - | 0.001
Samdrupjongkhar | 2 | - | - | 0.01 | 2 | - | - | 0.005
Trashiyangtse | 1 | - | - | 0.025 | 1 | - | - | 0.007
Pemagatshel | 1 | - | - | 0.003 | 1 | - | - | 0.001
Samtse | 1 | - | - | 0 | 1 | - | - | 0
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | - | 0 | 2 | 1.8 | - | 0.006
Bhutan Board Products Ltd. | 2 | 0.458 | - |  | 2 | 0.458 | - | -
Chhukha Hydro Power Corp. | 5 | 1.949 | - |  | 4 | 1.25 | - | -
Bhutan Carbide & Chemical Ltd. | 2 | 0.225 | - | 0.003 | 3 | 0.338 | - | 0.005
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | - | 0.146 | 2 | 0.684 | - | 0.141
Kurichu Project Authority | 2 | 0.563 | - | 0.028 | 3 | 1.276 | - | 0.014
Basochu Project Authority | 1 | 0.09 | - | 0 | 1 | 0.117 | - | 0
Tala Hydroelectric Project Authority |  | - | - | - | 1 | 2.25 | - | -
Note:
The given energy generation are annual energy generation during 2005/06 & 2006/07
Source:Department of Energy, MoEA, Thimphu

## Tab8.2
TABLE 8.2
TOTAL ELECTRICITY GENERATION AND SUPPLY, BHUTAN, 2002/03 TO 2006/07
Details | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07
Installed capacity (MW) | 437.82 | 437.82 | 477.82 | 477.26 | 1497.36
Chhukha hydro power | 336 | 336 | 336 | 336 | 336
Kurichu hydro power | 60 | 60 | 60 | 60 | 60
Basochu - I hydro power | 24 | 24 | 24 | 24 | 24
Basochu - II hydro power | - | - | 40 | 40 | 40
THPA | - | - | - | - | 1020
Other hydro power | 8.63 | 8.63 | 8.63 | 8.07 | 8.17
All diesel generators | 9.19 | 9.19 | 9.19 | 9.19 | 9.19
Electricity generation (MU) | 2200.16 | 2528.45 | 2354.7 | 2647.72 | 4520.25
Chhukha hydro power | 1815.36 | 2038.39 | 1764.34 | 1931.91 | 1830.42
Kurichu hydro power | 255.77 | 332.89 | 340.43 | 365.62 | 374.45
Basochu - I hydro power | 109.28 | 131.84 | 116.31 | 117.83 | 110.73
Basochu - II hydro power | - | - | 114.68 | 213.84 | 203.52
THPA |  |  |  |  | 1979.62
Other hydro power | 19.14 | 23.46 | 17.39 | 16.65 | 19.83
All diesel generators | 0.61 | 1.87 | 1.55 | 1.87 | 1.68
Exports (MU) | 1560.44 | 1844.5 | 1623.66 | 1943.43 | 3643.71
Imports (MU) | 24.3 | 18.72 | 21.04 | 34.35 | 11.06
Total energy requirement (MU) | 664.33 | 702.9 | 752.34 | 738.3 | 887.76
Total energy sales (MU) | 571.27 | 580.19 | 622.16 | 620.89 | 766.72
Energy losses (MU) | 93.05 | 122.72 | 130.18 | 117.41 | 121.05
Percentage losses (%) | 14 | 17 | 17 | 16 | 14
Peak system demand (MW) | 105.33 | 112 | 120 | 128 | 157
Length of HT lines (33/11 KV)
Overhead lines (km) | 1712.53 | 1995.57 | 1895.54 | 2084.34 | 2404.32
Underground lines (km) | 27.23 | 28.11 | 40.4 | 43.03 | 49.76
Length of LT lines
Overhead lines (km) | 1802.39 | 1918.57 | 2134.24 | 2272.49 | 3080.5
Underground lines (km) | 63.06 | 65.79 | 70.37 | 229.44 | 194.62
Source:Department of Energy, MoEA, Thimphu

## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER FROM CHHUKHA POWER PLANT, 2007
| 2006 |  |  | 2007
Stations | 220 KV | 132 KV | 66 KV | 400kv | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km) | Line (Km) | line(Km) | line(Km) | line (Km)
Tala- Khogla | - | - | - | 24.615 (D/C) |  | - | -
Tala- Malbasse - Pugli | - | - | - | 49.528 (D/C) |  | - | -
-
Chhukha - Birpara | 71.28 | - | - | - | 71.28 | - | -
Chhukha - Singhigoan | 33.32 | - | - | - | 33.32 | - | -
Chhukha - Simtokha | 54.367 | - | - | - | 54.367 | - | -
Indian Border - Singhigaon | 2.5 | - | - | - | 2.5 | - | -
Rurichu - Simtokha | 36.43 | - | - | - | 36.43 | - | -
Gelephug - Indian border | - | 0.3 | - | - | - | 0.3 | -
Gyleposhing - kilikhar | - | 10.214 | - | - | - | 10.214 | -
Kilikhar - Kanglung | - | 29.807 | - | - |  | 29.807
Kilikhar - Lhuentse | - | 43.1 | - | - | - | 43.1 | -
Nangkor - Deothang | - | 23.668 | - | - | - | 23.668 | -
Gyleposhing - Nangkor | - | 33.7 | - | - | - | 33.7 | -
Nangkor - Nganglam | - | 34.3 | - | - | - | 34.3 | -
Nganglam - Tingtibi | - | 83.2 | - | - | - | 83.2 | -
Tingtibi - Gelephug | - | 46 | - | - | - | 46 | -
Chhukha - Gedu | - | - | 20.1 | - | - | - | 20.1
Gedu - Phuntsholing | - | - | 17.7 | - | - | - | 17.7
Chhukha - Confluence | - | - | 36.7 | - |  |  | 36.7
Confluence - Simtokha | - | - | 18.3 | - | - | - | 18.3
Confluence - Haa | - | - | 33.522 | - | - | - | 33.522
Simtokha - Dechenchholing | - | - | 11.9 | - | - | - | 11.9
[5 empty] | - | -
Confluence - Paro | - | - | 24.022 | - | - | - | 24.022
Simtokha - W/phodrang | - | - | 26.023 | - | - | - | 26.023
Lobeysa - Basochhu | - | - | 23.023 | - | - | - | 23.023
Phuntsholing - Gomtu | - | - | 27.002 | - | - | - | 27.002
Phuntsholing - Singhigoan | - | - | 8.38 | - |  |  | 8.38
Phuntsholing - Birpara | - | - | Redundant | - | - | - | Redundant
Khasadrapchu - Jemina | - | - | 5.96 | - | - | - | 5.96
Hebisa - Rurichu | - | - | 3.08 | - | - | - | 3.08
Tie- Line-Watsa | - | - | 0.5 | - | - | - | 0.5
Total | 71.28 (D/C) : :126.617 (S/C) | 304.289 | 256.212 | 74.143 (D/C) | 71.28 (D/C) : :126.617 (S/C) | 304.289 | 256.212
Note:
D/C stands for double circuit and S/C for single circuit
Source:Department of Energy, MoEA, Thimphu

## 8.4&8.5
TABLE 8.4
DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 2002/03 TO 2006/07
Details | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07
Towns electrified (numbers) | 40 | 40 | 46 | 68 | 71
Villages electrified (numbers) | 819 | 1064 | 1210 | 1318 | 1761
Consumers ('000) | 44.7 | 52.9 | 57.5 | 64.3 | 71.1
Sales of energy (million Nu.) | 468.2 | 539 | 647.7 | 620.9 | 766.7
Per capita energy consumption (Units) | 927.3 | 957.2 | 1184.8 | 1141.4 | 1362.4
Note:
The per capita Energy consumption has increased from 2002/03 partly because of change in format which started including generation of CHPC, BHPC and KHPC. Per capita energy consumption for 2006/07 is based on population of 651598
Source:Department of Energy, MoEA, Thimphu
TABLE 8.5
MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,
2005 TO 2007
Month | 2005 |  |  | 2006 |  |  | 2007
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 43.58 | 14.65 | 58.23 | 53.82 | 17.33 | 71.15 | 113.29 | 6.49 | 119.78
February | 29.8 | 13.73 | 43.52 | 31.87 | 15.17 | 47.03 | 99.15 | 5.74 | 104.89
March | 55.36 | 14.03 | 69.39 | 26.09 | 16.57 | 42.66 | 142.07 | 6.29 | 148.36
April | 93.35 | 12.76 | 106.12 | 97.63 | 14.56 | 112.19 | 206.94 | 4.31 | 211.25
May | 196.25 | 13.18 | 209.43 | 249.11 | 15.16 | 264.27 | 257.95 | 3.82 | 261.77
June | 195.95 | 12.99 | 208.93 | 430.02 | 14.63 | 444.65 | 368.99 | 3.74 | 372.73
July | 502.78 | 16.31 | 519.09 | 513.48 | 15.99 | 529.47 | 542.25 | 3.99 | 546.24
August | 519.91 | 14.24 | 534.15 | 585.61 | 3.29 | 588.9 | 590.46 | 3.89 | 594.35
September | 486.68 | 14.76 | 501.44 | 578.57 | 3.75 | 582.33 | 576.65 | 3.85 | 580.5
October | 480.43 | 15.8 | 496.23 | 479.56 | 4.65 | 484.2 | 469.03 | 4.4 | 473.43
November | 235.63 | 16.4 | 252.03 | 250.94 | 6.11 | 257.05 | 234.06 | 5.55 | 239.61
December | 110.5 | 17.42 | 127.92 | 165.99 | 6.22 | 172.2 | 148.3 | 6.65 | 154.95
Total | 2950.22 | 176.26 | 3126.48 | 3462.67 | 133.42 | 3596.09 | 3749.14 | 58.72 | 3807.86
Source:Department of Energy, MoEA, Thimphu

## Tab8.6
TABLE 8.6
CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 2002/03 TO 2006/07
Type of consumer | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07
Total consumption (MU) | 550.644 | 560.782 | 618.545 | 612.591 | 764.074
Domestic | 72.119 | 76.717 | 90.584 | 97.511 | 114.082
Commercial & Government Offices | 44.965 | 48.568 | 52.51 | 52.889 | 65.952
Industries | 365.761 | 372.557 | 415.078 | 404.151 | 497.073
Bulk supply | 66.848 | 62.112 | 59.319 | 56.795 | 84.709
Public lighting | 0.95 | 0.828 | 1.054 | 1.245 | 2.258
Consumption in percentage | 99.9998 | 100 | 100 | 100 | 100.001
Domestic | 13.0972 | 13.68 | 14.645 | 15.918 | 14.931
Commercial & Government Offices | 8.1659 | 8.661 | 8.489 | 8.634 | 8.632
Industries | 66.4242 | 66.435 | 67.106 | 65.974 | 65.056
Bulk supply | 12.14 | 11.076 | 9.59 | 9.271 | 11.086
Public lighting | 0.17253 | 0.148 | 0.17 | 0.203 | 0.296
Source:Department of Energy, MoEA, Thimphu