## 9.4
Table 9.4: Annual Energy Generation and Installed Capacities by Hydro Power Plant, 2021
Generating Stations | Year of Commissi-oning | Installed Capacity & Unit | Installed Capacity | Peak Generation | Energy Generation | Plant Capacity Factor
|  | (No. x MW) | (MW) | (MW) | (MU) | (Percent)
Large Hydroelectric plants
Chhukha Hydro power Plant | 1986-88 | 4X84.0 | 336 | 368.5 | 1966.31 | 66.8
Kurichhu Hydro power Plant | 2001 | 4X15.0 | 60 | 66 | 386.29 | 73.49
Basochhu Hydro power Plant | 2002 - 04 | 2X12.0+2X20 | 64 | 67.16 | 339.17 | 60.5
Tala Hydro power Plant | 2006-07 | 6X170.0 | 1020 | 1122 | 4619.77 | 51.7
Dagachhu Hydro power Plant | 2015 | 2X63.0 | 126 | 126 | 501.85 | 45.47
Mangdechhu Hydro power Plant | 2019 | 4X180 | 720 | 792 | 2987.89 | 47.37
Total |  |  | 2326 |  | 10801.28
Mini and Micro Hydels |  | (No. x kW) | (KW) | (MW) | (MU)
Chumey, Bumthang | 1988 | 3x500 | 1500 | 651.6 | 5.048 | 38.42
Ura, Bumthang | 1986-87 | 1x50 | 50 | 20.13 | 0.132 | 30.07
Tamzhing, Bumthang | 1986-87 | 1x30 | 30 | 0 | 0 | 0
Darachhu, Dagana | 1992 | 2x100 | 200 | 33.15 | 0.298 | 16.99
Rongchu, Lhuentse | 2001 | 2x100 | 200 | 58.08 | 0.508 | 28.98
Gangzur, Lhuentse | 2000 | 2x60 | 120 | 45.68 | 0.308 | 29.3
Khalanzi, Mongar | 1976 | 3x130 | 390 | 213.71 | 1.561 | 45.7
Sengor, Monggar | 2007 | 1x100 | 100 | 0 | 0 | 0
Jushina, Thimphu | 1967 | 4x90 | 360 | 189.41 | 1.275 | 40.42
Gidakom, Thimphu | 1973 | 5x250 | 1250 | 302.88 | 2.35 | 21.46
Lingzhi, Thimphu | 1999 | 1x8 | 8 | … | … | 0
Sherabling,Trongsa | 1986-87 | 1x50 | 50 | 2.49 | 0.002 | 0.57
Tangsibji, Trongsa | 1986-87 | 1x30 | 30 | 0 | 0 | 0
Kuengarabten, Trongsa | 1986-87 | 1x30 | 30 | 0 | 0 | 0
Chendebji, Trongsa | 2005 | 1x70 | 70 | 6.56 | 0.019 | 3.1
Rangjung, Tashigang | 1996 | 2x1100 | 2200 | 887.17 | 7.862 | 40.79
Chenari, Tashigang | 1972 | 3x250 | 750 | 0 | 0 | 0
Changchey,Tsirang | 1991 | 2x100 | 200 | 46.55 | 0.524 | 29.89
Hesothangkha,Wangdue | 1972 | 3x100 | 300 | 50.7 | 0.428 | 16.3
Rukubji, Wangdue | 1986-87 | 1x40 | 40 | 0 | 0 | 0
Tingtibi, Zhemgang | 1992 | 2x100 | 200 | 95.37 | 0.708 | 40.4
Kekhar, Zhemgang |  | 1x20 | 20 | 0 | 0 | 0
Total |  |  | 8098 |  | 21.023
Source: Annual Power System Information Report 2021, DHPS, MoEA.
Note: The total generation from mini & micro hydels is exclusive of generation from Sengor hydel.