## Tab 7.2
Table 7.2: Details of Drinking Water Supply, (2021)
Name of Urban Town/Year | Name of Water Source | Capacity (million litres per day) | Hours of water supply per day | Water treatment facility | Expenditure incurred for the services annually (million Nu.) | Year of Const-ruction | Coverage (Area/places) | Remarks
Zhemgang | Dechengang | 116 litres/capital/per day | 9 hours in summer and 6 hours in lean season | Slow sand filteration with clorination faccility | 0.5 million | 2003 | 1.1 sqkm | construction of new water source is going on
Tingtibi | Takarbe | 195 litres/capital/perday | 24 hours | Slow sand filteration with clorination facility |  |  | 0.5 sqkm | Using old source
Year 2022
Zhemgang town | Dechengang | 116 litres/capital/per day | 9 hrs in summer and 6 hrs in winter | Slow sand Filtration with clorination facility | 0.5 | 2003 | 1.1 Sqkm | Additional temporary line is connected in the treatment plant from sershong source
Source: Dzongkhag Municipal/Thromde