## Section 14.1
Table 14.1: Electricity Generating Stations and Capacities, Chhukha (2009-2012)
Details | Stations |  | Diesel generation stations
| Chhukha Hydro Power Project | Thala Hydro Power Project Authority | 1 | 2
2009
Installed capacity (no.x MW) | 4X84 | 6X170 | … | …
Generating capacity (MW) | 336 | 1020 | … | …
Peak generation (MU) | 1808.3304 | 4396.22 | … | …
2010
Installed capacity (no.x MW) | 4X84 | 6X170 | 1 X 0.248 | 1 X 0.128
Generating capacity (MW) | 336 | 1020 | 0.624
Peak generation (MU) | 1869.73 | 4726.76 | 0.022
2011
Installed capacity (no.x MW) | 4X84 | 6X170 | 1 X 0.248 | 1 X 0.128
Generating capacity (MW) | 336 | 1020 | 0.376
Peak generation (MU) | 1774.43 | 4588.07 | 0.029
2012
Installed capacity (no.x MW) | 4X84 | 6X170 | 1X380 | 1X125
Generating capacity (MW) | 336 | 1020 | 505
Peak generation (MU) | 1745.33 | 4405.22 | 58863 | 0
2013
Installed capacity (no.x MW) | 4X84 | 6X170 | 1X380 | 1X125
Generating capacity (MW) | 336 | 1020 | 505 | …
Peak generation (MU) | 1907.44 | 4913.63 | 33420 | …
Source: Department of Energy, MoEA, Chhukha and SYB, NSB
Note: figure for the peak generation for diseal generator 1, 2012 is in Kwh
Note on A1: Workbooks: Section 14 Energy & Utilities.xls Worksheets: Section 14.1