## Tab8.1
TABLE 8.1 HYDRO GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, 2009/10 & 2011
Generating stations | 2005/06 |  |  |  | 2009/10 |  |  |  |  | 2011
| Installed capacity | Generating capacity | Peak generation | Energy generation | Installed capacity | Generating capacity | Peak generation | Energy generation | Year of Commissi-oning | Installed capacity | Generating capacity | Peak generation | Energy generation | Year of Commissi-oning
| (No. x MW) | ( MW ) | (MW) | (MU) | (No. x MW) | ( MW ) | (MW) | (GWh) |  | (No. x MW) | ( MW ) | (MW) | (GWh)
Large Hydroelectric plants
Chukha | 4 x 84.000 | 336 | 360 | 1931.907 | 4 x 84.00 | 360 | 360 | 1839.909 | 1986-88 | 4 x 84.00 | 360 | 360 | 1774.125 | 1986-88
Kurichu (Mongar) | 4 x 15.000 | 60 | 60 | 365.623 | 4 x 15.00 | 60 | 64 | 368.347 | 2001 | 4 x 15.00 | 60 | 64 | 361.804 | 2001
Basochu..I (W/phodrang) | 2 x 12.000 | 24 | 24 | 117.826 | 2 x 12.00 | 24 | 24 | 114.388 | 2002 | 2 x 12.00 | 24 | 24 | 114.167 | 2002
Basochu..II (W/phodrang) | 2 x 20.000 | 40 | 41.4 | 213.838 | 2 x 20.00 | 40 | 40 | 207.822 | 2004 | 2 x 20.00 | 40 | 40 | 208.122 | 2004
Tala (Chukha) | - | - | - | - | 6 x 170.00 | 1020 | 1122 | 4441.244 | 2006-07 | 6 x 170.00 | 1020 | 1122 | 4587.992 | 2006-07
Total |  |  |  |  | 1480 | 1504 |  | 6971.71 |  | 1480 | 1504 |  | 7046.211
Mini and Micro Hydels |  |  |  |  | (No. x KW) | (KW) | (MW) | (GWh) |  | (No. x KW) | (KW) | (MW) | (GWh)
Jushina (Thimphu) |  |  |  |  | 4 x 90 | 270 | 0.26 | 1.296 | 1967 | 4 x 90 | 270 | 0.255 | 1 | 1967
Hesothangkha (Wangdue) |  |  |  |  | 3 x 100 | 200 | 0.082 | 0.334 | 1972 | 3 x 100 | 200 | 0.085 | 0 | 1972
Chenari (Tashigang) | 3 x 0.250 | 0 | 0 | 0 | 3 x 250 | 300 | 0 | 0 | 1972 | 3 x 250 | 0 | 0 | 0 | 1972
Gidakom (Thimphu) |  |  |  |  | 5 x 250 | 816 | 0.995 | 6.318 | 1973 | 5 x 250 | 816 | 0.965 | 6 | 1973
Khalanzi (Mongar) | 3 x 0.130 | 0.26 | 0.228 | 0.483 | 3 x 130 | 260 | 0.202 | 0.498 | 1976 | 3 x 130 | 260 | 0.17 | 0 | 1976
Chumey (Bumthang) | 3 x 0.500 | 1.08 | 1.3 | 3.678 | 3 x 500 | 750 | 1.09 | 4.098 | 1988 | 3 x 500 | 1000 | 0.89 | 3 | 1988
Gangzur (Lhuentse) |  |  |  |  | 2 x 60 | 120 | 0.066 | 0.119 | 2000 | 2 x 60 | 120 | 0.05 | 0.10852 | 2000
Rukubji (Wangdue) | 1 x 0.040 | 0.04 | - | 0.05883 | 1 x 40 | 40 | 1 | 0.063 | 1986-87 | 1 x 40 | 40 | 0.013 | 0.07301 | 1986-87
Tangsibji (Trongsa) | 1 x 0.030 | 0.03 | - | 0.033859 | 1 x 30 | 30 | 0.02 | 0.047 | 1986-87 | 1 x 30 | 30 | 0.017 | 0.046039 | 1986-87
Sherabling (Trongsa) |  |  |  |  | 1 x 50 | 50 | 0.035 | 0.044 | 1986-87 | 1 x 50 | 50 | 0.03 | 0.050237 | 1986-87
Bubja (Trongsa) | 1 x 0.030 | 0.03 | - | 0.10969 | 1 x 30 | 30 | 0.026 | 0.143 | 1986-87 | 1 x 30 | 30 | 0.022 | 0.058026 | 1986-87
Tamzhing (Bumthang) | 1 x 0.030 | 0.03 | - | 0.074164 | 1 x 30 | 30 | - | 0.103 | 1986-87 | 1 x 30 | 30 | - | 0 | 1986-87
Ura (Bumthang) | 1 x 0.050 | 0.05 | - | 0.17481 | 1 x 50 | 50 | - | 0.153 | 1986-87 | 1 x 50 | 50 | - | 0 | 1986-87
Kekhar (Zhemgang) | 1 x 0.020 | 0.02 | - |  | 1 x 20 | 20 | - | 0.026 | 1986-87 | 1 x 20 | 20 | - | 0 | 1986-87
Surey (Sarpang) | 1 x 0.070 | 0.07 | - | 0.09805 | Discommissioned |  |  |  | 1986-87 | Dismantled | 0 | - | - | 1986-87
Changchey (Tsirang) |  |  |  |  | 2 x 100 | 200 | 0.114 | 1.049 | 1991 | 2 x 100 | 200 | 0.036 | 0.27387 | 1991
Tingtibi (Zhemgang) | 2 x 0.100 | 0.2 | 0.12 | 0.20134 | 2 x 100 | 200 | 0.105 | 0.459 | 1992 | 2 x 100 | 200 | 0.019 | 0.26217 | 1992
Darachhu ( Dagana) | 2 x 0.100 | 0.2 | 0.15 | 0.70615 | 2 x 100 | 200 | 0.125 | 0.053 | 1992 | 2 x 100 | 0 | 0 | 0 | 1992
Lingzhi (Thimphu) | 1 x 0.008 | 0.008 | - | - | 1 x 8 | 8 | - | - | 1999 | 1 x 8 | 8 | - | - | 1999
Rangjung (Tashigang) | 2 x 1.100 | 2.2 | 1.2 | 1.227 | 2 x 1100 | 2200 | 2.278 | 9.756 | 1996 | 2 x 1100 | 2200 | 1.743 | 8 | 1996
Rongchu (Lhuentse) | 2 x 0.100 | 0.2 | 0.23 | 1.1249 | 2 x 100 | 200 | 0.18 | 0.816 | 2001 | 2 x 100 | 200 | 0.15 | 0.42667 | 2001
Chendebji (Trongsa) | 1 x 0.070 | 0.07 | 0.071 | 0.37442 | 1 x 70 | 70 | - | 0.089 | 2005 | 1 x 70 | 70 | - | 0.037581 | 2005
Sengor (Mongar) | 1 x 0.100 | - | - | - | 1 x 100 | 100 | - | 0.119 | 2007 | 1 x 100 | 100 | - | 0.027889 | 2007
Total |  |  |  |  | 8098 | 6144 |  | 25.582 |  | 8098 | 5894 |  | 20.007
Note:Since the Bhutan Power Corporation(BPC) has started compiling the Power Data Book on Power Sector for every calender year from 2010 onwards, the Department of Hydropower & Power Systems has
also stopped the compilation of the Power Databook for the fiscal years from 2010-11 onwards, therefore the power data here also reflects the calender year starting from the year 2011.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## 8.2
TABLE 8.2 DETAILS OF DIESEL GENERATOR SETS, BHUTAN, 2011
Generating stations/ Locations | 2011
| No of Machines | No. & Capacity of Machines (No.X MW) | Total capacity (MW) | Energy generated (MU) | Year of commissioning
|  | (No.X MW) | ( MW ) | (MU)
Thimphu | 7 | 1 X 0.500 | 3.314 | 0.013 | 1978
|  | 2 X 0.255 |  |  | 1980
|  | 1 X 1.000 |  |  | 1982
|  | 1 X 0.950 |  |  | 1984/85
|  | 1 X 0.104 |  |  | -
|  | 1 X 0.250 |  |  | 1999-00
Paro | 1 | 1 X 0.088 | 0.088 | 0 | 1977
Phuentsholing | 2 | 1 X 0.248 | 0.376 | 0.029 | 1966
|  | 1 X 0.128 |  |  | 1979
Tsirang | 3 | 1 X 0.048 | 0.433 | 0 | 1969
|  | 1 X 0.135 |  |  | 1991
|  | 1 X 0.250 |  |  | 1999-00
Trongsa | 1 | 1 X 0.250 | 0.25 | 0 | 1976
Gelephu | 2 | 1 X 0.280 | 0.692 | - | 1989
|  | 1 X 0.412 |  |  | 1991
Sarpang | 2 | 1 X 0.255 | 0.505 | 0 | 1991
|  | 1 X 0.250 |  |  | 1999-00
Kalikhola | 2 | 1 X 0.100 | 0.152 | - | 1998-99
|  | 1 X 0.052 |  |  | 1991
Zhemgang | 2 | 1 X 0.080 | 0.33 | 0.224 | 1983
|  | 1 X 0.250 |  |  | 1999-00
Panbang | 1 | 1 X 0.050 | 0.05 | - | 1998/99
Dagana | 2 | 1 X 0.040 | 0.29 | 0.007 | 1983
|  | 1 X 0.250 |  |  | 1999-00
Trashigang | 4 | 1 X 0.054 | 0.528 | 0 | 1991
|  | 1 X 0.144 |  |  | 1998-99
|  | 1 X 0.080 |  |  | 1996
|  | 1 X 0.250 |  |  | 1999-00
Mongar | 1 | 1 X 0.250 | 0.25 | 0.013 | 1999-00
Samdrup Jongkhar | 2 | 1 X 0.030 | 0.28 | 0.002 | 1999-00
|  | 1 X 0.250 |  |  | 1999-00
Bumthang | 3 | 3 X 0.250 | 0.75 | 0.011 | 1998
Trashiyangtse | 1 | 1 X 0.250 | 0.25 | 0.021 | 1999-00
Pema gatshel | 1 | 1 X 0.250 | 0.25 | 0.001 | 1999-00
Samtse | 1 | 1 X 0.043 | 0.043 | 0 | 2000-01
Total |  |  | 8.831 | 0.321
Tala Hydro Power Plant
Penden Cement Authority Ltd. | 2 | 2 X 1.000 (MVA) | 1.8 | n.a | 1981/84
Bhutan Board Products Ltd. | 2 | 1 X0.160 (MVA) | 0.458 | - | -
1 X 0.349 (MVA)
Chukha Hydro Power Corp. | 4 | 2 X 0.450 (MVA) | 1.25 | - | -
2 X .0280 (MVA)
Bhutan Ferro Alloys Ltd. | 2 | 2 X 0.380 (MVA) | 0.684 | n.a | 1995
Bhutan Carbide & Chemical Ltd. | 3 | 3 X 0.125 (MVA) | 0.338 | n.a | 1987
Basochu Hydro Power Plant | 1 | 1 X 0.130 (MVA) | 0.117 | n.a | 2000
Kurichu Hydro Power Plant | 3 | 2 X 0.32 (MVA) | 0.576 | n.a | 1998/00
|  | 1 X 0.5 (MVA) | 0.5 |  | 2007
Tala Hydro Power Plant | 1 | 1 X 2.5 (MVA) | 2.25 | n.a | 2006/07
S.D.Eastern Bhutan Ferro Silicon Pvt.Ltd. | 2 | 2 X 0.125 (MVA) | 0.225 | n.a | 2007/08
Total |  |  | 8.198
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## Tab8.3
TABLE 8.3 TOTAL ELECTRICITY GENERATION AND SUPPLY, BHUTAN, 2006/07 TO 2011
Details | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2011
Installed capacity (MW) | 1497.36 | 1497.359 | 1497.29 | 1497.29 | 1497.29
Chukha hydro power | 336 | 336 | 336 | 336 | 336
Kurichu hydro power | 60 | 60 | 60 | 60 | 60
Basochu - I hydro power | 24 | 24 | 24 | 24 | 24
Basochu - II hydro power | 40 | 40 | 40 | 40 | 40
THPA | 1020 | 1020 | 1020 | 1020 | 1020
Other hydro power | 8.17 | 8.168 | 8.1 | 8.1 | 8.1
All diesel generators | 9.19 | 9.191 | 9.19 | 9.19 | 9.19
Electricity generation (MU) | 4520.25 | 6562.4 | 6960.64 | 6997.59 | 7066.53
Chukha hydro power | 1830.42 | 1774.374 | 1767.7 | 1839.91 | 1774.13
Kurichu hydro power | 374.45 | 379.108 | 375.92 | 368.35 | 361.8
Basochu - I hydro power | 110.73 | 115.589 | 115.72 | 114.39 | 114.17
Basochu - II hydro power | 203.52 | 210.566 | 206.29 | 207.82 | 208.12
THPA | 1979.62 | 4056.129 | 4473.07 | 4441.24 | 4587.99
Other hydro power | 19.83 | 24.81 | 21.78 | 25.58 | 20.01
All diesel generators | 1.68 | 1.815 | 0.17 | 0.3 | 0.31
Exports (MU) | 3643.71 | 5429.123 | 5609.37 | 5352.51 | 5283.9
Imports (MU) | 11.06 | 7.254 | 16.72 | 19.55 | 19.87
Total energy requirement (MU) | 887.76 | 1140.485 | 1368.17 | 1665 | 1713.93
Total energy sales (MU) | 766.72 | 989.798 | 1202.71 | 1498.01 | 1619.95
Energy losses (MU) | 121.05 | 150.687 | 165.47 | 166.99 | 93.98
Percentage losses (%) | 14 | 13 | 12 | 10 | 5.48
Peak system demand (MW) | 157 | 194 | 211 | 237.17 | 276.24
Length of HT lines (33/11 KV)
Overhead lines (km) | 2433.18 | 2643.71 | 2734.95 | 2906.79 | 3785.99
Underground lines (km) | 49.76 | 57.533 | 60.79 | 63.53 | 71.21
Length of LT lines
Overhead lines (km) | 3080.5 | 3351.49 | 3570.93 | 3724.52 | 5278.72
Underground lines (km) | 194.62 | 165.769 | 173.3 | 187.48 | 189.31
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## Tab8.4
TABLE 8.4 MAJOR TRANSMISSION LINES, 2011
| 2006 |  | 2011
Stations | 220 KV | 132 KV | 400 KV | 220 KV | 220 KV | 132 KV | 66 KV | 66 KV | 66 KV | Remarks
| line(Km) | line(Km) | Line D/C | line S/C | line D/C | line S/C | line S/C | line D/C | line Q/C
Tala- Khogla | - | - | 24.615 | - | - | - | - | - | -
Tala- Malbasse - Pugli | - | - | 49.528 | - | - | - | - | - | -
CHP- Gedu- Indian border | 71.28 | - | - | - | 35.78 | - | - | - | -
CHP- Gedu- Malbasse | 33.32 | - | - | 29.841 | - | - | - | - | -
Malbase- Indian border | 54.367 | - | - | 4.075 | - | - | - | - | -
CHP- Semtokha (II) | 2.5 | - | - | 54.01 | - | - | - | - | -
Simtokha- Rurichu | 36.43 | - | - | 44.9 | - | - | - | - | - | Charged at 66 kV
Rurichu - Tsirang |  |  | - | 46.6 | - | - | - | - | - | Charged at 66 kV
Malbase- Singhigaon Fdr-I | - | 0.3 | - | 1.706 | - | - | - | - | -
Malbase- Singhigaon Fdr-II | - | 10.214 | - | 2.607 | - | - | - | - | -
Gyelposhing - Kilikhar | - | 29.807 | - | - | - | 10.06 | - | - | -
Kilikhar - Kanglung | - | 43.1 | - | - | - | 29.6 | - | - | -
Kilikhar - Tangmachu | - | 23.668 | - | - | - | 42.8 | - | - | - | Charged at 33 kV
Gyleposhing - Nangkor | - | 33.7 | - | - | - | 31 | - | - | -
Nangkor - Deothang | - | 34.3 | - | - | - | 23.3 | - | - | -
Nangkhor - Nganglam | - | 83.2 | - | - | - | 34.07 | - | - | -
Nganglam - Tintibi | - | 46 | - | - | - | 83.33 | - | - | -
Tintibi - Gelephu |  |  | - | - | - | 45.74 | - | - | -
Gelephu - Indian border |  |  | - | - | - | 0.1 | - | - | -
Deothang - Motanga |  |  | - | - | - | 10.5 | - | - | -
Montanga - Indian border |  |  | - | - | - | 1.5 | - | - | -
Tintibi - Yurmoo | - | - | - | - | - | 32.628 | - | - | - | Charged at 33 kV
CHPC - Gedu | - | - | - | - | - | - | 20.4 | - | -
Gedu - Phuntsholing | - | - | - | - | - | - | 16.7 | - | -
Phuntsholing - Malbasse | - | - | - | - | - | - | 8.986 | - | -
Phuntsholing - Gomtu | - | - | - | - | - | - | 26.9 | - | -
CHPC - Chumdo |  |  | - | - | - | - | 36.98 | - | -
Chumdo - Olakha |  |  | - | - | - | - | 17.52 | - | -
Chumdo - Haa | - | - | - | - | - | - | 33.4 | - | -
Chumdo - Paro | - | - | - | - | - | - | 24.01 | - | -
Semtokha - Lobeysa | - | - | - | - | - | - | 24.33 | - | - | Realihned at Dochula
Semtokha - Olakha | - | - | - | - | - | - | 1.7 | - | -
Hebesa - Rurichu | - | - | - | - | - | - | 3.08 | - | -
Semtokha - Dechenchholing |  |  | - | - | - | - | 11.45 | - | -
Khasadrapchu - Jemina |  |  | - | - | - | - | - | 5.96 | -
Lobeysa - Rurichhu |  |  | - | - | - | - | 20.3 | - | -
Tie - Line - Watsa | - | - | - | - | - | - | 0.5 | - | -
Yurmoo - Trongsa |  |  | - | - | - | - | 20.94 | - | - | Charged at 33 kV
Yurmoo - Bumthang |  |  | - | - | - | - | 34.856 | - | - | Charged at 33 kV
Malbase Multi Circuit | - | - | - | - | - | - | - | - | 3.405
Total |  |  | 74.143 | 183.739 | 35.78 | 344.628 | 302.052 | 5.96 | 3.405
Note: D/C stands for double circuit and S/C for single circuit.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## Tab8.5&8.6
TABLE 8.5 DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 2006/07 TO 2011
Details | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2011
Towns electrified (numbers) | 71 | 71 | 71 | 71 | 57
Villages electrified (numbers) | 1761 | 1934 | 1981 | 1998 | 3137
Consumers ('000) | 74.8 | 81.2 | 89.1 | 95.5 | 116.4
Sales of energy (million Nu.) | 766.7 | 989.8 | 1202.7 | 1498 | 2830
Per capita energy consumption (Units) | 1362.4 | 1773 | 2038.8 | 2392.9 | 2419.9
Note: Per capita energy consumption for 2009/10 is based on population of 7,08,265.
No. of towns have been modified by Bhutan Power Corporation.
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.
TABLE 8.6 MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER, 2008 TO 2011
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 97.179 | 7.3794 | 104.56 | 112.47 | 7.17 | 119.64 | 103.53 | 9.34 | 112.87 | 90.692 | 4.662 | 95.354
February | 71.5042 | 6.7148 | 78.22 | 79.89 | 6.05 | 85.94 | 68 | 8.37 | 76.37 | 78.239 | 3.919 | 82.158
March | 87.5482 | 6.1383 | 93.69 | 83.01 | 7.02 | 90.04 | 94.87 | 8.4 | 103.27 | 76.896 | 4.094 | 80.991
April | 156.1002 | 5.0513 | 161.15 | 151.47 | 6.31 | 157.77 | 152.02 | 7.05 | 159.07 | 109.966 | 3.118 | 113.084
May | 201.7179 | 5.1983 | 206.92 | 224.78 | 5.8 | 230.58 | 227.78 | 7.07 | 234.85 | 223.818 | 3.411 | 227.229
June | 515.6795 | 5.2827 | 520.96 | 392.15 | 5.72 | 397.87 | 399.16 | 6.93 | 406.09 | 394.624 | 3.307 | 397.931
July | 580.6728 | 5.3201 | 585.99 | 575.94 | 6.31 | 582.25 | 584.95 | 7.74 | 592.7 | 585.171 | 3.664 | 588.835
August | 590.5711 | 4.3013 | 594.87 | 576.81 | 6.57 | 583.38 | 579.56 | 3.45 | 583.01 | 566.491 | 3.792 | 570.284
September | 554.5745 | 5.6607 | 560.24 | 546.64 | 6.82 | 553.45 | 556.59 | 3.43 | 560.02 | 480.723 | 3.684 | 484.407
October | 460.8165 | 6.2743 | 467.09 | 504.96 | 6.96 | 511.92 | 515.3 | 3.73 | 519.03 | 435.682 | 4.069 | 439.751
November | 248.2165 | 6.8886 | 255.11 | 261.07 | 8.06 | 269.13 | 261.79 | 3.99 | 265.78 | 231.978 | 4.719 | 236.697
December | 159.8865 | 7.1786 | 167.07 | 157.43 | 9.19 | 166.63 | 143.8 | 4.57 | 148.38 | 144.934 | 5.049 | 149.983
Total | 3724.4669 | 71.39 | 3795.86 | 3666.62 | 81.98 | 3748.6 | 3687.36 | 74.07 | 3761.42 | 3419.214 | 47.488 | 3466.704
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## Tab8.7&8.8
TABLE 8.7 MONTHLY REVENUE FROM SALE OF ENERGY FROM TALA HYDROPOWER, 2008 TO 2011
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 332.42 | 16.02 | 348.43 | 338.5 | 19.12 | 357.62 | 73.69 | 27.86 | 101.55 | 83.204 | 12.864 | 96.067
February | 197.46 | 16.92 | 214.38 | 340.69 | 38.86 | 379.54 | 22.07 | 26.89 | 48.96 | 44.573 | 11.874 | 56.447
March | 133.35 | 31.69 | 165.04 | 72.1 | 18.58 | 90.68 | 52.76 | 29.34 | 82.1 | 42.239 | 12.246 | 54.486
April | 226.77 | 14.69 | 241.45 | 67.16 | 23.93 | 91.1 | 146.28 | 27.5 | 173.79 | 89.291 | 11.164 | 100.455
May | 260.52 | 15.15 | 275.67 | 173.55 | 0.00 | 173.55 | 277.88 | 28.31 | 306.2 | 301.094 | 11.084 | 312.178
June | 0.00 | 16.44 | 16.44 | 0.00 | 24.39 | 24.39 | 672.27 | 27.57 | 699.83 | 720.647 | 10.717 | 731.364
July | 1236.35 | 15.25 | 1251.6 | 360.4 | 22.83 | 383.22 | 1292.99 | 28.03 | 1321.03 | 1297.117 | 11.061 | 1308.178
August | 0.00 | 16.87 | 16.87 | 1584.2 | 47.97 | 1632.17 | 1272.74 | 12.07 | 1284.81 | 1286.58 | 12.714 | 1299.294
September | 2598.84 | 18.58 | 2617.42 | 1282.61 | 49.7 | 1332.31 | 1238.96 | 11.81 | 1250.77 | 1140.231 | 12.363 | 1152.594
October | 1245.84 | 18.34 | 1264.18 | 1942.73 | 25.64 | 1968.37 | 820.22 | 11.18 | 831.39 | 687.037 | 12.666 | 699.703
November | 0.00 | 0.00 | 0.00 | 329.24 | 25.83 | 355.07 | 362.88 | 11.13 | 374.01 | 289.304 | 13.28 | 302.584
December | 707.44 | 21.31 | 728.75 | 156.77 | 28.22 | 184.99 | 163.97 | 12.99 | 176.96 | 154.604 | 13.158 | 167.763
Total | 6938.99 | 201.26 | 7140.23 | 6647.95 | 325.07 | 6973.01 | 6396.71 | 254.68 | 6651.4 | 6135.921 | 145.191 | 6281.113
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.
TABLE 8.8 MONTHLY REVENUE FROM SALE OF ENERGY FROM KURICHU HYDROPOWER, 2008 TO 2011
Month | 2008 |  |  | 2009 |  |  | 2010 |  |  | 2011
| Export | Internal | Total | Export | Internal | Total | Export | Internal | Total | Export | Internal | Total
January | 2.82 | 13.98 | 16.79 | 2.79 | 15.04 | 17.83 | 0.73 | 14.64 | 15.37 | -4.668 | 19.907 | 15.239
February | 2.97 | 11.18 | 14.15 | 4.92 | 10.37 | 15.29 | 4.18 | 8.95 | 13.13 | -2.636 | 15.108 | 12.472
March | 6.76 | 15.04 | 21.8 | 5.14 | 14.51 | 19.64 | 13.5 | 10.54 | 24.04 | -2.833 | 18.463 | 15.63
April | 24.13 | 12.61 | 36.73 | 23.63 | 14.53 | 38.16 | 14.14 | 15.64 | 29.78 | 8.349 | 15.747 | 24.096
May | 42.23 | 15.41 | 57.64 | 28.27 | 14.62 | 42.89 | 29.93 | 16.02 | 45.95 | 32.042 | 15.479 | 47.521
June | 46.02 | 14.67 | 60.69 | 41.68 | 14.22 | 55.89 | 41.86 | 16.89 | 58.75 | 47.511 | 14.124 | 61.634
July | 50.92 | 16.287 | 67.2 | 50.9 | 14.49 | 65.39 | 48.07 | 17.17 | 65.24 | 42.66 | 13.765 | 56.425
August | 51.51 | 15.9 | 67.41 | 52.61 | 14.65 | 67.26 | 51.15 | 13.86 | 65.02 | 47.03 | 15.327 | 62.358
September | 52.22 | 13.96 | 66.18 | 52.03 | 14.4 | 66.42 | 46.82 | 13.23 | 60.04 | 47.474 | 15.568 | 63.043
October | 43.22 | 14.58 | 57.8 | 41.19 | 15.04 | 56.23 | 49.32 | 14.4 | 63.73 | 37.435 | 15.79 | 53.225
November | 19.45 | 14.82 | 34.27 | 15.34 | 15.44 | 30.77 | 23.27 | 15.28 | 38.55 | 15.501 | 15.952 | 31.453
December | 6.74 | 16.05 | 22.79 | 7.72 | 14.55 | 22.27 | 4.44 | 17.29 | 21.73 | 0.109 | 19.412 | 19.522
Total | 348.99 | 174.487 | 523.45 | 326.22 | 171.86 | 498.04 | 327.41 | 173.91 | 501.33 | 267.974 | 194.642 | 462.618
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.

## Tab8.9
TABLE 8.9 CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 2011
Type of consumer | Energy sold (MU) | Percentage of total sales | No. of consumers
Total consumption (MU) | 1619.94 | 100 | 116354
Domestic rural | 65.04 | 4.01 | 61372
Domestic urban | 95.09 | 5.87 | 31492
Commercial | 43.44 | 2.68 | 8428
Industrial | 10.18 | 0.63 | 1701
Agriculture | 1.55 | 0.1 | 664
Institutions | 46.44 | 2.87 | 8343
Street lighting | 2.59 | 0.16 | 254
Power house auxiliaries | 1.06 | 0.07 | 22
Temporary connections | 18.16 | 1.12 | 3413
LV Bulk | 56.21 | 3.47 | 604
MV Industries | 109.54 | 6.76 | 46
HV Industries | 1170.64 | 72.26 | 15
Source:Department of Hydropower & Power Systems, MoEA, Thimphu.