## Sheet1
Table 9.3: Total Electricity Generation and Supply by Hydro Power Plant, 2016 - 2020
Details | 2016 | 2017 | 2018 | 2019 | 2020
Electricity Generation (MU) | 7959.5605 | 7722.4316 | 6959.8053 | 8645.9422 | 11370.839
Chhukha hydro power Plant | 1929.682 | 1883.183 | 1703.952 | 1687.711 | 1837.186
Kurichu hydro power Plant | 390.748 | 389.5618 | 380.0287 | 395.4585 | 391.5896
Basochu hydro power Plant | 328.6655 | 330.647 | 305.5655 | 306.4733 | 348.5587
Tala hydro power Plant | 4924.5053 | 4646.0897 | 4185.0003 | 4535.7121 | 5031.8909
Dagachhu hydro power Plant | 374.2324 | 460.35 | 366.035 | 400.2713 | 518.2714
Mangdechhu hydro power Plant | … | … | … | 1320.316 | 3218.394
Other hydro power Plants | 11.027 | 11.222 | 18.054 | 0 | 23.8342
All diesel generators | 0.00027127 | 0.27115 | 0.035197 | 0 | 0.0042
Wind Energy (MU) | 0.7 | 1.1069 | 1.1346 | 0 | 1.11
Total Exports (MU) | 5763.13 | 5700.99 | 4580.86 | 6146.5981 | 9259.6487
Total Imports (MU) | 86.6239 | 91.92 | 133.98 | 96.3704 | 81.83
Import by Gencos | 84.1639 | 91.72 | 133.66 | 96.3181 | 81.83
Import from WBSEB - BPC | 2.34 | 0.08 | 0.26 | 0.0026935 | 0
Import from ASEB - BPC | 0.12 | 0.12 | 0.06 | 0.049538 | 0
Total Energy Supply (MU) | 2054.46 | 2243.7145 | 2397.1582 | 2345.1251 | 2028.357
Total Energy Sales (MU) | 2008.91 | 2185.7498 | 2328.4436 | 2279.7394 | 1960.6595
Energy Losses (MU) | 45.55 | 57.9647 | 68.7146 | 65.3857 | 67.6976
Percentage Losses | 2.2171 | 2.5834 | 2.8665 | 2.7882 | 3.3376
Annual Peak Load (MW) | 335.87 | 362.09 | 399.35 | 387.66 | 369.45
Length of HT Lines (33/11 KV) (km)
Overhead lines | 6286.089 | 6310.909 | 6554.4 | 6400.122 | 6248.4958
Underground lines | 114.945 | 158.93 | 119.4 | 126.9377 | 290.6391
Overhead ABC Conductor | 129.036 | 132.5681 | 142.23 | 180.0934 | 179.6053
Length of LT Lines (km)
Overhead lines | 1741.533 | 1741.532 | 1576.69 | 1578.562 | 1729.8974
Underground lines | 396.658 | 321.6677 | 320 | 404.1087 | 382.9563
Overhead ABC Conductor | 6361.733 | 6892.8362 | 9037.85 | 9069.7871 | 7411.6398
Note: Basochhu I and Basochhu II is clubbed together since both of them are under the same plant management and are counted as one plant.
Source: Power System Information Report 2020, DHPS, MoEA.

## Sheet2
Tala hydro power Plant | 4535.71
Chhukha hydro power Plant | 1687.71
Mangdechhu hydro power Plant | 1532.28
Dagachhu hydro power Plant | 399.29
Kurichu hydro power Plant | 395.46
Basochu - II hydro power Plant | 198.84
Basochu - I hydro power Plant | 107.63 | Electricity Generation by Large Hydro Power Plants, 2019