## Sheet1
Table 9.4: Annual Energy Generation and Installed Capacities by Hydro Power Plant, 2020
Generating Stations | Year of Commissi-oning | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Installed Capacity | Generating Capacity | Peak Generation | Energy Generation | Installed Capacity & Unit | Installed Capacity | Peak Generation | Energy Generation | Plant Capacity Factor
|  | (No. x MW) | ( MW ) | (MW) | (GWh) | (No. x MW) | ( MW ) | (MW) | (GWh) | (No. x MW) | ( MW ) | (MW) | (GWh) | (No. x MW) | ( MW ) | (MW) | (GWh) | (No. x MW) | (MW) | (MW) | (MU) | (Percent)
Large Hydroelectric plants
Chhukha Hydro power Plant | 1986-88 | 4X84.0 | 336 | 368 | 1867.36 | 4X84.0 | 360 | 368 | 1929.682 | 4X84.0 | 360 | 368 | 1883.183 | 4X84.0 | 360 | 369.208 | 1703.952 | 4X84.0 | 336 | 368.583 | 1837.186 | 62.418
Kurichhu Hydro power Plant | 2001 | 4X15.0 | 60 | 66.4 | 379.02 | 4X15.0 | 60 | 64 | 390.748 | 4X15.0 | 60 | 66 | 389.5618 | 4X15.0 | 60 | 66 | 380.0287 | 4X15.0 | 60 | 66 | 391.5896 | 74.5034
Basochhu Hydro power Plant | 2002 - 04 | 2X12.0 | 24 | 24 | 113.209 | 2X12.0 | 24 | 24 | 116.7069 | 2X12.0 | 24 | 24.9 | 122.5493 | 2X12.0 | 24 | 24.9 | 109.5749 | 2X12.0+2X20 | 64 | 67.15 | 348.5587 | 62.1716
Tala Hydro power Plant | 2006-07 | 6X170.0 | 1020 | 1122 | 4821.747 | 6X170.0 | 1020 | 1122 | 4924.5049 | 6X170.0 | 1020 | 1122 | 4645.0964 | 6X170.0 | 1020 | 1122 | 4185.0003 | 6X170.0 | 1020 | 1122 | 5031.8909 | 56.3154
Dagachhu Hydro power Plant | 2015 | 2X63.0 | 108 | 100.79 | 350.257 | 2X63.0 | 108 | 118 | 374.2324 | 2X63.0 | 108 | 126.77 | 460.35 | 2X63.0 | 108 | 126 | 366.035 | 2X63.0 | 126 | 126 | 518.2714 | 46.9551
Mangdechhu Hydro power Plant | 2019 | … | … | … | … | … | … | … | … | … | … | … | … | … | … | … | … | 4X180 | 720 | 792 | 3218.394 | 51.0273
Total |  | 1606 | 1548 | 1681.19 | 7531.593 | 1606 | 1572 | 1696 | 7735.8742 | 1606 | 1572 | 1707.67 | 7040.3906 | 1606 | 1572 | 1708.108 | 6744.5909 |  | 2326 |  | 11345.8906
Mini and Micro Hydels |  | (No. x kW) | (kW) | (MW) |  | (No. x kW) | (kW) | (MW) |  | (No. x kW) | (kW) | (MW) | (GWh) | (No. x kW) | (kW) | (MW) | (GWh) | (No. x kW) | (KW) | (MW) | (MU)
Jushina, Thimphu | 1967 | 4x90 | … | 0.18 | 0.94432 | 4x90 | … | 0.18 | 1.2728 | 4x90 | … | 0.05 | 0.33013 | 4x90 | … | 0.39 | 2.0721 | 4x90 | 360 | 1.6663 | 1.3798 | 43.7538
Hesothangkha,Wangdue | 1972 | 3x100 | … | 0.07 | 0.37673 | 3x100 | … | 0.68 | 0.093236 | 3x100 | … | 0.08 | 0.24153 | 3x100 | … | 0.088 | 0.31266 | 3x100 | 300 | 0.0912 | 0.45227 | 17.2097
Chenari, Tashigang | 1972 | 3x250 | … | 0 | 0 | 3x250 | … | 0 | 0 | 3x250 | … | 0 | 0 | 3x250 | … | 0 | 0 | 3x250 | 750 | 0 | 0 | 0
Gidakom, Thimphu | 1973 | 5x250 | … | 0.63 | 4.9188 | 5x250 | … | 0.675 | 4.7382 | 5x250 | … | 0.675 | 4.0722 | 5x250 | … | 0.63 | 3.2769 | 5x250 | 1250 | 0.0264 | 4.1121 | 37.5537
Khalanzi, Mongar | 1976 | 3x130 | … | 0 | 0 | 3x130 | … | 0 | 0 | 3x130 | … | 0 | 0.79786 | 3x130 | … | 0.194 | 1.2937 | 3x130 | 390 | 0.34 | 1.5191 | 44.4654
Chumey, Bumthang | 1988 | 3x500 | … | 0 | 0 | 3x500 | … | 0 | 0 | 3x500 | … | 0 | 0 | 3x500 | … | 1.6707 | 4.5943 | 3x500 | 1500 | 1.6663 | 5.1086 | 38.8785
Gangzur, Lhuentse | 2000 | 2x60 | … | 0.05 | 0.41947 | 2x60 | … | 0.03 | 0.017949 | 2x60 | … | 0.03 | 0.13621 | 2x60 | … | 0.02 | 0.0049695 | 2x60 | 120 | 0.058 | 0.12727 | 12.1075
Rukubji, Wangdue | 1986-87 | 1x40 | … | - | 0.5554 | 1x40 | … | … | 0.01634 | 1x40 | … | … | 0 | 1x40 | … | … | 0.002882 | 1x40 | 40 | 0 | 0 | 0
Tangsibji, Trongsa | 1986-87 | 1x30 | … | 0 | 0.29076 | 1x30 | … | 0 | 0.047422 | 1x30 | … | 0 | 0.011317 | 1x30 | … | 0 | 0 | 1x30 | 30 | 0 | 0.006226 | 2.3691
Sherabling,Trongsa | 1986-87 | 1x50 | … | 0 | 0 | 1x50 | … | 0 | 6.2e-05 | 1x50 | … | 0 | 0.010991 | 1x50 | … | 0.05 | 0.080621 | 1x50 | 50 | 0 | 0.086983 | 19.8591
Bubja, Trongsa | 1986-87 | 1x30 | … | 0 | 0 | 1x30 | … | 0 | 0 | 1x30 | … | 0 | 0 | 1x30 | … | 0 | 0 | 1x30 | 30 | 0 | 0 | 0
Tamzhing, Bumthang | 1986-87 | 1x30 | … | … | 0.014636 | 1x30 | … | … | 0.014636 | 1x30 | … | … | 0 | 1x30 | … | 0 | 0 | 1x30 | 30 | 0 | 0 | 0
Ura, Bumthang | 1986-87 | 1x50 | … | … | 0.1588 | 1x50 | … | … | 0.2646 | 1x50 | … | … | 0.018224 | 1x50 | … | 0.0373 | 0.048538 | 1x50 | 50 | 0.0264 | 0.052349 | 11.9518
Changchey,Tsirang | 1991 | 2x100 | … | 0.06 | 0.050329 | 2x100 | … | 0.66 | 0.2515 | 2x100 | … | 0.083 | 0.21446 | 2x100 | … | 0.078 | 0.37573 | 2x100 | 200 | 0.0761 | 0.42595 | 24.3123
Tingtibi, Zhemgang | 1992 | 2x100 | … | 0.1 | 0.01913 | 2x100 | … | 0.087 | 0.1169 | 2x100 | … | 0.143 | 0.34724 | 2x100 | … | 0.147 | 0.63665 | 2x100 | 200 | 0.1549 | 0.53846 | 30.7342
Darachhu, Dagana | 1992 | 2x100 | … | 0.125 | 0.30282 | 2x100 | … | 0.285 | 0.38454 | 2x100 | … | 0.323 | 0.48991 | 2x100 | … | 0.258 | 0.17742 | 2x100 | 200 | 0.1317 | 0.36446 | 20.8026
Lingzhi, Thimphu | 1999 | 1x8 | … | … | … | 1x8 | … | … | … | 1x8 | … | … | … | 1x8 | … | … | … | 1x8 | 8 | 0 | 0 | 0
Rangjung, Tashigang | 1996 | 2x1100 | … | 1.11 | 7.1223 | 2x1100 | … | 0.746 | 2.8097 | 2x1100 | … | 1.387 | 4.1664 | 2x1100 | … | 1.28 | 5.021 | 2x1100 | 2200 | 1.655 | 9.4108 | 48.8314
Rongchu, Lhuentse | 2001 | 2x100 | … | 0.047 | 0.65749 | 2x100 | … | 0.48 | 0.76508 | 2x100 | … | 0.155 | 0.37209 | 2x100 | … | 0 | 0 | 2x100 | 200 | 0.415 | 0.7063 | 40.3139
Chendebji, Trongsa | 2005 | 1x70 | … | 4.619e-05 | 0.11875 | 1x70 | … | 0.06321 | 0.18499 | 1x70 | … | 0 | 0 | 1x70 | … | 0.045 | 0.11511 | 1x70 | 70 | 0 | 0.042203 | 6.8824
Sengor, Monggar | 2007 | 1x100 | … | … | 0.063759 | 1x100 | … | 0.035 | 0.048674 | 1x100 | … | 0.058 | 0.013271 | 1x100 | … | 0.025 | 0.041166 | 1x100 | 100 | 0.04 | 0.039732 | 4.5356
Total |  | 8098 | … | 2.372 | 16.0135 | 8098 | … | 3.9212 | 11.0267 | 8098 | … | 2.984 | 11.2218 | 8098 | … | 4.913 | 18.0536 |  | 8078 |  | 24.3727
Note: The generating capacity of power plants are not available, so the generating capacity and peak generation from last year (2011)
where applicable has been used.
Source: Power System Information Report 2020, DHPS, MoEA.