## Tab8.1
TABLE 8.1
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2004/05
Generating stations | Installed | Generating | Peak | Energy
(Dzongkhag) | capacity | capacity | generation | generated
| (No. x MW) | ( MW ) | (MW) | (MU)
Hydro stations (a)
Chhukha | 4 X 84.000 | 336 | 360 | 1764.344
Chumey (Bumthang) | 3 X 0.500 | 1.08 | 1.08 | 3.792
Gidakom (Thimphu) | 5 X 0.250 | 0.816 | 0.73 | 5.329
Jushina (Thimphu) | 4 X 0.090 | 0.36 | 0.263 | 1.197
Kurichu (Mongar) | 4 X 15.000 | 60 | 60 | 340.434
Basochu..I (W/phodrang) | 2 X 12.000 | 24 | 24.2 | 116.372
Basochu..II (W/phodrang) | 2 X 20.000 | 40 | 40.2 | 114.292
Rangjung (Trashigang) | 2 X 1.100 | 2.2 | 1.26 | 1.427
Chenari (Trashigang) | 3 X 0.250 | 0.75 | 0.32 | 0.064
Khaling (Trashigang) | 3 X 0.200 | 0.4 | 0.268 | 0.014
Khalanzi (Mongar) | 3 X 0.130 | 0.26 | 0.323 | 0.441
Wangduephodrang | 3 X 0.100 | 0.34 | 0.085 | 0.565
Micro hydels
Lhuntse (Lhuntse) | 2 X 0.060 | 0.12 | .. | 0.13138
Rukubji (W/phodrang) | 1 X 0.040 | 0.04 | .. | 0.039295
Tangsibi (Trongsa) | 1 X 0.030 | 0.03 | .. | 0.034729
Trongsa (Trongsa) | 1 X 0.050 | 0.05 | .. | 0.12997
Bubja (Trongsa) | 1 X 0.030 | 0.03 | .. | 0.1209
Tamshing (Bjakar) | 1 X 0.030 | 0.03 | .. | 0.066343
Ura (Bjakar) | 1 X 0.050 | 0.05 | .. | 0.15937
Yadi (Mongar) | 1 X 0.030 | 0.03 | .. | 0
Kekhar (Zhemgang) | 1 X 0.020 | 0.02 | .. | ..
Surey (Sarpang) | 1 X 0.070 | 0.07 | .. | 0.06029
Damphu (Tsirang) | 2 X 0.100 | 0.2 | 0.14 | 1.1607
Tingtibi (Zhemgang) | 2 X 0.100 | 0.2 | 0.12 | 0.4279
Dagana ( Dagana) | 2 X 0.100 | 0.2 | 0.15 | 1.1701
Lingzhi (Thimphu) | 1 X 0.008 | 0.008 | .. | ..
Rongchu (Lhuentse) | 2 X 0.100 | 0.2 | 0.23 | 1.0606
contd.

## tab. 8.1 contd
TABLE 8.1(contd.)
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2004/05
Generating stations | Number of | Generating | Peak | Energy
(Dzongkhag) | machines | capacity | generation | generated
|  | (MW) | (MW) | (MU)
Diesel generation stations
Thimphu | 7 | .. | .. | 0.008
Paro | 1 | .. | .. | 0
Phuentsholing | 3 | 0 | .. | 0
Damphu | 3 | .. | .. | 0.08
Trongsa | 2 | .. | .. | 0.148
Gelephu | 2 | 0.692 | .. | 0.064
Sarpang | 2 | 0.505 | .. | 0.01
Kalikhola | 2 | 0 | .. | 0.347
Zhemgang | 3 | .. | .. | 0.015
Dagana | 2 | .. | .. | 0.016
Trashigang | 4 | .. | .. | 0
Bjakar | 4 | 0.806 | .. | 0.781
Mongar | 1 | .. | .. | 0.006
Samdrup Jongkhar | 2 | .. | .. | 0.035
Trashi Yangtse | 1 | .. | .. | 0.031
Pema Gatshel | 1 | .. | .. | 0.003
Samtse | 1 | .. | .. | 0
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | .. | 0.006
Bhutan Board Products Ltd. | 2 | 0.458 | .. | ..
Chhukha Hydro Power Corp. | 5 | 1.949 | .. | 0.001
Bhutan Carbide & Chemical Ltd. | 2 | 0.225 | .. | 0.003
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | .. | 0.141
Kurichu Project Authority | 2 | 0.563 | .. | 0.067
Basochu Project Authority | 1 | 0.09 | .. | 0.031
Note: The given energy generation are annual energy generation during the year 2004/05
Source:Department of Energy.Ministrry of Trade and Industry

## Tab8.2
TABLE 8.2
TOTAL ELECTRICITY GENERATION AND SUPPLY, BHUTAN, 2001/02 TO 2004/05
Details | 2001/02 | 2002/03 | 2003/04 | 2004/05
Installed capacity (MW) | 422.82 | 437.82 | 437.82 | 477.82
Chhukha hydro power | 336 | 336 | 336 | 336
Kurichu hydro power | 45 | 60 | 60 | 60
Basochu - I hydro power | 24 | 24 | 24 | 24
Basochu - II hydro power | .. | .. | .. | 40
Other hydro power | 8.63 | 8.63 | 8.63 | 8.63
All diesel generators | 9.19 | 9.19 | 9.19 | 9.19
Electricity generation (MU) | 2059.4 | 2200.17 | 2528.46 | 2354.71
Chhukha hydro power | 1861.75 | 1815.36 | 2038.39 | 1764.34
Kurichu hydro power | 126.3 | 255.77 | 332.89 | 340.43
Basochu - I hydro power | 55.13 | 109.28 | 131.84 | 116.31
Basochu - II hydro power |  |  |  | 114.68
Other hydro power | 15.77 | 19.14 | 23.46 | 17.39
All diesel generators | 0.45 | 0.61 | 1.87 | 1.55
Exports (MU) | 1477.69 | 1560.44 | 1844.5 | 1623.66
Imports (MU) | 6.9 | 24.3 | 18.72 | 21.04
Total energy requirement (MU) | 578.51 | 664.33 | 702.9 | 752.34
Total energy sales (MU) | 510.45 | 571.27 | 580.19 | 622.16
Energy losses (MU) | 68.06 | 93.05 | 122.72 | 130.18
Percentage losses (%) | 11.77 | 14 | 17 | 17
Peak system demand (MW) | 92.63 | 105.33 | 112 | 120
Length of HT lines (33/11 KV)
Overhead lines (km) | 1369.74 | 1712.53 | 1995.57 | 1895.54
Underground lines (km) | 26.02 | 27.23 | 28.11 | 40.4
Length of LT lines
Overhead lines (km) | 1358.35 | 1802.39 | 1918.57 | 2134.24
Underground lines (km) | 57.86 | 63.06 | 65.79 | 70.37
Note: The Imports data from 2002/03 onwards unlike in the past include import at CHPC from PGCIL (16.015 MU)
and import at KHPC from PGCIL (0.441 MU) Similarly total energy requirement and losses includes that of CHPC, KHPC BHPC.
The HT overhead till 2001/02 past was only 11 KV lines, from 2002/03 onwards figures have been changed to include 33 KV also.
Source : Department of Energy, Thimphu. Ministry of Trade and Industry

## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER
FROM CHHUKHA POWER PLANT, 2005
Stations | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km)
Chhukha - Birpara | 71.28 | .. | ..
Chhukha - Singhigoan | 33.32 | .. | ..
Chhukha - Simtokha | 54.367 | .. | ..
Indian Border - Singhigaon | 2.5 | .. | ..
Rurichu - Simtokha | 36.43 | .. | ..
Gelephug - Indian border | .. | 0.3 | ..
Gyleposhing - kilikhar | .. | 10.214 | ..
Kilikhar - Kanglung | .. | 29.807 | ..
Kilikhar - Lhuentse | .. | 43.1 | ..
Nangkor - Deothang | .. | 23.668 | ..
Gyleposhing - Nangkor | .. | 33.7 | ..
Nangkor - Nganglam | .. | 34.3 | ..
Nganglam - Tingtibi | .. | 83.2 | ..
Tingtibi - Gelephug | .. | 46 | ..
Chhukha - Gedu | .. | .. | 20.1
Gedu - Phuntsholing | .. | .. | 17.7
Chhukha - Confluence | .. | .. | 36.7
Confluence - Simtokha | .. | .. | 18.3
Confluence - Haa | .. | .. | 33.522
Simtokha - Dechenchholing | .. | .. | 11.9
Confluence - Paro | .. | .. | 24.022
Simtokha - W/phodrang | .. | .. | 26.023
Lobeysa - Basochhu | .. | .. | 23.023
Phuntsholing - Gomtu | .. | .. | 27.002
Phuntsholing - Singhigoan | .. | .. | 8.38
Phuntsholing - Birpara | .. | .. | Redundant
Total | 1.28(D/C)::126.617(S/C) | 304.289 | 246.672
Note: D/C stands for double circuit and S/C for single circuit.
Source: Department of Energy,Thimphu.

## 8.4&8.5
TABLE 8.4
DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 2001/02 TO 2004/05
Details | 2001/02 | 2002/03 | 2003/04 | 2004/05
Towns electrified (numbers) | 40 | 40 | 40 | 46
Villages electrified (numbers) | 690 | 819 | 1064 | 1210
Consumers ('000) | 38.7 | 44.7 | 52.9 | 57.5
Sales of energy (million Nu.) | 381.1 | 468.2 | 539 | 647.7
Per capita energy consumption
(Units) | 808 | 927.3 | 957.2 | 1184.8
Note:
The Per capita Energy consumption has increased in 2002/03 partly because of change in format which
started including generation of CHPC, BHPC and KHPC.
Source:Department of Energy, Thimphu.Ministry of Trade and Industry
TABLE 8.5
MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,
2004 TO 2005
Month |  | 2004 |  |  | 2005
| Export | Internal | Total | Export | Internal | Total
January | 50.19 | 14.49 | 64.69 | 43.58 | 14.65 | 58.23
February | 28.77 | 13.61 | 42.38 | 29.8 | 13.73 | 43.52
March | 49.36 | 13.85 | 63.21 | 55.36 | 14.03 | 69.39
April | 101.61 | 13.12 | 114.73 | 93.35 | 12.76 | 106.12
May | 165.03 | 12.71 | 177.74 | 196.25 | 13.18 | 209.43
June | 284.56 | 12.25 | 296.82 | 195.95 | 12.99 | 208.93
July | 331.37 | 12.74 | 344.12 | 502.78 | 16.31 | 519.09
August | 323.23 | 12.91 | 336.14 | 519.91 | 14.24 | 534.15
September | 346.96 | 12.64 | 359.6 | 486.68 | 14.76 | 501.44
October | 318.73 | 13.31 | 332.04 | 480.43 | 15.8 | 496.23
November | 136.76 | 13.03 | 149.79 | 235.63 | 16.4 | 252.03
December | 66.77 | 13.75 | 80.52 | 110.5 | 17.42 | 127.92
Total | 2203.34 | 158.43 | 2361.77 | 2950.22 | 176.26 | 3126.48
Source:Department of Energy, Ministry of Trade and Industry.

## Tab8.6
TABLE 8.6
CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 2001/02 TO 2004/05
Type of consumer | 2001/02 | 2002/03 | 2003/04 | 2004/05
Total consumption (MU) | 489.26 | 550.64 | 560.782 | 618.545
Domestic | 63.67 | 72.12 | 76.717 | 90.584
Commercial & Government Offices | 32.24 | 44.97 | 48.568 | 52.51
Industries | 343.732 | 365.76 | 372.557 | 415.078
Bulk supply | 49.199 | 66.85 | 62.112 | 59.319
Public lighting | 0.415 | 0.95 | 0.828 | 1.054
Consumption as percentage | 100 | 100 | 100 | 100
Domestic | 13.013 | 13.1 | 13.68 | 14.645
Commercial & Government Offices | 6.59 | 8.17 | 8.661 | 8.489
Industries | 70.256 | 66.42 | 66.435 | 67.106
Bulk supply | 10.056 | 12.14 | 11.076 | 9.59
Public lighting | 0.085 | 0.17 | 0.148 | 0.17
Source: Department of Energy.