## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER
FROM CHHUKHA POWER PLANT, 2006
Stations | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km)
Chhukha - Birpara | 71.28 | - | -
Chhukha - Singhigoan | 33.32 | - | -
Chhukha - Simtokha | 54.367 | - | -
Indian Border - Singhigaon | 2.5 | - | -
Rurichu - Simtokha | 36.43 | - | -
Gelephug - Indian border | - | 0.3 | -
Gyleposhing - kilikhar | - | 10.214 | -
Kilikhar - Kanglung | - | 29.807 | -
Kilikhar - Lhuentse | - | 43.1 | -
Nangkor - Deothang | - | 23.668 | -
Gyleposhing - Nangkor | - | 33.7 | -
Nangkor - Nganglam | - | 34.3 | -
Nganglam - Tingtibi | - | 83.2 | -
Tingtibi - Gelephug | - | 46 | -
Chhukha - Gedu | - | - | 20.1
Gedu - Phuntsholing | - | - | 17.7
Chhukha - Confluence | - | - | 36.7
Confluence - Simtokha | - | - | 18.3
Confluence - Haa | - | - | 33.522
Simtokha - Dechenchholing | - | - | 11.9
Confluence - Paro | - | - | 24.022
Simtokha - W/phodrang | - | - | 26.023
Lobeysa - Basochhu | - | - | 23.023
Phuntsholing - Gomtu | - | - | 27.002
Phuntsholing - Singhigoan | - | - | 8.38
Phuntsholing - Birpara | - | - | Redundant
Khasadrapchu - Jemina | - | - | 5.960
Hebisa - Rurichu | - | - | 3.080
Tie- Line-Watsa- | - | - | 0.500
Total | 71.28(d/c): :126.617(s/c) | 304.289 | 256.212
Note: d/c Stands for double circuit s/c for single circuit
Source: Department of Energy, Ministry of Trade & Industry