## Tab8.1
TABLE 8.1
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2003/04
Generating stations | Installed | Generating | Peak | Energy
(Dzongkhag) | capacity | capacity | generation | generated
| (No. x MW) | ( MW ) | (MW) | (MU)
Hydro stations (a)
Chhukha | 4 X 84.000 | 336 | 360 | 2038.385
Chumey (Bumthang) | 3 X 0.500 | 1.19 | 1.19 | 3.764
Gidakom (Thimphu) | 5 X 0.250 | 0.816 | 0.97 | 5.182
Jushina (Thimphu) | 4 X 0.090 | 0.36 | 0.274 | 1.728
Kurichu (Mongar) | 4 X 15.000 | 60 | 60 | 332.889
Basochu(W/phodrang) | 2 X 12.000 | 24 | 24.44 | 131.844
Rangjung (Trashigang) | 2 X 1.100 | 2.2 | 1.98 | 6.354
Chenari (Trashigang) | 3 X 0.250 | 0.75 | 0.34 | 0.582
Khaling (Trashigang) | 3 X 0.200 | 0.4 | 0.319 | 0.614
Khalanzi (Mongar) | 3 X 0.130 | 0.29 | 0.25 | 0.307
Wangduephodrang | 3 X 0.100 | 0.3 | 0.09 | 0.556
Micro hydels
Lhuntse (Lhuntse) | 2 X 0.060 | 0.12 | - | 0.20644
Rukubji (W/phodrang) | 1 X 0.040 | 0.04 | - | 0.0683
Tangsibi (Trongsa) | 1 X 0.030 | 0.03 | - | 0.03076
Trongsa (Trongsa) | 1 X 0.050 | 0.05 | - | 0.12205
Bubja (Trongsa) | 1 X 0.030 | 0.03 | - | 0.1135
Tamshing (Bjakar) | 1 X 0.030 | 0.03 | - | 0.082278
Ura (Bjakar) | 1 X 0.050 | 0.05 | - | 0.13713
Yadi (Mongar) | 1 X 0.030 | 0.03 | - | 0.031624
Kekhar (Zhemgang) | 1 X 0.020 | 0.02 | - | -
Surey (Sarpang) | 1 X 0.070 | 0.07 | - | 0.003791
Damphu (Tsirang) | 2 X 0.100 | 0.2 | 0.14 | 1.1529
Tingtibi (Zhemgang) | 2 X 0.100 | 0.2 | 0.12 | 0.64732
Dagana ( Dagana) | 2 X 0.100 | 0.2 | 0.15 | 1.1958
Lingzhi (Thimphu) | 1 X 0.008 | 0.008 | - | -
Rongchu (Lhuentse) | 2 X 0.100 | 0.2 | 0.23 | 0.58214
contd.

## tab. 8.1 contd
TABLE 8.1(contd.)
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, BHUTAN, FY 2003/04
Generating stations | Number of | Generating | Peak | Energy
(Dzongkhag) | machines | capacity | generation | generated
|  | (MW) | (MW) | (MU)
Diesel generation stations
Thimphu | 7 | - | - | 0.001
Paro | 1 | - | - | 0
Phuentsholing | 3 | 0 | - | 0.442
Damphu | 3 | - | - | 0.044
Trongsa | 2 | - | - | 0.3
Gelephu | 2 | 0.692 | - | 0.02
Sarpang | 2 | 0.505 | - | 0.008
Kalikhola | 2 | 0 | - | 0.442
Zhemgang | 3 | - | - | 0.004
Dagana | 2 | - | - | 0.005
Trashigang | 4 | - | - | 0
Bjakar | 4 | - | - | 0.556
Mongar | 1 | - | - | 0.002
Samdrup Jongkhar | 2 | - | - | 0.017
Trashi Yangtse | 1 | - | - | 0.021
Pema Gatshel | 1 | - | - | 0.013
Samtse | 1 | - | - | 0
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | - | 0.004
Bhutan Board Products Ltd. | 2 | 0.458 | - | -
Chhukha Hydro Power Corp. | 5 | 1.949 | - | 0.015
Bhutan Carbide & Chemical Ltd. | 2 | 0.225 | - | 0.003
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | - | 0.136
Kurichu Project Authority | 2 | 0.563 | - | 0.067
Basochu Project Authority | 1 | 0.09 | - | 0
Note: The given energy generation are annual energy generation during the year 2003/04.
Source:Department of Energy.

## Tab8.2
TABLE 8.2
TOTAL ELECTRICITY GENERATION AND SUPPLY, BHUTAN, 2000/01 TO 2003/04
Details | 2000/01 | 2001/02 | 2002/03 | 2003/04
Installed capacity (MW) | 368.65 | 422.82 | 437.82 | 437.82
Chhukha hydro power | 336 | 336 | 336 | 336
Kurichu hydro power | 15 | 45 | 60 | 60
Basochu hydro power | .. | 24 | 24 | 24
Other hydro power | 8.46 | 8.63 | 8.63 | 8.63
All diesel generators | 9.19 | 9.19 | 9.19 | 9.19
Electricity generation (MU) | 1805.29 | 2059.4 | 2200.17 | 2528.46
Chhukha hydro power | 1791.65 | 1861.75 | 1815.36 | 2038.39
Kurichu hydro power | .. | 126.3 | 255.77 | 332.89
Basochu hydro power | .. | 55.13 | 109.28 | 131.84
Other hydro power | 13.38 | 15.77 | 19.14 | 23.46
All diesel generators | 0.27 | 0.45 | 0.61 | 1.87
Exports (MU) | 1380.15 | 1477.69 | 1560.44 | 1844.5
Imports (MU) | 9.93 | 6.9 | 24.3 | 18.72
Total energy requirement (MU) | 441.24 | 578.51 | 664.33 | 702.9
Total energy sales (MU) | 401.9 | 510.45 | 571.27 | 580.19
Energy losses (MU) | 39.14 | 68.06 | 93.05 | 122.72
Percentage losses (%) | 8.87 | 11.77 | 14 | 17
Peak system demand (MW) | 92 | 92.63 | 105.33 | 112
Length of HT lines (33/11 KV)
Overhead lines (km) | 1258.39 | 1369.74 | 1712.53 | 1995.57
Underground lines (km) | 20.43 | 26.02 | 27.23 | 28.11
Length of LT lines
Overhead lines (km) | 1267.84 | 1358.35 | 1802.39 | 1918.57
Underground lines (km) | 45.34 | 57.86 | 63.06 | 65.79
Note: The Imports data from 2002/03 onwards unlike in the past include import at CHPC from PGCIL (16.015 MU)
and import at KHPC from PGCIL (0.441 MU) Similarly total energy requirement and losses includes that of CHPC, KHPC BHPC.
The HT overhead till 2001/02 past was only 11 KV lines, from 2002/03 onwards figures have been changed to include 33 KV also.
Source : Department of Energy, Thimphu.

## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER
FROM CHHUKHA POWER PLANT, 2004
Stations | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km)
Chhukha - Birpara | 71.28 | - | -
Chhukha - Singhigoan | 33.32 | - | -
Chhukha - Simtokha | 54.367 | - | -
Indian Border - Singhigaon | 2.5 | - | -
Rurichu - Simtokha | 34.43 | - | -
Gelephug - Indian border | - | 0.3 | -
Gyleposhing - kilikhar | - | 10.214 | -
Kilikhar - Kanglung | - | 29.807 | -
Kilikhar - Lhuentse |  | 43.1 | -
Nangkor - Deothang | - | 23.668 | -
Gyleposhing - Nangkor | - | 33.7 | -
Nangkor - Nganglam | - | 34.3 | -
Nganglam - Tingtibi | - | 83.2 | -
Tingtibi - Gelephug | - | 46 | -
Chhukha - Gedu | - | - | 20.1
Gedu - Phuntsholing | - | - | 17.7
Chhukha - Confluence | - | - | 36.7
Confluence - Simtokha | - | - | 18.3
Confluence - Haa | - | - | 33.522
Confluence - Paro | - | - | 24.022
Simtokha - W/phodrang | - | - | 26.023
Lobeysa - Basochhu | - | - | 23.023
Phuntsholing - Gomtu | - | - | 27.002
Phuntsholing - Singhigoan | - | - | 8.38
Phuntsholing - Birpara | - | - | Redundant
Total | 1.28(D/C)::87.687(S/C) | 304.289 | 234.772
Note: D/C stands for double circuit and S/C for single circuit.
Source: Department of Energy,Thimphu.

## 8.4&8.5
TABLE 8.4
DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 2000/01 TO 2003/04
Details | 2000/01 | 2001/02 | 2002/03 | 2003/04
Towns electrified (numbers) | 40 | 40 | 40 | 40
Villages electrified (numbers) | 646 | 690 | 819 | 1064
Consumers ('000) | 35.9 | 38.7 | 44.7 | 52.9
Sales of energy (million Nu.) | 268.7 | 381.1 | 468.2 | 539
Per capita energy consumption
(Units) | 632.2 | 808 | 927.3 | 957.2
Note:
The Per capita Energy consumption has increased in 2002/03 partly because of change in format which started
including generation of CHPC, BHPC and KHPC.
Source:Department of Energy, Thimphu.
TABLE 8.5
MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,
2003 TO 2004
Month |  | 2003 |  |  | 2004
| Export | Internal | Total | Export | Internal | Total
January | 30.31 | 13.97 | 44.28 | 50.19 | 14.49 | 64.69
February | 19.97 | 13.04 | 33.01 | 28.77 | 13.61 | 42.38
March | 21.87 | 13.9 | 35.77 | 49.36 | 13.85 | 63.21
April | 109.8 | 12.71 | 122.51 | 101.61 | 13.12 | 114.73
May | 116.21 | 12.77 | 128.97 | 165.03 | 12.71 | 177.74
June | 260.74 | 11.13 | 271.88 | 284.56 | 12.25 | 296.82
July | 342.98 | 12.1 | 355.07 | 331.37 | 12.74 | 344.12
August | 347.47 | 11.74 | 359.21 | 323.23 | 12.91 | 336.14
September | 335.65 | 11.55 | 347.2 | 346.96 | 12.64 | 359.6
October | 325.81 | 12.12 | 337.93 | 318.73 | 13.31 | 332.04
November | 185.35 | 12.26 | 197.6 | 136.76 | 13.03 | 149.79
December | 89.81 | 14 | 103.81 | 66.77 | 13.75 | 80.52
Total | 2185.97 | 151.29 | 2337.26 | 2203.34 | 158.43 | 2361.77
Source:Selected Economic Indicators, DoE, Thimphu.

## Tab8.6
TABLE 8.6
CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 2000/01 TO 2003/04
Type of consumer | 2000/01 | 2001/02 | 2002/03 | 2003/04
Total consumption (MU) | 383.987 | 489.26 | 550.64 | 560.782
Domestic | 52.54 | 63.67 | 72.12 | 76.717
Commercial & Government Offices | 57.58 | 32.24 | 44.97 | 48.568
Industries | 267.111 | 343.732 | 365.76 | 372.557
Bulk supply | 6.382 | 49.199 | 66.85 | 62.112
Public lighting | 0.371 | 0.415 | 0.95 | 0.828
Consumption as percentage | 100 | 100 | 100 | 100
Domestic | 13.68 | 13.013 | 13.1 | 13.68
Commercial & Government Offices | 14.99 | 6.59 | 8.17 | 8.661
Industries | 69.563 | 70.256 | 66.42 | 66.435
Bulk supply | 1.662 | 10.056 | 12.14 | 11.076
Public lighting | 0.097 | 0.085 | 0.17 | 0.148
Source: Department of Energy.