## Tab8.1
TABLE 8.1
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, FY 2002/03
Generating stations | Installed | Generating | Peak | Energy
(Dzongkhag) | capacity | capacity | generation | generated
| (No. x MW) | ( MW ) | (MW) | (MU)
Hydro stations (a)
Chhukha | 4 X 84.000 | 336 | 360 | 1815.356
Chumey (Bumthang) | 3 X 0.50 | 1.35 | 1.081 | 3.637
Gidakom (Thimphu) | 5 X 0.25 | 0.66 | 0.58 | 1.565
Jushina (Thimphu) | 4 X 0.09 | 0.36 | 0.269 | 1.628
Kurichu (Mongar) | 4 X 15.00 | 60 | 45 | 255.772
Basochu(W/phodrang) | 2 X 24.00 | 24 | 24.54 | 109.284
Rangjung (Trashigang) | 2 X 1.10 | 2.2 | 1.89 | 6.61
Chenari (Trashigang) | 3 X 0.25 | 0 | 0 | 0
Khaling (Trashigang) | 3 X 0.20 | 0.4 | 0.319 | 0.629
Khalangzi (Mongar) | 3 X 0.13 | 0.26 | 0.242 | 0.376
Wangduephodrang | 3 X 0.10 | 0.3 | 0.147 | 0.779
Micro hydels
Lhuntse (Lhuntse) | 2 X 0.06 | 0.12 | .. | 0.22653
Rukubji (W/phodrang) | 1 X 0.04 | 0.04 | .. | 0.064704
Tangsibi (Trongsa) | 1 X 0.03 | 0.03 | .. | 0.01328
Trongsa (Trongsa) | 1 X 0.05 | 0.05 | .. | 0.069641
Bubja (Trongsa) | 1 X 0.03 | 0.03 | .. | 0.044104
Tamshing (Bjakar) | 1 X 0.03 | 0.03 | .. | 0.07935
Ura (Bjakar) | 1 X 0.05 | 0.05 | .. | 0.15991
Yadi (Mongar) | 1 X 0.03 | 0.03 | .. | 0.086857
Kekhar (Zhemgang) | 1 X 0.02 | 0.02 | .. | ..
Surey (Sarpang) | 1 X 0.07 | 0.07 | .. | ..
Damphu (Tsirang) | 2 X 0.10 | 0.02 | 0.138 | 0.82032
Tingtibi (Zhemgang) | 2 X 0.10 | 0.02 | 0.15 | 0.99302
Dagana ( Dagana) | 2 X 0.10 | 0.02 | 0.17 | 0.82023
Lingzhi (Thimphu) | 1 X 0.01 | 0.008 | .. | ..
Rongchu (Lhuentse) | 2 X 0.10 | 0.2 | .. | 0.54026
contd.
Source:Department of Energy, MTI, Thimphu.

## tab. 8.1 contd
TABLE 8.1(contd.)
ELECTRICITY GENERATING STATIONS AND THEIR CAPACITIES, FY 2002/03
Generating stations | Number of | Generating | Peak | Energy
(Dzongkhag) | machines | capacity | generation | generated
|  | (MW) | (MW) | (MU)
Diesel generation stations
Thimphu | 7 | .. | .. | 0
Paro | 1 | .. | .. | 0
Phuentsholing | 3 | 0 | .. | 0
Damphu | 3 | .. | .. | 0.002
Trongsa | 2 | .. | .. | 0.15
Gelephu | 2 | 0.692 | .. | 0.054
Sarpang | 2 | 0.505 | .. | 0.017
Kalikhola | 2 | 0 | .. | ..
Zhemgang | 3 | .. | .. | 0.017
Dagana | 2 | .. | .. | 0.001
Trashigang | 5 | .. | .. | 0.009
Bjakar | 3 | .. | .. | 0.271
Mongar | 1 | .. | .. | 0.019
Samdrup Jongkhar | 2 | .. | .. | 0
Trashi Yangtse | 1 | .. | .. | 0.058
Pema Gatshel | 1 | .. | .. | 0.012
Samtse | 1 | .. | .. | 0.003
Other diesel stations
Penden Cement Authority Ltd. | 4 | 3.6 | .. | 0.003
Bhutan Board Products Ltd. | 2 | 0.458 | .. | ..
Chhukha Hydro Power Corp. | 5 | 1.949 | .. | 0
Bhutan Carbide & Chemical Ltd. | 2 | 0.225 | .. | 0.001
Bhutan Ferro Alloys Ltd. | 1 | 0.288 | .. | 0.14
Kurichu Project Authority | 2 | 0.563 | .. | 0.152
Basochu Project Authority | 1 | 0.09 | .. | 0
Source:Department of Energy, MTI, Thimphu.

## Tab8.2
TABLE 8.2
TOTAL ELECTRICITY GENERATION AND SUPPLY, 2000/01 TO 2002/03
Details | 2000/01 | 2001/02 | 2002/03
Installed capacity (MW) | 368.65 | 422.82 | 437.82
Chhukha hydro power | 336 | 336 | 336
Kurichu hydro power | 15 | 45 | 60
Basochu hydro power | .. | 24 | 24
Other hydro power | 8.46 | 8.63 | 8.63
All diesel generators | 9.19 | 9.19 | 9.19
Electricity generation (MU) | 1805.29 | 2059.4 | 2200.17
Chhukha hydro power | 1791.65 | 1861.75 | 1815.36
Kurichu hydro power | .. | 126.3 | 255.77
Basochu hydro power | .. | 55.13 | 109.28
Other hydro power | 13.38 | 15.77 | 19.14
All diesel generators | 0.27 | 0.45 | 0.61
Exports (MU) | 1380.15 | 1477.69 | 1560.44
Imports (MU) | 9.93 | 6.9 | 24.3
Total energy requirement (MU) | 441.24 | 578.51 | 664.33
Total energy sales (MU) | 401.9 | 510.45 | 571.27
Energy losses (MU) | 39.14 | 68.06 | 93.05
Percentage losses (%) | 8.87 | 11.77 | 14
Peak system demand (MW) | 92 | 92.63 | 105.33
Length of HT lines (33/11 KV)
Overhead lines (km) | 1258.39 | 1369.74 | 1712.53
Underground lines (km) | 20.43 | 26.02 | 27.23
Length of LT lines
Overhead lines (km) | 1267.84 | 1358.35 | 1802.39
Underground lines (km) | 45.34 | 57.86 | 63.06
Note:
The imports data unlike in the past now include import at CHPC from PGCIL(21.738 MU) and import at KHPC from PGCIL
(0.450 MU). Similarly total energy requirement and losses include that of CHPC, KHPC and BHPC
The HT overhead in the past was only 11 KV lines, now the figures have been changed to include 33 KU also.
Source : Department of Energy, MTI, Thimphu.

## Tab8.3
TABLE 8.3
MAJOR TRANSMISSION LINES FOR EVACUATING HYDRO POWER
FROM CHHUKHA POWER PLANT, 2003
Stations | 220 KV | 132 KV | 66 KV
| line(Km) | line(Km) | line (Km)
Chhukha - Birpara | 1.000 ( D/C ) | - | -
Chhukha - Singhigoan | 33.32 | - | -
Chhukha - Simtokha | 54.367 | - | -
Gelephug - Indian border | - | 0.3 | -
Gyleposhing - kilikhar | - | 10.214 | -
Kilikhar - Kanglung | - | 29.807 | -
Nangkor - Deothang | - | 23.668 | -
Gyleposhing - Nangkor | - | 33.7 | -
Nangkor - Nganglam | - | 34.3 | -
Nganglam - Tingtibi | - | 83.2 | -
Tingtibi - Gelephug | - | 46 | -
Chhukha - Gedu | - | - | 20.1
Gedu - Phuntsholing | - | - | 17.7
Chhukha - Confluence | - | - | 36.7
Confluence - Simtokha | - | - | 18.3
Confluence - Haa | - | - | 33.522
Confluence - Paro | - | - | 24.022
Simtokha - W/phodrang | - | - | 26.023
Lobeysa - Basochhu | - | - | 23.023
Phuntsholing - Gomtu | - | - | 27.002
Phuntsholing - Singhigoan | - | - | 8.38
Phuntsholing - Birpara | - | - | Redundant
Total |  | D/C::87.687 (S/C) 261.189 | 234.772
Note:
D/C stands for double circuit and S/C for single circuit.
Source:Department of Energy, MTI, Thimphu.

## 8.4&8.5
TABLE 8.4
DETAILS OF DOMESTIC ELECTRICAL ENERGY CONSUMPTION, 1999/00 TO 2002/03
Details | 1999/00 | 2000/01 | 2001/02 | 2002/03
Towns electrified (numbers) | 40 | 40 | 40 | 40
Villages electrified (numbers) | 552 | 646 | 690 | 819
Consumers ('000) | 35.7 | 35.9 | 38.7 | 44.7
Sales of energy (million Nu.) | 280.7 | 268.7 | 381.1 | 468.2
Per capita energy consumption
(Units) | 720 | 632.2 | 808 | 927.3
Note:
The Per capita Energy consumption has increased in 2002/03 partly because of change in format which started
including generation of CHPC, BHPC and KHPC.
Source:Department of Energy, MTI, Thimphu.
TABLE 8.5
MONTHLY REVENUE FROM SALE OF ENERGY FROM CHHUKHA HYDROPOWER,
2002 AND 2003
Month |  | 2002 |  |  | 2003
| Export | Internal | Total | Export | Internal | Total
January | 33.37 | 14.54 | 47.91 | 30.31 | 13.97 | 44.28
February | 20.73 | 12.67 | 33.4 | 19.97 | 13.04 | 33.01
March | 21.6 | 13.5 | 35.1 | 21.87 | 13.9 | 35.77
April | 64.11 | 12.38 | 76.49 | 109.8 | 12.71 | 122.51
May | 144.59 | 12.83 | 157.42 | 116.21 | 12.77 | 128.97
June | 279.25 | 10.38 | 289.63 | 260.74 | 11.13 | 271.88
July | 349.82 | 11.25 | 361.06 | 342.98 | 12.1 | 355.07
August | 329.89 | 11.62 | 341.51 | 347.47 | 11.74 | 359.21
September | 313.01 | 11.23 | 324.23 | 335.65 | 11.55 | 347.2
October | 257.49 | 12.11 | 269.61 | 325.81 | 12.12 | 337.93
November | 111.5 | 12.32 | 123.82 | 185.35 | 12.26 | 197.6
December | 57.76 | 13.43 | 71.19 | 89.81 | 14 | 103.81
Total | 1983.1 | 148.27 | 2131.37 | 2185.97 | 151.29 | 2337.26
Source: Department of Energy, MTI, Thimphu.

## Tab8.6
TABLE 8.6
CONSUMPTION OF ELECTRICITY BY TYPE OF CONSUMER, 1999/00 TO 2002/03
Type of consumer | 1999/00 | 2000/01 | 2001/02 | 2002/03
Total consumption (MU) | 434.4 | 383.987 | 489.26 | 550.64
Domestic | 46.7 | 52.54 | 63.67 | 72.12
Commercial & Government Offices | 42.03 | 57.58 | 32.24 | 44.97
Industries | 338.53 | 267.111 | 343.732 | 365.76
Bulk supply | 6.81 | 6.382 | 49.199 | 66.85
Public lighting | 0.34 | 0.371 | 0.415 | 0.95
Consumption as percentage | 100 | 100 | 100 | 100
Domestic | 10.75 | 13.68 | 13.013 | 13.1
Commercial & Government Offices | 9.68 | 14.99 | 6.59 | 8.17
Industries | 77.93 | 69.563 | 70.256 | 66.42
Bulk supply | 1.57 | 1.662 | 10.056 | 12.14
Public lighting | 0.08 | 0.097 | 0.085 | 0.17
Source: Department of Energy, MTI, Thimphu.